## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
LINURON | 2060 | 38478LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.95442 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.0702 | LINURON | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95442 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95442 |  | 0.95442 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2013-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.99145 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.1755 | LINURON | . | 0.04 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99145 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99145 |  | 0.99145 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.95442 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.0702 | LINURON | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95442 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 |  | 1 | 0.95442 |  | 0.95442 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2013-06-26 | 2010-10-01 | 2099-09-30 | ug/L | 0.96866 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.1755 | LINURON | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96866 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96866 |  | 0.96866 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.99715 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0702 | LINURON | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99715 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99715 |  | 0.99715 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2012-11-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.992 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.375 | LINURON | . | 0.04 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0347 | 0.06034 | 1.0347 | 0.085333 | 0.063257
LINURON | 2060 | 38478LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.0773 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 0.75 | LINURON | . | 0.04 | 0.808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0347 | 0.06034 | 1.0347 | 0.085333 | 0.063257
LINURON | 2060 | 38478LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.02 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.15 | LINURON | . | 0.04 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 1.02 |  | 1.02 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2012-08-22 | 2010-10-01 | 2099-09-30 | ug/L | 1.08 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.15 | LINURON | . | 0.04 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.08 |  | 1.08 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.048 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.375 | LINURON | . | 0.04 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.048 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0507 | 0.0037712 | 1.0507 | 0.0053333 | 0.0039535
LINURON | 2060 | 38478LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.0533 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.375 | LINURON | . | 0.04 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0507 | 0.0037712 | 1.0507 | 0.0053333 | 0.0039535
LINURON | 2060 | 38478LCM29 | 2009-10-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.1293 | Accu | 209081166 | Accu 209081166: 40 µl | 0.078811 | LINURON | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1293 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98469 | 0.11664 | 0.97884 | 0.1717 | 0.12728
LINURON | 2060 | 38478LCM29 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.85178 | Accu | 209081166 | Accu 209081166: 40 µl | 0.079832 | LINURON | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85178 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98469 | 0.11664 | 0.97884 | 0.1717 | 0.12728
LINURON | 2060 | 38478LCM29 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.94588 | Accu | 209081166 | Accu 209081166: 80 µl | 0.15647 | LINURON | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94588 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98469 | 0.11664 | 0.97884 | 0.1717 | 0.12728
LINURON | 2060 | 38478LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0118 | Accu | 209081166 | Accu 209081166: 40 µl | 0.080056 | LINURON | . | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0118 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98469 | 0.11664 | 0.97884 | 0.1717 | 0.12728
LINURON | 2060 | 38478LCM29 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.95317 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.079734 | LINURON | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95317 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0792 | 0.13982 | 1.036 | 0.058139 | 0.043098
LINURON | 2060 | 38478LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.036 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.081081 | LINURON | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0792 | 0.13982 | 1.036 | 0.058139 | 0.043098
LINURON | 2060 | 38478LCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.016 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.080709 | LINURON | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.016 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0792 | 0.13982 | 1.036 | 0.058139 | 0.043098
LINURON | 2060 | 38478LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 1.3168 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.16024 | LINURON | . | 0.04 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3168 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0792 | 0.13982 | 1.036 | 0.058139 | 0.043098
LINURON | 2060 | 38478LCM29 | 2010-10-27 | 2010-10-01 | 2099-09-30 | ug/L | 1.0741 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.16013 | LINURON | . | 0.04 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0741 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0792 | 0.13982 | 1.036 | 0.058139 | 0.043098
LINURON | 2060 | 38478LCM29 | 2010-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 0.98705 | Crescent | 163162 | Crescent 163162: 40 µl | 0.087129 | LINURON | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98705 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2011-02-24 | 2010-10-01 | 2099-09-30 | ug/L | 0.98513 | Crescent | 163162 | Crescent 163162: 40 µl | 0.086283 | LINURON | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98513 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2011-04-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0512 | Crescent | 163162 | Crescent 163162: 100 µl | 0.21976 | LINURON | . | 0.04 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.94235 | Crescent | 163162 | Crescent 163162: 40 µl | 0.087017 | LINURON | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94235 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2011-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.1318 | Crescent | 163162 | Crescent 163162: 100 µl | 0.22 | LINURON | . | 0.04 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1318 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.71591 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | LINURON | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71591 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2011-10-31 | 2010-10-01 | 2099-09-30 | ug/L | 0.97727 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | LINURON | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97727 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2012-01-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.0818 | Crescent | 163162 | Crescent 163162: 100 µl | 0.22 | LINURON | . | 0.04 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0818 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2012-03-06 | 2010-10-01 | 2099-09-30 | ug/L | 1.125 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | LINURON | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2012-06-20 | 2010-10-01 | 2099-09-30 | ug/L | 1.0795 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | LINURON | . | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0795 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0077 | 0.12156 | 1.0191 | 0.10455 | 0.077498
LINURON | 2060 | 38478LCM29 | 2008-10-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.90832 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.10129 | LINURON | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90832 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84297 | 0.064473 | 0.86141 | 0.049455 | 0.03666
LINURON | 2060 | 38478LCM29 | 2008-11-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.73997 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.16893 | LINURON | . | 0.04 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73997 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84297 | 0.064473 | 0.86141 | 0.049455 | 0.03666
LINURON | 2060 | 38478LCM29 | 2009-04-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.82784 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.10268 | LINURON | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82784 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84297 | 0.064473 | 0.86141 | 0.049455 | 0.03666
LINURON | 2060 | 38478LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.8773 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.10487 | LINURON | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8773 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84297 | 0.064473 | 0.86141 | 0.049455 | 0.03666
LINURON | 2060 | 38478LCM29 | 2009-08-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.86141 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.17181 | LINURON | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86141 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84297 | 0.064473 | 0.86141 | 0.049455 | 0.03666
LINURON | 2060 | 38478LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1262 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | LINURON | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1262 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.1237 | 0.063686 | 1.1262 | 0.12729 | 0.094362
LINURON | 2060 | 38478LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0587 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | LINURON | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0587 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.1237 | 0.063686 | 1.1262 | 0.12729 | 0.094362
LINURON | 2060 | 38478LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.186 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | LINURON | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.186 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.1237 | 0.063686 | 1.1262 | 0.12729 | 0.094362
LINURON | 2060 | 38478LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.0589 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | LINURON | . | 0.02 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0589 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2008-06-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.94214 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | LINURON | . | 0.02 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94214 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2008-07-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.0125 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | LINURON | . | 0.02 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.83574 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | LINURON | . | 0.04 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83574 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.93641 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | LINURON | . | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93641 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.89157 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | LINURON | . | 0.04 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89157 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0834 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | LINURON | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0834 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.96581 | 0.089932 | 0.94214 | 0.16729 | 0.12401
LINURON | 2060 | 38478LCM29 | 2008-02-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.73238 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.062809 | LINURON | . | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73238 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.86582 | 0.11417 | 0.86286 | 0.092292 | 0.068415
LINURON | 2060 | 38478LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 1.0374 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.061691 | LINURON | . | 0.02 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0374 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.86582 | 0.11417 | 0.86286 | 0.092292 | 0.068415
LINURON | 2060 | 38478LCM29 | 2008-05-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.86286 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.061424 | LINURON | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86286 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.86582 | 0.11417 | 0.86286 | 0.092292 | 0.068415
LINURON | 2060 | 38478LCM29 | 2008-06-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.89436 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.060378 | LINURON | . | 0.02 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89436 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.86582 | 0.11417 | 0.86286 | 0.092292 | 0.068415
LINURON | 2060 | 38478LCM29 | 2008-08-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.80207 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.059845 | LINURON | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80207 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.86582 | 0.11417 | 0.86286 | 0.092292 | 0.068415
LINURON | 2060 | 38478LCM29 | 2008-03-11 | 2007-10-01 | 2008-09-30 | ug/L | 1.0611 | Restek | A053251 | Restek A053251: 50 µl | 0.062201 | LINURON | . | 0.02 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0611 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0252 | 0.055052 | 1.0611 | 0.094567 | 0.070102
LINURON | 2060 | 38478LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.0682 | Restek | A053251 | Restek A053251: 50 µl | 0.060848 | LINURON | . | 0.02 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0682 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0252 | 0.055052 | 1.0611 | 0.094567 | 0.070102
LINURON | 2060 | 38478LCM29 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.95862 | Restek | A053251 | Restek A053251: 50 µl | 0.060504 | LINURON | . | 0.02 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95862 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0252 | 0.055052 | 1.0611 | 0.094567 | 0.070102
LINURON | 2060 | 38478LCM29 | 2008-07-23 | 2007-10-01 | 2008-09-30 | ug/L | 1.0662 | Restek | A053251 | Restek A053251: 50 µl | 0.060025 | LINURON | . | 0.02 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0662 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0252 | 0.055052 | 1.0611 | 0.094567 | 0.070102
LINURON | 2060 | 38478LCM29 | 2008-08-28 | 2007-10-01 | 2008-09-30 | ug/L | 0.97166 | Restek | A053251 | Restek A053251: 50 µl | 0.060721 | LINURON | . | 0.02 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97166 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0252 | 0.055052 | 1.0611 | 0.094567 | 0.070102
LINURON | 2060 | 38478LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.2039 | Restek | A075600 | Restek A075600: 40 µl | 0.088045 | LINURON | . | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2039 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2011-03-23 | 2010-10-01 | 2099-09-30 | ug/L | 1.0978 | Restek | A075600 | Restek A075600: 40 µl | 0.088361 | LINURON | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0978 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 1.0285 | Restek | A075600 | Restek A075600: 100 µl | 0.22362 | LINURON | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0285 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.111 | Restek | A075600 | Restek A075600: 40 µl | 0.088212 | LINURON | . | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.111 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2011-09-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.0948 | Restek | A075600 | Restek A075600: 40 µl | 0.0886 | LINURON | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0948 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2011-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0384 | Restek | A075600 | Restek A075600: 100 µl | 0.2215 | LINURON | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0384 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.3544 | Restek | A075600 | Restek A075600: 40 µl | 0.0886 | LINURON | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3544 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0564 | Restek | A075600 | Restek A075600: 100 µl | 0.2215 | LINURON | . | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0564 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.0158 | Restek | A075600 | Restek A075600: 40 µl | 0.0886 | LINURON | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0158 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2012-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.97065 | Restek | A075600 | Restek A075600: 40 µl | 0.0886 | LINURON | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97065 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2012-05-22 | 2010-10-01 | 2099-09-30 | ug/L | 0.92099 | Restek | A075600 | Restek A075600: 100 µl | 0.2215 | LINURON | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92099 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0811 | 0.11766 | 1.0564 | 0.09516 | 0.070541
LINURON | 2060 | 38478LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.92571 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.175 | LINURON | . | 0.04 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92571 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92571 |  | 0.92571 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.92857 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.07 | LINURON | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92857 |  | 0.92857 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 0.90286 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.175 | LINURON | . | 0.04 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90286 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90286 |  | 0.90286 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.97333 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.15 | LINURON | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0087 | 0.049969 | 1.0087 | 0.070667 | 0.052384
LINURON | 2060 | 38478LCM29 | 2013-01-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.044 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.75 | LINURON | . | 0.04 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.044 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0087 | 0.049969 | 1.0087 | 0.070667 | 0.052384
LINURON | 2060 | 38478LCM29 | 2012-12-21 | 2010-10-01 | 2099-09-30 | ug/L | 1.0453 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.375 | LINURON | . | 0.04 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0453 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.068 | 0.032056 | 1.068 | 0.045333 | 0.033605
LINURON | 2060 | 38478LCM29 | 2013-04-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.0907 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.375 | LINURON | . | 0.04 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0907 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.068 | 0.032056 | 1.068 | 0.045333 | 0.033605
LINURON | 2060 | 38478LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.98133 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.375 | LINURON | . | 0.04 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98133 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98133 |  | 0.98133 | 0 | 0
LINURON | 2060 | 38478LCM29 | 2008-10-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.9893 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.1031 | LINURON | E | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9893 | Supelco LB60726 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.95145 | 0.066255 | 0.97118 | 0.086689 | 0.064262
LINURON | 2060 | 38478LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.97118 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.10606 | LINURON | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97118 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95145 | 0.066255 | 0.97118 | 0.086689 | 0.064262
LINURON | 2060 | 38478LCM29 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.90261 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.10414 | LINURON | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90261 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95145 | 0.066255 | 0.97118 | 0.086689 | 0.064262
LINURON | 2060 | 38478LCM29 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.86548 | Supelco | LB60726 | Supelco LB60726: 50 µl | 0.17562 | LINURON | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86548 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95145 | 0.066255 | 0.97118 | 0.086689 | 0.064262
LINURON | 2060 | 38478LCM29 | 2009-09-22 | 2008-10-01 | 2009-09-30 | ug/L | 1.0287 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.10207 | LINURON | . | 0.04 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0287 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95145 | 0.066255 | 0.97118 | 0.086689 | 0.064262