## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MCPA | 2060 | 38482LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.6625 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.08 | MCPA | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.6625 |  | 0.6625 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2013-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.70647 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.201 | MCPA | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70647 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70647 |  | 0.70647 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.125 | MCPA | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.804 | 0.11879 | 0.804 | 0.168 | 0.12454
MCPA | 2060 | 38482LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.888 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 0.25 | MCPA | . | 0.04 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.804 | 0.11879 | 0.804 | 0.168 | 0.12454
MCPA | 2060 | 38482LCM29 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.05 | MCPA | . | 0.04 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.98 |  | 0.98 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2012-08-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.05 | MCPA | . | 0.04 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2013-03-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.816 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.125 | MCPA | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.816 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.836 | 0.028284 | 0.836 | 0.04 | 0.029652
MCPA | 2060 | 38482LCM29 | 2013-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.856 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.125 | MCPA | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.836 | 0.028284 | 0.836 | 0.04 | 0.029652
MCPA | 2060 | 38482LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.6625 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.08 | MCPA | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.6625 |  | 0.6625 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.5279 | Accu | 209081166 | Accu 209081166: 40 µl | 0.047357 | MCPA | E | 0.04 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5279 | Accu 209081166 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.65562 | 0.12329 | 0.6408 | 0.18773 | 0.13916
MCPA | 2060 | 38482LCM29 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.81299 | Accu | 209081166 | Accu 209081166: 40 µl | 0.047971 | MCPA | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81299 | Accu 209081166 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.65562 | 0.12329 | 0.6408 | 0.18773 | 0.13916
MCPA | 2060 | 38482LCM29 | 2010-06-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.59561 | Accu | 209081166 | Accu 209081166: 80 µl | 0.094021 | MCPA | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59561 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65562 | 0.12329 | 0.6408 | 0.18773 | 0.13916
MCPA | 2060 | 38482LCM29 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.68599 | Accu | 209081166 | Accu 209081166: 40 µl | 0.048106 | MCPA | E | 0.04 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68599 | Accu 209081166 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.65562 | 0.12329 | 0.6408 | 0.18773 | 0.13916
MCPA | 2060 | 38482LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.77612 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.201 | MCPA | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77612 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77612 |  | 0.77612 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2009-12-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.60516 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.047921 | MCPA | E | 0.04 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60516 | ChemService 430-40B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.66901 | 0.13991 | 0.60516 | 0.2119 | 0.15708
MCPA | 2060 | 38482LCM29 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.53355 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.048731 | MCPA | E | 0.04 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53355 | ChemService 430-40B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.66901 | 0.13991 | 0.60516 | 0.2119 | 0.15708
MCPA | 2060 | 38482LCM29 | 2010-07-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.78339 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.048507 | MCPA | E | 0.04 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78339 | ChemService 430-40B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.66901 | 0.13991 | 0.60516 | 0.2119 | 0.15708
MCPA | 2060 | 38482LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.85144 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.096308 | MCPA | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85144 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66901 | 0.13991 | 0.60516 | 0.2119 | 0.15708
MCPA | 2060 | 38482LCM29 | 2010-10-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.57149 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.096239 | MCPA | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57149 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66901 | 0.13991 | 0.60516 | 0.2119 | 0.15708
MCPA | 2060 | 38482LCM29 | 2008-02-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.88119 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.091921 | MCPA | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88119 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83963 | 0.078989 | 0.88119 | 0.076358 | 0.056603
MCPA | 2060 | 38482LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.81786 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.09048 | MCPA | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81786 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83963 | 0.078989 | 0.88119 | 0.076358 | 0.056603
MCPA | 2060 | 38482LCM29 | 2008-05-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.89422 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.089463 | MCPA | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89422 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83963 | 0.078989 | 0.88119 | 0.076358 | 0.056603
MCPA | 2060 | 38482LCM29 | 2008-07-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.89467 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.089419 | MCPA | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89467 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83963 | 0.078989 | 0.88119 | 0.076358 | 0.056603
MCPA | 2060 | 38482LCM29 | 2008-08-29 | 2007-10-01 | 2008-09-30 | ug/L | 0.71022 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.088705 | MCPA | . | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71022 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83963 | 0.078989 | 0.88119 | 0.076358 | 0.056603
MCPA | 2060 | 38482LCM29 | 2010-11-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.707 | Crescent | 163162 | Crescent 163162: 40 µl | 0.079208 | MCPA | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.707 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2011-02-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.72668 | Crescent | 163162 | Crescent 163162: 40 µl | 0.078439 | MCPA | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72668 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2011-04-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.69076 | Crescent | 163162 | Crescent 163162: 100 µl | 0.19978 | MCPA | . | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69076 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.63206 | Crescent | 163162 | Crescent 163162: 40 µl | 0.079106 | MCPA | . | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63206 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.71 | Crescent | 163162 | Crescent 163162: 100 µl | 0.2 | MCPA | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.5 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | MCPA | . | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2011-11-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | MCPA | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2012-01-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | Crescent | 163162 | Crescent 163162: 100 µl | 0.2 | MCPA | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.6625 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | MCPA | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2012-06-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.7625 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | MCPA | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.68515 | 0.075475 | 0.7085 | 0.064178 | 0.047575
MCPA | 2060 | 38482LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.69709 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.21375 | MCPA | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69709 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80594 | 0.1485 | 0.86078 | 0.21621 | 0.16028
MCPA | 2060 | 38482LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.86078 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.12431 | MCPA | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86078 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80594 | 0.1485 | 0.86078 | 0.21621 | 0.16028
MCPA | 2060 | 38482LCM29 | 2009-05-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.91331 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.12592 | MCPA | . | 0.04 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91331 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80594 | 0.1485 | 0.86078 | 0.21621 | 0.16028
MCPA | 2060 | 38482LCM29 | 2009-08-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.95304 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.12486 | MCPA | E | 0.04 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95304 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.80594 | 0.1485 | 0.86078 | 0.21621 | 0.16028
MCPA | 2060 | 38482LCM29 | 2009-09-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.60546 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.20811 | MCPA | . | 0.04 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60546 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80594 | 0.1485 | 0.86078 | 0.21621 | 0.16028
MCPA | 2060 | 38482LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.755 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.2 | MCPA | . | 0.04 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.755 |  | 0.755 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.84864 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | MCPA | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84864 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.85807 | 0.0454 | 0.84864 | 0.089318 | 0.066211
MCPA | 2060 | 38482LCM29 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.81812 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | MCPA | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81812 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.85807 | 0.0454 | 0.84864 | 0.089318 | 0.066211
MCPA | 2060 | 38482LCM29 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.90744 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | MCPA | . | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90744 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.85807 | 0.0454 | 0.84864 | 0.089318 | 0.066211
MCPA | 2060 | 38482LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.97824 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | MCPA | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97824 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.79225 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | MCPA | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79225 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2008-07-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.81216 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | MCPA | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81216 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.70404 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | MCPA | . | 0.04 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70404 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2009-05-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.86193 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | MCPA | . | 0.04 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86193 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.66463 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | MCPA | . | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66463 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2009-07-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.5177 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | MCPA | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5177 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.76156 | 0.14872 | 0.79225 | 0.1973 | 0.14626
MCPA | 2060 | 38482LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.71024 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.12672 | MCPA | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71024 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.64628 | 0.043159 | 0.63407 | 0.045668 | 0.033853
MCPA | 2060 | 38482LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.62077 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.21425 | MCPA | . | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62077 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.64628 | 0.043159 | 0.63407 | 0.045668 | 0.033853
MCPA | 2060 | 38482LCM29 | 2009-04-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.59987 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.1317 | MCPA | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59987 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.64628 | 0.043159 | 0.63407 | 0.045668 | 0.033853
MCPA | 2060 | 38482LCM29 | 2009-07-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.66644 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.12604 | MCPA | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66644 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.64628 | 0.043159 | 0.63407 | 0.045668 | 0.033853
MCPA | 2060 | 38482LCM29 | 2009-09-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.63407 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.2066 | MCPA | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63407 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.64628 | 0.043159 | 0.63407 | 0.045668 | 0.033853
MCPA | 2060 | 38482LCM29 | 2011-01-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.72423 | Restek | A075600 | Restek A075600: 40 µl | 0.078704 | MCPA | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72423 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2011-03-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.74696 | Restek | A075600 | Restek A075600: 40 µl | 0.078987 | MCPA | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74696 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.68034 | Restek | A075600 | Restek A075600: 100 µl | 0.1999 | MCPA | . | 0.04 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68034 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2011-06-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.6975 | Restek | A075600 | Restek A075600: 40 µl | 0.078853 | MCPA | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6975 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2011-09-06 | 2010-10-01 | 2011-09-30 | ug/L | 0.64394 | Restek | A075600 | Restek A075600: 40 µl | 0.0792 | MCPA | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64394 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2011-09-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.75758 | Restek | A075600 | Restek A075600: 100 µl | 0.198 | MCPA | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.82071 | Restek | A075600 | Restek A075600: 40 µl | 0.0792 | MCPA | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82071 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2012-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.81313 | Restek | A075600 | Restek A075600: 100 µl | 0.198 | MCPA | . | 0.04 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81313 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.64394 | Restek | A075600 | Restek A075600: 40 µl | 0.0792 | MCPA | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64394 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2012-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.60606 | Restek | A075600 | Restek A075600: 40 µl | 0.0792 | MCPA | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60606 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.77778 | Restek | A075600 | Restek A075600: 100 µl | 0.198 | MCPA | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.71929 | 0.07137 | 0.72423 | 0.13384 | 0.099213
MCPA | 2060 | 38482LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.2 | MCPA | . | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69 |  | 0.69 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2014-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.64677 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.0804 | MCPA | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64677 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64677 |  | 0.64677 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2012-09-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.05 | MCPA | . | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.836 | 0.033941 | 0.836 | 0.048 | 0.035582
MCPA | 2060 | 38482LCM29 | 2013-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.812 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.25 | MCPA | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.812 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.836 | 0.033941 | 0.836 | 0.048 | 0.035582
MCPA | 2060 | 38482LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.784 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.125 | MCPA | . | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.784 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.744 | 0.056569 | 0.744 | 0.08 | 0.059303
MCPA | 2060 | 38482LCM29 | 2013-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.704 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.125 | MCPA | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.704 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.744 | 0.056569 | 0.744 | 0.08 | 0.059303
MCPA | 2060 | 38482LCM29 | 2012-07-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.712 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.125 | MCPA | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.712 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.712 |  | 0.712 | 0 | 0
MCPA | 2060 | 38482LCM29 | 2008-01-22 | 2007-10-01 | 2008-09-30 | ug/L | 1.0467 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.093623 | MCPA | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0467 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98615 | 0.12898 | 1.0384 | 0.11044 | 0.081865
MCPA | 2060 | 38482LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 1.1088 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.091093 | MCPA | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1088 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98615 | 0.12898 | 1.0384 | 0.11044 | 0.081865
MCPA | 2060 | 38482LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.0363 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.091668 | MCPA | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0363 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98615 | 0.12898 | 1.0384 | 0.11044 | 0.081865
MCPA | 2060 | 38482LCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.93631 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.092918 | MCPA | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93631 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98615 | 0.12898 | 1.0384 | 0.11044 | 0.081865
MCPA | 2060 | 38482LCM29 | 2008-07-25 | 2007-10-01 | 2008-09-30 | ug/L | 1.0404 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.089392 | MCPA | . | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0404 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98615 | 0.12898 | 1.0384 | 0.11044 | 0.081865
MCPA | 2060 | 38482LCM29 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.74838 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.090863 | MCPA | . | 0.06 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74838 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98615 | 0.12898 | 1.0384 | 0.11044 | 0.081865