## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MCPB | 2060 | 38487LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.53354 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.3936 | MCPB | . | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53354 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.53354 |  | 0.53354 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2013-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.64322 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.995 | MCPB | . | 0.2 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64322 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64322 |  | 0.64322 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.625 | MCPB | . | 0.2 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.596 | 0.050912 | 0.596 | 0.072 | 0.053373
MCPB | 2060 | 38487LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.632 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 1.25 | MCPB | . | 0.2 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.632 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.596 | 0.050912 | 0.596 | 0.072 | 0.053373
MCPB | 2060 | 38487LCM29 | 2008-02-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.69796 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.37108 | MCPB | . | 0.06 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69796 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.57268 | 0.13539 | 0.62665 | 0.23267 | 0.17248
MCPB | 2060 | 38487LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.62665 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.37022 | MCPB | . | 0.06 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62665 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.57268 | 0.13539 | 0.62665 | 0.23267 | 0.17248
MCPB | 2060 | 38487LCM29 | 2008-05-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.68241 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.36488 | MCPB | . | 0.06 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68241 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.57268 | 0.13539 | 0.62665 | 0.23267 | 0.17248
MCPB | 2060 | 38487LCM29 | 2008-07-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.44974 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.36243 | MCPB | E | 0.06 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44974 | Abs 071607LC | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.57268 | 0.13539 | 0.62665 | 0.23267 | 0.17248
MCPB | 2060 | 38487LCM29 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.40666 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.36394 | MCPB | E | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40666 | Abs 071607LC | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.57268 | 0.13539 | 0.62665 | 0.23267 | 0.17248
MCPB | 2060 | 38487LCM29 | 2011-02-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.71341 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.25231 | MCPB | . | 0.2 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71341 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2011-02-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.5994 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.25025 | MCPB | . | 0.2 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5994 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.64089 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.24965 | MCPB | . | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64089 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2011-06-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.63089 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.61817 | MCPB | . | 0.2 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63089 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.55732 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.2512 | MCPB | . | 0.2 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55732 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.50955 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.628 | MCPB | . | 0.2 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50955 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2012-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.66879 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.628 | MCPB | . | 0.2 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66879 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.61718 | 0.068503 | 0.63089 | 0.11146 | 0.082628
MCPB | 2060 | 38487LCM29 | 2008-02-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.73906 | Accu | B7070230 | Accu B7070230: 50 µl | 0.36668 | MCPB | . | 0.06 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73906 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.56442 | 0.13043 | 0.5468 | 0.19959 | 0.14795
MCPB | 2060 | 38487LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.68535 | Accu | B7070230 | Accu B7070230: 50 µl | 0.36478 | MCPB | . | 0.06 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68535 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.56442 | 0.13043 | 0.5468 | 0.19959 | 0.14795
MCPB | 2060 | 38487LCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.53858 | Accu | B7070230 | Accu B7070230: 50 µl | 0.36392 | MCPB | . | 0.06 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53858 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.56442 | 0.13043 | 0.5468 | 0.19959 | 0.14795
MCPB | 2060 | 38487LCM29 | 2008-07-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.48576 | Accu | B7070230 | Accu B7070230: 50 µl | 0.34997 | MCPB | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48576 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.56442 | 0.13043 | 0.5468 | 0.19959 | 0.14795
MCPB | 2060 | 38487LCM29 | 2008-09-26 | 2007-10-01 | 2008-09-30 | ug/L | 0.38277 | Accu | B7070230 | Accu B7070230: 50 µl | 0.35269 | MCPB | E | 0.06 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38277 | Accu B7070230 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.56442 | 0.13043 | 0.5468 | 0.19959 | 0.14795
MCPB | 2060 | 38487LCM29 | 2008-09-26 | 2007-10-01 | 2008-09-30 | ug/L | 0.55502 | Accu | B7070230 | Accu B7070230: 50 µl | 0.35134 | MCPB | . | 0.06 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55502 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.56442 | 0.13043 | 0.5468 | 0.19959 | 0.14795
MCPB | 2060 | 38487LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.82412 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.995 | MCPB | . | 0.2 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82412 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82412 |  | 0.82412 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2011-01-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.53132 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.24467 | MCPB | . | 0.2 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53132 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.65693 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.24356 | MCPB | . | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65693 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2011-05-06 | 2010-10-01 | 2011-09-30 | ug/L | 0.60138 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.24943 | MCPB | . | 0.2 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60138 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2011-06-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.56526 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.61919 | MCPB | . | 0.2 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56526 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2011-08-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.60703 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.626 | MCPB | . | 0.2 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60703 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.35942 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.2504 | MCPB | . | 0.2 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35942 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.59105 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.626 | MCPB | . | 0.2 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59105 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.55891 | 0.096053 | 0.59105 | 0.075711 | 0.056124
MCPB | 2060 | 38487LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.48364 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.28533 | MCPB | E | 0.2 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48364 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.61305 | 0.15406 | 0.60865 | 0.18862 | 0.13982
MCPB | 2060 | 38487LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.60865 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.16594 | MCPB | E | 0.2 | 0.101 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.60865 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.61305 | 0.15406 | 0.60865 | 0.18862 | 0.13982
MCPB | 2060 | 38487LCM29 | 2009-05-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.67226 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.16809 | MCPB | E | 0.2 | 0.113 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.67226 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.61305 | 0.15406 | 0.60865 | 0.18862 | 0.13982
MCPB | 2060 | 38487LCM29 | 2009-08-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.83992 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.16668 | MCPB | E | 0.2 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83992 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.61305 | 0.15406 | 0.60865 | 0.18862 | 0.13982
MCPB | 2060 | 38487LCM29 | 2009-09-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.46075 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.27781 | MCPB | E | 0.2 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46075 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.61305 | 0.15406 | 0.60865 | 0.18862 | 0.13982
MCPB | 2060 | 38487LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.70122 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.984 | MCPB | . | 0.2 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70122 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70122 |  | 0.70122 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.52764 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.398 | MCPB | . | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52764 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.52764 |  | 0.52764 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.6345 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | MCPB | E | 0.2 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6345 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 1 |  | 3 | 0.63765 | 0.0036594 | 0.6368 | 0.0071681 | 0.0053136
MCPB | 2060 | 38487LCM29 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.64166 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | MCPB | E | 0.2 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.64166 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 1 |  | 3 | 0.63765 | 0.0036594 | 0.6368 | 0.0071681 | 0.0053136
MCPB | 2060 | 38487LCM29 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.6368 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | MCPB | E | 0.2 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6368 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 1 |  | 3 | 0.63765 | 0.0036594 | 0.6368 | 0.0071681 | 0.0053136
MCPB | 2060 | 38487LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.65037 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | MCPB | . | 0.06 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65037 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.54066 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | MCPB | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54066 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2008-07-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.48188 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | MCPB | E | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48188 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.57235 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | MCPB | E | 0.2 | 0.113 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.57235 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 1 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2009-05-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.69167 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | MCPB | E | 0.2 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69167 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 1 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.50252 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | MCPB | E | 0.2 | 0.093 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.50252 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 1 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2009-07-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.38961 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | MCPB | E | 0.2 | 0.073 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.38961 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 1 |  | 7 | 0.54701 | 0.1027 | 0.54066 | 0.16849 | 0.1249
MCPB | 2060 | 38487LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.47218 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.16731 | MCPB | E | 0.2 | 0.079 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47218 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 1 |  | 5 | 0.47816 | 0.040039 | 0.4729 | 0.039665 | 0.029404
MCPB | 2060 | 38487LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.41714 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.28288 | MCPB | E | 0.2 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41714 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 0.47816 | 0.040039 | 0.4729 | 0.039665 | 0.029404
MCPB | 2060 | 38487LCM29 | 2009-04-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.51184 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.17388 | MCPB | E | 0.2 | 0.089 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51184 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 1 |  | 5 | 0.47816 | 0.040039 | 0.4729 | 0.039665 | 0.029404
MCPB | 2060 | 38487LCM29 | 2009-07-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.51677 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.16642 | MCPB | E | 0.2 | 0.086 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51677 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 1 |  | 5 | 0.47816 | 0.040039 | 0.4729 | 0.039665 | 0.029404
MCPB | 2060 | 38487LCM29 | 2009-09-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.4729 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.27279 | MCPB | E | 0.2 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4729 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 0.47816 | 0.040039 | 0.4729 | 0.039665 | 0.029404
MCPB | 2060 | 38487LCM29 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.624 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.625 | MCPB | . | 0.2 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.624 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.624 |  | 0.624 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2009-11-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.4718 | Restek | A069890 | Restek A069890: 40 µl | 0.33913 | MCPB | E | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4718 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5766 | 0.075882 | 0.59238 | 0.10367 | 0.076851
MCPB | 2060 | 38487LCM29 | 2010-04-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.57773 | Restek | A069890 | Restek A069890: 40 µl | 0.34618 | MCPB | . | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57773 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5766 | 0.075882 | 0.59238 | 0.10367 | 0.076851
MCPB | 2060 | 38487LCM29 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.64983 | Restek | A069890 | Restek A069890: 80 µl | 0.70787 | MCPB | . | 0.2 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64983 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5766 | 0.075882 | 0.59238 | 0.10367 | 0.076851
MCPB | 2060 | 38487LCM29 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.60704 | Restek | A069890 | Restek A069890: 40 µl | 0.34594 | MCPB | . | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60704 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5766 | 0.075882 | 0.59238 | 0.10367 | 0.076851
MCPB | 2060 | 38487LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.61992 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.984 | MCPB | . | 0.2 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61992 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.61992 |  | 0.61992 | 0 | 0
MCPB | 2060 | 38487LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.576 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.625 | MCPB | . | 0.2 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.576 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.544 | 0.045255 | 0.544 | 0.064 | 0.047443
MCPB | 2060 | 38487LCM29 | 2013-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.512 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.625 | MCPB | . | 0.2 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.512 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.544 | 0.045255 | 0.544 | 0.064 | 0.047443
MCPB | 2060 | 38487LCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.52288 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.34425 | MCPB | E | 0.2 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52288 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.53024 | 0.039272 | 0.52288 | 0.021756 | 0.016127
MCPB | 2060 | 38487LCM29 | 2010-05-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.59476 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.35308 | MCPB | . | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59476 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53024 | 0.039272 | 0.52288 | 0.021756 | 0.016127
MCPB | 2060 | 38487LCM29 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.49075 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.69281 | MCPB | . | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49075 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53024 | 0.039272 | 0.52288 | 0.021756 | 0.016127
MCPB | 2060 | 38487LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.53227 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.71392 | MCPB | . | 0.2 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53227 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.53024 | 0.039272 | 0.52288 | 0.021756 | 0.016127
MCPB | 2060 | 38487LCM29 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.51052 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.35258 | MCPB | E | 0.2 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51052 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.53024 | 0.039272 | 0.52288 | 0.021756 | 0.016127