## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NICOSULFURON | 2060 | 50364LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 2.4147 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 1.1016 | NICOSULFURON | E | 0.32 | 2.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.4147 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Estimated Values | Y | 2 | Y | 1 | 2.4147 |  | 2.4147 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2013-07-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.7175 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 2.754 | NICOSULFURON | E | 0.32 | 4.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7175 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.7175 |  | 1.7175 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 2.4982 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.5524 | NICOSULFURON | E | 0.32 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.4982 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Estimated Values | Y | 2 | Y | 1 | 2.4982 |  | 2.4982 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.8392 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 1.381 | NICOSULFURON | E | 0.32 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8392 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.8392 |  | 1.8392 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.98298 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.5524 | NICOSULFURON | E | 0.32 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98298 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.98298 |  | 0.98298 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2012-11-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.0524 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 2.005 | NICOSULFURON | E | 0.32 | 2.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0524 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.87656 | 0.24863 | 0.87656 | 0.35162 | 0.26065
NICOSULFURON | 2060 | 50364LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.70075 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 4.01 | NICOSULFURON | E | 0.32 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70075 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.87656 | 0.24863 | 0.87656 | 0.35162 | 0.26065
NICOSULFURON | 2060 | 50364LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.95185 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.8016 | NICOSULFURON | E | 0.32 | 0.763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95185 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.95185 |  | 0.95185 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2012-08-22 | 2011-10-01 | 2050-09-30 | ug/L | 2.7861 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.402 | NICOSULFURON | E | 0.32 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.7861 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 2.7861 |  | 2.7861 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.5721 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 1.005 | NICOSULFURON | E | 0.32 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5721 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2985 | 0.38697 | 1.2985 | 0.54726 | 0.40568
NICOSULFURON | 2060 | 50364LCM29 | 2013-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.0249 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 1.005 | NICOSULFURON | E | 0.32 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0249 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2985 | 0.38697 | 1.2985 | 0.54726 | 0.40568
NICOSULFURON | 2060 | 50364LCM29 | 2008-10-31 | 2007-01-01 | 2009-09-30 | ug/L | 1.4892 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.41634 | NICOSULFURON | E | 0.1 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4892 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1686 | 0.42675 | 1.3395 | 0.6476 | 0.48006
NICOSULFURON | 2060 | 50364LCM29 | 2008-12-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.3395 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.25382 | NICOSULFURON | E | 0.1 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3395 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1686 | 0.42675 | 1.3395 | 0.6476 | 0.48006
NICOSULFURON | 2060 | 50364LCM29 | 2009-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.5743 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.25408 | NICOSULFURON | E | 0.1 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5743 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1686 | 0.42675 | 1.3395 | 0.6476 | 0.48006
NICOSULFURON | 2060 | 50364LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 0.59857 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.2506 | NICOSULFURON | E | 0.1 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59857 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1686 | 0.42675 | 1.3395 | 0.6476 | 0.48006
NICOSULFURON | 2060 | 50364LCM29 | 2009-09-01 | 2007-01-01 | 2009-09-30 | ug/L | 0.84158 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.41588 | NICOSULFURON | E | 0.1 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84158 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1686 | 0.42675 | 1.3395 | 0.6476 | 0.48006
NICOSULFURON | 2060 | 50364LCM29 | 2011-02-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.48321 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10968 | NICOSULFURON | E | 0.1 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48321 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.30435 | 0.21822 | 0.26917 | 0.35501 | 0.26316
NICOSULFURON | 2060 | 50364LCM29 | 2011-02-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.62508 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10879 | NICOSULFURON | E | 0.1 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62508 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.30435 | 0.21822 | 0.26917 | 0.35501 | 0.26316
NICOSULFURON | 2060 | 50364LCM29 | 2011-04-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.3225 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10853 | NICOSULFURON | E | 0.1 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3225 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.30435 | 0.21822 | 0.26917 | 0.35501 | 0.26316
NICOSULFURON | 2060 | 50364LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.21583 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.26873 | NICOSULFURON | E | 0.1 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21583 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.30435 | 0.21822 | 0.26917 | 0.35501 | 0.26316
NICOSULFURON | 2060 | 50364LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.12821 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1092 | NICOSULFURON | E | 0.1 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12821 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.30435 | 0.21822 | 0.26917 | 0.35501 | 0.26316
NICOSULFURON | 2060 | 50364LCM29 | 2012-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.051282 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.273 | NICOSULFURON | E | 0.32 | 0.014 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.051282 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.30435 | 0.21822 | 0.26917 | 0.35501 | 0.26316
NICOSULFURON | 2060 | 50364LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0852 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 1.373 | NICOSULFURON | E | 0.32 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0852 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0852 |  | 1.0852 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2008-11-19 | 2007-01-01 | 2009-09-30 | ug/L | 3.498 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.4088 | NICOSULFURON | E | 0.1 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.9976 | 0.96705 | 1.7756 | 1.678 | 1.2439 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2009-03-03 | 2007-01-01 | 2009-09-30 | ug/L | 1.7756 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.25906 | NICOSULFURON | E | 0.1 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7756 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.9976 | 0.96705 | 1.7756 | 1.678 | 1.2439
NICOSULFURON | 2060 | 50364LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 3.8567 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.41746 | NICOSULFURON | E | 0.1 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.9976 | 0.96705 | 1.7756 | 1.678 | 1.2439 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2009-08-13 | 2007-01-01 | 2009-09-30 | ug/L | 0.89061 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.24702 | NICOSULFURON | E | 0.1 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89061 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.9976 | 0.96705 | 1.7756 | 1.678 | 1.2439
NICOSULFURON | 2060 | 50364LCM29 | 2009-09-23 | 2007-01-01 | 2009-09-30 | ug/L | 1.322 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.24963 | NICOSULFURON | E | 0.1 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.322 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.9976 | 0.96705 | 1.7756 | 1.678 | 1.2439
NICOSULFURON | 2060 | 50364LCM29 | 2011-01-04 | 2010-10-01 | 2011-09-30 | ug/L | 0.62081 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.10631 | NICOSULFURON | E | 0.1 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62081 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2011-03-07 | 2010-10-01 | 2011-09-30 | ug/L | 1.7387 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.10583 | NICOSULFURON | E | 0.1 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7387 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2011-05-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.91348 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.10838 | NICOSULFURON | E | 0.1 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91348 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2011-06-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.73595 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.26904 | NICOSULFURON | E | 0.1 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73595 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.68015 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.272 | NICOSULFURON | E | 0.1 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68015 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.75368 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1088 | NICOSULFURON | E | 0.32 | 0.082 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75368 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.1066 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.272 | NICOSULFURON | E | 0.32 | 0.301 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1066 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2012-02-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.76287 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1088 | NICOSULFURON | E | 0.32 | 0.083 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.76287 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2012-03-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.94669 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1088 | NICOSULFURON | E | 0.32 | 0.103 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94669 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 9 | 0.91766 | 0.34261 | 0.76287 | 0.21074 | 0.15622
NICOSULFURON | 2060 | 50364LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 2.1304 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.5492 | NICOSULFURON | E | 0.32 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.1304 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 2.1304 |  | 2.1304 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.7884 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.7996 | NICOSULFURON | E | 0.32 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7884 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.7884 |  | 1.7884 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2012-09-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.9294 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.3996 | NICOSULFURON | E | 0.32 | 0.771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9294 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.9294 |  | 1.9294 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 16.1796 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | NICOSULFURON | E | 0.1 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 20.1322 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | NICOSULFURON | E | 0.1 | 2.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 13.8504 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | NICOSULFURON | E | 0.1 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 2.795 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | NICOSULFURON | E | 0.1 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.795 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2008-06-19 | 2007-01-01 | 2009-09-30 | ug/L | 2.7301 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | NICOSULFURON | E | 0.1 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.7301 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 2.6531 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | NICOSULFURON | E | 0.1 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.6531 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2009-03-26 | 2007-01-01 | 2009-09-30 | ug/L | 5.4196 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | NICOSULFURON | E | 0.1 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2009-05-06 | 2007-01-01 | 2009-09-30 | ug/L | 5.1609 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | NICOSULFURON | E | 0.1 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 4.8091 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | NICOSULFURON | E | 0.1 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.9213 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | NICOSULFURON | E | 0.1 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9213 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 2.7285 | 0.38357 | 2.795 | 0.34694 | 0.25719
NICOSULFURON | 2060 | 50364LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.94194 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.999 | NICOSULFURON | E | 0.32 | 0.941 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94194 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.94194 |  | 0.94194 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2009-11-20 | 2009-10-01 | 2010-09-30 | ug/L | 12.2198 | Restek | A069890 | Restek A069890: 40 µl | 0.16776 | NICOSULFURON | E | 0.1 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-04-14 | 2009-10-01 | 2010-09-30 | ug/L | 10.978 | Restek | A069890 | Restek A069890: 40 µl | 0.17125 | NICOSULFURON | E | 0.1 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 10.1664 | Restek | A069890 | Restek A069890: 80 µl | 0.35017 | NICOSULFURON | E | 0.1 | 3.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 13.7321 | Restek | A069890 | Restek A069890: 40 µl | 0.17113 | NICOSULFURON | E | 0.1 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.51529 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.5492 | NICOSULFURON | E | 0.32 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51529 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.51529 |  | 0.51529 | 0 | 0
NICOSULFURON | 2060 | 50364LCM29 | 2012-09-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.6517 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.3996 | NICOSULFURON | E | 0.32 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6517 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 2 | 1.3338 | 0.44946 | 1.3338 | 0.63564 | 0.47119
NICOSULFURON | 2060 | 50364LCM29 | 2013-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.016 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 1.998 | NICOSULFURON | E | 0.32 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.016 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 2 | 1.3338 | 0.44946 | 1.3338 | 0.63564 | 0.47119
NICOSULFURON | 2060 | 50364LCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 9.8739 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.17015 | NICOSULFURON | E | 0.1 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-05-26 | 2009-10-01 | 2010-09-30 | ug/L | 5.014 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.17451 | NICOSULFURON | E | 0.1 | 0.875 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-06-11 | 2009-10-01 | 2010-09-30 | ug/L | 5.1398 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.34242 | NICOSULFURON | E | 0.1 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 5.5547 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.35286 | NICOSULFURON | E | 0.1 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2010-09-02 | 2009-10-01 | 2010-09-30 | ug/L | 6.3696 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.17427 | NICOSULFURON | E | 0.1 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 3 | 0 | 3 | 0 | 0 | 2
NICOSULFURON | 2060 | 50364LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.08 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.4 | NICOSULFURON | E | 0.32 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.835 | 0.34648 | 0.835 | 0.49 | 0.36323
NICOSULFURON | 2060 | 50364LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.59 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.4 | NICOSULFURON | E | 0.32 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.835 | 0.34648 | 0.835 | 0.49 | 0.36323