## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PICLORAM | 2060 | 49291LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.62242 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.2908 | PICLORAM | E | 0.1 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62242 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.62242 |  | 0.62242 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2013-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.69446 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.7315 | PICLORAM | E | 0.1 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69446 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.69446 |  | 0.69446 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.636 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.5 | PICLORAM | E | 0.1 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.6795 | 0.061518 | 0.6795 | 0.087 | 0.064492
PICLORAM | 2060 | 49291LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.723 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 1 | PICLORAM | E | 0.1 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.723 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.6795 | 0.061518 | 0.6795 | 0.087 | 0.064492
PICLORAM | 2060 | 49291LCM29 | 2012-08-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.675 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.2 | PICLORAM | E | 0.1 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.675 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.675 |  | 0.675 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2008-05-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.7362 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.38576 | PICLORAM | . | 0.12 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7362 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.57522 | 0.14676 | 0.54059 | 0.28732 | 0.21299
PICLORAM | 2060 | 49291LCM29 | 2008-07-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.44888 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.38317 | PICLORAM | . | 0.12 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44888 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.57522 | 0.14676 | 0.54059 | 0.28732 | 0.21299
PICLORAM | 2060 | 49291LCM29 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.54059 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.38477 | PICLORAM | . | 0.12 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54059 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.57522 | 0.14676 | 0.54059 | 0.28732 | 0.21299
PICLORAM | 2060 | 49291LCM29 | 2008-11-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.38762 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.36634 | PICLORAM | E | 0.12 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38762 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42316 | 0.071933 | 0.43723 | 0.095946 | 0.071124
PICLORAM | 2060 | 49291LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.48357 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.22334 | PICLORAM | E | 0.12 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48357 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42316 | 0.071933 | 0.43723 | 0.095946 | 0.071124
PICLORAM | 2060 | 49291LCM29 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.31758 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.22357 | PICLORAM | E | 0.12 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31758 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42316 | 0.071933 | 0.43723 | 0.095946 | 0.071124
PICLORAM | 2060 | 49291LCM29 | 2009-07-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.48979 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.2205 | PICLORAM | E | 0.12 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48979 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42316 | 0.071933 | 0.43723 | 0.095946 | 0.071124
PICLORAM | 2060 | 49291LCM29 | 2009-09-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.43723 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.36594 | PICLORAM | E | 0.12 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43723 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42316 | 0.071933 | 0.43723 | 0.095946 | 0.071124
PICLORAM | 2060 | 49291LCM29 | 2011-02-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.47576 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.19968 | PICLORAM | E | 0.12 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47576 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2011-02-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.43929 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.19805 | PICLORAM | E | 0.12 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43929 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.95154 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.19758 | PICLORAM | E | 0.12 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95154 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2011-06-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.75835 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.48922 | PICLORAM | E | 0.12 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75835 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.6992 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1988 | PICLORAM | E | 0.12 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6992 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.50302 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.497 | PICLORAM | E | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50302 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.45775 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1988 | PICLORAM | E | 0.1 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45775 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2012-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.72636 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.497 | PICLORAM | E | 0.1 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72636 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.88028 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1988 | PICLORAM | E | 0.1 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88028 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2012-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.6338 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1988 | PICLORAM | E | 0.1 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6338 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.65253 | 0.1818 | 0.6665 | 0.28258 | 0.20948
PICLORAM | 2060 | 49291LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.63961 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.2908 | PICLORAM | E | 0.1 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63961 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63961 |  | 0.63961 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.69992 | Accu | B7070230 | Accu B7070230: 50 µl | 0.39862 | PICLORAM | . | 0.12 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69992 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.65284 | 0.19865 | 0.69992 | 0.38885 | 0.28825
PICLORAM | 2060 | 49291LCM29 | 2008-09-26 | 2007-10-01 | 2008-09-30 | ug/L | 0.43488 | Accu | B7070230 | Accu B7070230: 50 µl | 0.38631 | PICLORAM | E | 0.12 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43488 | Accu B7070230 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.65284 | 0.19865 | 0.69992 | 0.38885 | 0.28825
PICLORAM | 2060 | 49291LCM29 | 2008-09-26 | 2007-10-01 | 2008-09-30 | ug/L | 0.82373 | Accu | B7070230 | Accu B7070230: 50 µl | 0.38483 | PICLORAM | E | 0.12 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82373 | Accu B7070230 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.65284 | 0.19865 | 0.69992 | 0.38885 | 0.28825
PICLORAM | 2060 | 49291LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.78059 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.7315 | PICLORAM | E | 0.1 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78059 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.78059 |  | 0.78059 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2008-11-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.7502 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.3599 | PICLORAM | E | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7502 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59977 | 0.31394 | 0.5288 | 0.35998 | 0.26685
PICLORAM | 2060 | 49291LCM29 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.39022 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.22808 | PICLORAM | E | 0.12 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39022 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59977 | 0.31394 | 0.5288 | 0.35998 | 0.26685
PICLORAM | 2060 | 49291LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.0612 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.36752 | PICLORAM | E | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0612 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59977 | 0.31394 | 0.5288 | 0.35998 | 0.26685
PICLORAM | 2060 | 49291LCM29 | 2009-08-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.5288 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.21747 | PICLORAM | E | 0.12 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5288 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59977 | 0.31394 | 0.5288 | 0.35998 | 0.26685
PICLORAM | 2060 | 49291LCM29 | 2009-09-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.26847 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.21977 | PICLORAM | E | 0.12 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26847 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59977 | 0.31394 | 0.5288 | 0.35998 | 0.26685
PICLORAM | 2060 | 49291LCM29 | 2011-01-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.43417 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.19347 | PICLORAM | E | 0.12 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43417 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.60751 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.19259 | PICLORAM | E | 0.12 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60751 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2011-05-06 | 2010-10-01 | 2011-09-30 | ug/L | 0.46139 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.19723 | PICLORAM | E | 0.12 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46139 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2011-06-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.65562 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.48961 | PICLORAM | E | 0.12 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65562 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2011-08-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.6 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.495 | PICLORAM | E | 0.12 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.40404 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.198 | PICLORAM | E | 0.1 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40404 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.49899 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.495 | PICLORAM | E | 0.1 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49899 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2012-02-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.60101 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.198 | PICLORAM | E | 0.1 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60101 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.42424 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.198 | PICLORAM | E | 0.1 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42424 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.52077 | 0.095438 | 0.49899 | 0.16684 | 0.12368
PICLORAM | 2060 | 49291LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0688 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.727 | PICLORAM | E | 0.1 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0688 |  | 1.0688 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.73137 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.2926 | PICLORAM | E | 0.1 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73137 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.73137 |  | 0.73137 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.695 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.2 | PICLORAM | E | 0.1 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.695 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.695 |  | 0.695 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2012-09-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.61 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.2 | PICLORAM | E | 0.1 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.61 |  | 0.61 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.68208 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | PICLORAM | E | 0.12 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68208 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 0.56022 | 0.10871 | 0.52536 | 0.20886 | 0.15482
PICLORAM | 2060 | 49291LCM29 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.47323 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | PICLORAM | E | 0.12 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47323 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 0.56022 | 0.10871 | 0.52536 | 0.20886 | 0.15482
PICLORAM | 2060 | 49291LCM29 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.52536 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | PICLORAM | E | 0.12 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52536 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 0.56022 | 0.10871 | 0.52536 | 0.20886 | 0.15482
PICLORAM | 2060 | 49291LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.81161 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | PICLORAM | . | 0.12 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81162 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2008-06-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.64772 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | PICLORAM | . | 0.12 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64772 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2008-07-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.33028 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | PICLORAM | E | 0.12 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33028 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.53183 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | PICLORAM | E | 0.12 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53183 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2009-05-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.57994 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | PICLORAM | E | 0.12 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57994 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.51873 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | PICLORAM | E | 0.12 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51873 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2009-07-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.4323 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | PICLORAM | E | 0.12 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4323 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.55035 | 0.15402 | 0.53183 | 0.21542 | 0.15969
PICLORAM | 2060 | 49291LCM29 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.768 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.5 | PICLORAM | E | 0.1 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.768 |  | 0.768 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2009-11-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.47539 | Restek | A069890 | Restek A069890: 40 µl | 0.25243 | PICLORAM | E | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47539 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.48624 | 0.015348 | 0.48624 | 0.021705 | 0.01609
PICLORAM | 2060 | 49291LCM29 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.49709 | Restek | A069890 | Restek A069890: 40 µl | 0.2575 | PICLORAM | E | 0.12 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49709 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.48624 | 0.015348 | 0.48624 | 0.021705 | 0.01609
PICLORAM | 2060 | 49291LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.88308 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.727 | PICLORAM | E | 0.1 | 0.642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88308 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.88308 |  | 0.88308 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2014-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.77239 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.2926 | PICLORAM | E | 0.1 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77239 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.77239 |  | 0.77239 | 0 | 0
PICLORAM | 2060 | 49291LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.704 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.5 | PICLORAM | E | 0.1 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.704 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.633 | 0.10041 | 0.633 | 0.142 | 0.10526
PICLORAM | 2060 | 49291LCM29 | 2013-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.562 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.5 | PICLORAM | E | 0.1 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.562 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.633 | 0.10041 | 0.633 | 0.142 | 0.10526
PICLORAM | 2060 | 49291LCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.60417 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.25324 | PICLORAM | E | 0.12 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60417 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.55161 | 0.09384 | 0.59408 | 0.095984 | 0.071152
PICLORAM | 2060 | 49291LCM29 | 2010-05-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.64295 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.25974 | PICLORAM | E | 0.12 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64295 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.55161 | 0.09384 | 0.59408 | 0.095984 | 0.071152
PICLORAM | 2060 | 49291LCM29 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.50819 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.50966 | PICLORAM | E | 0.12 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50819 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.55161 | 0.09384 | 0.59408 | 0.095984 | 0.071152
PICLORAM | 2060 | 49291LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.59408 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.52518 | PICLORAM | E | 0.12 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59408 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.55161 | 0.09384 | 0.59408 | 0.095984 | 0.071152
PICLORAM | 2060 | 49291LCM29 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.40868 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.25937 | PICLORAM | E | 0.12 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40868 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.55161 | 0.09384 | 0.59408 | 0.095984 | 0.071152
PICLORAM | 2060 | 49291LCM29 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.645 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.2 | PICLORAM | E | 0.1 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.645 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.705 | 0.084853 | 0.705 | 0.12 | 0.088955
PICLORAM | 2060 | 49291LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.765 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.2 | PICLORAM | E | 0.1 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.705 | 0.084853 | 0.705 | 0.12 | 0.088955