## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPHAM | 2060 | 49236LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.86648 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.0704 | PROPHAM | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86648 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86648 |  | 0.86648 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2013-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.98864 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.176 | PROPHAM | . | 0.04 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98864 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98864 |  | 0.98864 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.82386 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.0704 | PROPHAM | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82386 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 |  | 1 | 0.82386 |  | 0.82386 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.88636 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.176 | PROPHAM | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88636 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88636 |  | 0.88636 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.86648 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0704 | PROPHAM | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86648 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86648 |  | 0.86648 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2012-11-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.0218 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.505 | PROPHAM | . | 0.04 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0218 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0455 | 0.033605 | 1.0455 | 0.047525 | 0.03523
PROPHAM | 2060 | 49236LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.0693 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 1.01 | PROPHAM | E | 0.04 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0693 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.0455 | 0.033605 | 1.0455 | 0.047525 | 0.03523
PROPHAM | 2060 | 49236LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0149 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.202 | PROPHAM | . | 0.04 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0149 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0149 |  | 1.0149 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2012-08-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.1832 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.202 | PROPHAM | . | 0.04 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1832 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1832 |  | 1.1832 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.98218 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.505 | PROPHAM | . | 0.04 | 0.496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98218 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0208 | 0.054608 | 1.0208 | 0.077228 | 0.057248
PROPHAM | 2060 | 49236LCM29 | 2013-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.0594 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.505 | PROPHAM | . | 0.04 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0594 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0208 | 0.054608 | 1.0208 | 0.077228 | 0.057248
PROPHAM | 2060 | 49236LCM29 | 2009-10-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.72848 | Accu | 209081166 | Accu 209081166: 40 µl | 0.074127 | PROPHAM | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72848 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87505 | 0.15887 | 0.84135 | 0.23586 | 0.17484
PROPHAM | 2060 | 49236LCM29 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.78575 | Accu | 209081166 | Accu 209081166: 40 µl | 0.075087 | PROPHAM | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78575 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87505 | 0.15887 | 0.84135 | 0.23586 | 0.17484
PROPHAM | 2060 | 49236LCM29 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.89694 | Accu | 209081166 | Accu 209081166: 80 µl | 0.14717 | PROPHAM | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89694 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87505 | 0.15887 | 0.84135 | 0.23586 | 0.17484
PROPHAM | 2060 | 49236LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.089 | Accu | 209081166 | Accu 209081166: 40 µl | 0.075297 | PROPHAM | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.089 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87505 | 0.15887 | 0.84135 | 0.23586 | 0.17484
PROPHAM | 2060 | 49236LCM29 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.93609 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.076915 | PROPHAM | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93609 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.92649 | 0.041238 | 0.93609 | 0.026832 | 0.019891
PROPHAM | 2060 | 49236LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.94612 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.078215 | PROPHAM | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94611 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.92649 | 0.041238 | 0.93609 | 0.026832 | 0.019891
PROPHAM | 2060 | 49236LCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.86056 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.077856 | PROPHAM | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86056 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.92649 | 0.041238 | 0.93609 | 0.026832 | 0.019891
PROPHAM | 2060 | 49236LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.97039 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.15458 | PROPHAM | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97039 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.92649 | 0.041238 | 0.93609 | 0.026832 | 0.019891
PROPHAM | 2060 | 49236LCM29 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.91928 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.15447 | PROPHAM | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91928 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.92649 | 0.041238 | 0.93609 | 0.026832 | 0.019891
PROPHAM | 2060 | 49236LCM29 | 2008-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.72526 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.13788 | PROPHAM | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72526 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75818 | 0.14911 | 0.72526 | 0.19877 | 0.14735
PROPHAM | 2060 | 49236LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.86944 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.13572 | PROPHAM | . | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86944 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75818 | 0.14911 | 0.72526 | 0.19877 | 0.14735
PROPHAM | 2060 | 49236LCM29 | 2008-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.67067 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.13419 | PROPHAM | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67067 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75818 | 0.14911 | 0.72526 | 0.19877 | 0.14735
PROPHAM | 2060 | 49236LCM29 | 2008-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.94686 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.13413 | PROPHAM | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94686 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75818 | 0.14911 | 0.72526 | 0.19877 | 0.14735
PROPHAM | 2060 | 49236LCM29 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.5787 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.13306 | PROPHAM | E | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5787 | Crescent 07GG007 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75818 | 0.14911 | 0.72526 | 0.19877 | 0.14735
PROPHAM | 2060 | 49236LCM29 | 2010-11-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.72457 | Crescent | 163162 | Crescent 163162: 40 µl | 0.091089 | PROPHAM | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72457 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2011-02-24 | 2010-10-01 | 2011-09-30 | ug/L | 0.87578 | Crescent | 163162 | Crescent 163162: 40 µl | 0.090205 | PROPHAM | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87578 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.86182 | Crescent | 163162 | Crescent 163162: 100 µl | 0.22975 | PROPHAM | . | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86182 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.83542 | Crescent | 163162 | Crescent 163162: 40 µl | 0.090972 | PROPHAM | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83542 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2011-07-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.85217 | Crescent | 163162 | Crescent 163162: 100 µl | 0.23 | PROPHAM | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85217 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.66304 | Crescent | 163162 | Crescent 163162: 40 µl | 0.092 | PROPHAM | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66304 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2011-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.98913 | Crescent | 163162 | Crescent 163162: 40 µl | 0.092 | PROPHAM | . | 0.04 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98913 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2012-01-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.95652 | Crescent | 163162 | Crescent 163162: 100 µl | 0.23 | PROPHAM | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95652 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.91304 | Crescent | 163162 | Crescent 163162: 40 µl | 0.092 | PROPHAM | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2012-06-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.95652 | Crescent | 163162 | Crescent 163162: 40 µl | 0.092 | PROPHAM | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95652 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8628 | 0.10333 | 0.8688 | 0.1211 | 0.08977
PROPHAM | 2060 | 49236LCM29 | 2008-12-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.96792 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.2025 | PROPHAM | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96792 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94663 | 0.07517 | 0.96404 | 0.090429 | 0.067034
PROPHAM | 2060 | 49236LCM29 | 2008-12-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.053 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.11776 | PROPHAM | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.053 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94663 | 0.07517 | 0.96404 | 0.090429 | 0.067034
PROPHAM | 2060 | 49236LCM29 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.96404 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.11929 | PROPHAM | E | 0.04 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96404 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.94663 | 0.07517 | 0.96404 | 0.090429 | 0.067034
PROPHAM | 2060 | 49236LCM29 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.87073 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.11829 | PROPHAM | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87073 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94663 | 0.07517 | 0.96404 | 0.090429 | 0.067034
PROPHAM | 2060 | 49236LCM29 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.87749 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.19715 | PROPHAM | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87749 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94663 | 0.07517 | 0.96404 | 0.090429 | 0.067034
PROPHAM | 2060 | 49236LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.97554 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | PROPHAM | . | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97554 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.98286 | 0.072433 | 0.97554 | 0.14431 | 0.10697
PROPHAM | 2060 | 49236LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.91437 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | PROPHAM | . | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91437 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.98286 | 0.072433 | 0.97554 | 0.14431 | 0.10697
PROPHAM | 2060 | 49236LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0587 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | PROPHAM | . | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0587 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.98286 | 0.072433 | 0.97554 | 0.14431 | 0.10697
PROPHAM | 2060 | 49236LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.98899 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | PROPHAM | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98899 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2008-06-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.1509 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | PROPHAM | . | 0.04 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1509 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2008-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.92045 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | PROPHAM | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92045 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2009-03-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.67365 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | PROPHAM | . | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67365 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.8034 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | PROPHAM | . | 0.04 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8034 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.7781 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | PROPHAM | . | 0.04 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7781 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2009-07-28 | 2007-10-01 | 2009-09-30 | ug/L | 1.0994 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | PROPHAM | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0994 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.91642 | 0.17541 | 0.92045 | 0.32134 | 0.2382
PROPHAM | 2060 | 49236LCM29 | 2008-12-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.89356 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.11975 | PROPHAM | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89356 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.82359 | 0.12746 | 0.82465 | 0.070776 | 0.052465
PROPHAM | 2060 | 49236LCM29 | 2008-12-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.95821 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.20246 | PROPHAM | . | 0.04 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95821 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.82359 | 0.12746 | 0.82465 | 0.070776 | 0.052465
PROPHAM | 2060 | 49236LCM29 | 2009-04-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.61873 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.12445 | PROPHAM | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61873 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.82359 | 0.12746 | 0.82465 | 0.070776 | 0.052465
PROPHAM | 2060 | 49236LCM29 | 2009-07-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.82279 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.11911 | PROPHAM | . | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82279 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.82359 | 0.12746 | 0.82465 | 0.070776 | 0.052465
PROPHAM | 2060 | 49236LCM29 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.82465 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.19524 | PROPHAM | . | 0.04 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82465 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.82359 | 0.12746 | 0.82465 | 0.070776 | 0.052465
PROPHAM | 2060 | 49236LCM29 | 2011-01-04 | 2010-10-01 | 2011-09-30 | ug/L | 1.0734 | Restek | A075600 | Restek A075600: 40 µl | 0.089437 | PROPHAM | . | 0.04 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0734 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2011-03-23 | 2010-10-01 | 2011-09-30 | ug/L | 1.1364 | Restek | A075600 | Restek A075600: 40 µl | 0.089758 | PROPHAM | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1364 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.91126 | Restek | A075600 | Restek A075600: 100 µl | 0.22716 | PROPHAM | . | 0.04 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91126 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.82584 | Restek | A075600 | Restek A075600: 40 µl | 0.089606 | PROPHAM | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82584 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2011-09-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.96667 | Restek | A075600 | Restek A075600: 40 µl | 0.09 | PROPHAM | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.96444 | Restek | A075600 | Restek A075600: 100 µl | 0.225 | PROPHAM | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96444 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0333 | Restek | A075600 | Restek A075600: 40 µl | 0.09 | PROPHAM | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2012-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.97333 | Restek | A075600 | Restek A075600: 100 µl | 0.225 | PROPHAM | . | 0.04 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2012-03-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Restek | A075600 | Restek A075600: 40 µl | 0.09 | PROPHAM | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2012-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Restek | A075600 | Restek A075600: 40 µl | 0.09 | PROPHAM | . | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.96444 | Restek | A075600 | Restek A075600: 100 µl | 0.225 | PROPHAM | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96444 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96406 | 0.091417 | 0.96444 | 0.14444 | 0.10708
PROPHAM | 2060 | 49236LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.89143 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.175 | PROPHAM | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89143 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89143 |  | 0.89143 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.87143 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.07 | PROPHAM | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87143 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87143 |  | 0.87143 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2013-08-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.85714 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.175 | PROPHAM | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85714 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85714 |  | 0.85714 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2012-09-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.045 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.2 | PROPHAM | . | 0.04 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0575 | 0.017678 | 1.0575 | 0.025 | 0.018532
PROPHAM | 2060 | 49236LCM29 | 2013-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.07 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 1 | PROPHAM | E | 0.04 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 2 | 1.0575 | 0.017678 | 1.0575 | 0.025 | 0.018532
PROPHAM | 2060 | 49236LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 1.096 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.5 | PROPHAM | . | 0.04 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.096 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.066 | 0.042426 | 1.066 | 0.06 | 0.044477
PROPHAM | 2060 | 49236LCM29 | 2013-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.036 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.5 | PROPHAM | . | 0.04 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.066 | 0.042426 | 1.066 | 0.06 | 0.044477
PROPHAM | 2060 | 49236LCM29 | 2012-07-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.024 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.5 | PROPHAM | . | 0.04 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.024 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.024 |  | 1.024 | 0 | 0
PROPHAM | 2060 | 49236LCM29 | 2008-01-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.77616 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.14043 | PROPHAM | . | 0.04 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77616 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90287 | 0.11394 | 0.90229 | 0.14051 | 0.10416
PROPHAM | 2060 | 49236LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.94409 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.13664 | PROPHAM | . | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94409 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90287 | 0.11394 | 0.90229 | 0.14051 | 0.10416
PROPHAM | 2060 | 49236LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.86544 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.1375 | PROPHAM | . | 0.04 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86544 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90287 | 0.11394 | 0.90229 | 0.14051 | 0.10416
PROPHAM | 2060 | 49236LCM29 | 2008-06-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.80358 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.13938 | PROPHAM | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80358 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90287 | 0.11394 | 0.90229 | 0.14051 | 0.10416
PROPHAM | 2060 | 49236LCM29 | 2008-07-24 | 2007-10-01 | 2009-09-30 | ug/L | 1.0888 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.13409 | PROPHAM | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0888 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90287 | 0.11394 | 0.90229 | 0.14051 | 0.10416
PROPHAM | 2060 | 49236LCM29 | 2008-09-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.93914 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.13629 | PROPHAM | . | 0.04 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93914 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90287 | 0.11394 | 0.90229 | 0.14051 | 0.10416