## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-11-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.65833 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.12 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65833 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 |  | 1 | 0.65833 |  | 0.65833 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.76 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.3 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2014-01-16 | 2012-10-01 | 2050-09-30 | ug/L | 0.78642 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.1208 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78642 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78642 |  | 0.78642 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-11-13 | 2012-10-01 | 2050-09-30 | ug/L | 0.788 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.25 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.805 | 0.024042 | 0.805 | 0.034 | 0.025204
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-03-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.822 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 0.5 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.822 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.805 | 0.024042 | 0.805 | 0.034 | 0.025204
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.87 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87 |  | 0.87 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-08-22 | 2011-10-01 | 2012-09-30 | ug/L | 0.55 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.1 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.55 |  | 0.55 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-03-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.816 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.25 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.816 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.844 | 0.039598 | 0.844 | 0.056 | 0.041512
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-05-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.872 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.25 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.844 | 0.039598 | 0.844 | 0.056 | 0.041512
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.6905 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.13903 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6905 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81612 | 0.11266 | 0.82909 | 0.20298 | 0.15047
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.82909 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.13871 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82909 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81612 | 0.11266 | 0.82909 | 0.20298 | 0.15047
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.91436 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.13671 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91436 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81612 | 0.11266 | 0.82909 | 0.20298 | 0.15047
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-07-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.93527 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.13579 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93527 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81612 | 0.11266 | 0.82909 | 0.20298 | 0.15047
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-09-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.71138 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.13635 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71138 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81612 | 0.11266 | 0.82909 | 0.20298 | 0.15047
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-09-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.49669 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.1208 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49669 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.49669 |  | 0.49669 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.8087 | Accu | B7070230 | Accu B7070230: 50 µl | 0.13849 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8087 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86696 | 0.057517 | 0.8711 | 0.088067 | 0.065283
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.95084 | Accu | B7070230 | Accu B7070230: 50 µl | 0.13777 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95084 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86696 | 0.057517 | 0.8711 | 0.088067 | 0.065283
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-06-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.89487 | Accu | B7070230 | Accu B7070230: 50 µl | 0.13745 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89487 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86696 | 0.057517 | 0.8711 | 0.088067 | 0.065283
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.84734 | Accu | B7070230 | Accu B7070230: 50 µl | 0.13218 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84734 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86696 | 0.057517 | 0.8711 | 0.088067 | 0.065283
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-09-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.80325 | Accu | B7070230 | Accu B7070230: 50 µl | 0.13321 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80325 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86696 | 0.057517 | 0.8711 | 0.088067 | 0.065283
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-09-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.89677 | Accu | B7070230 | Accu B7070230: 50 µl | 0.1327 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89677 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86696 | 0.057517 | 0.8711 | 0.088067 | 0.065283
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-11-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.69536 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.302 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69536 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69536 |  | 0.69536 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-11-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.62919 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.071521 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62919 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64738 | 0.20473 | 0.7046 | 0.12082 | 0.089565
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.7046 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.073801 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7046 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64738 | 0.20473 | 0.7046 | 0.12082 | 0.089565
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.75001 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.074666 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75001 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64738 | 0.20473 | 0.7046 | 0.12082 | 0.089565
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-07-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.3087 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.071266 | PROPICONAZOLE_(TILT) | E | 0.04 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3087 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.64738 | 0.20473 | 0.7046 | 0.12082 | 0.089565
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-10-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.8444 | Crescent | 08LL073 | Crescent 08LL073: 80 µl | 0.1433 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8444 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64738 | 0.20473 | 0.7046 | 0.12082 | 0.089565
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-11-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.89638 | Crescent | 163162 | Crescent 163162: 40 µl | 0.079208 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89638 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-02-24 | 2010-10-01 | 2011-09-30 | ug/L | 1.0581 | Crescent | 163162 | Crescent 163162: 40 µl | 0.078439 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0581 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.84092 | Crescent | 163162 | Crescent 163162: 100 µl | 0.19978 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84092 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.80904 | Crescent | 163162 | Crescent 163162: 40 µl | 0.079106 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80904 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-07-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.715 | Crescent | 163162 | Crescent 163162: 100 µl | 0.2 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.525 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.525 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-10-31 | 2011-10-01 | 2012-09-30 | ug/L | 0.8625 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8625 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-01-05 | 2011-10-01 | 2012-09-30 | ug/L | 0.995 | Crescent | 163162 | Crescent 163162: 100 µl | 0.2 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-03-06 | 2011-10-01 | 2012-09-30 | ug/L | 0.875 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-06-20 | 2011-10-01 | 2012-09-30 | ug/L | 0.7625 | Crescent | 163162 | Crescent 163162: 40 µl | 0.08 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83395 | 0.14831 | 0.85171 | 0.13388 | 0.09924
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-12-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.2765 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.12221 | PROPICONAZOLE_(TILT) | E | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2765 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89871 | 0.22771 | 0.82361 | 0.15822 | 0.11729
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-12-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.9286 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.071074 | PROPICONAZOLE_(TILT) | E | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9286 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89871 | 0.22771 | 0.82361 | 0.15822 | 0.11729
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.69449 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.071995 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69449 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.89871 | 0.22771 | 0.82361 | 0.15822 | 0.11729
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.77038 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.071393 | PROPICONAZOLE_(TILT) | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77038 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89871 | 0.22771 | 0.82361 | 0.15822 | 0.11729
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.82361 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.11899 | PROPICONAZOLE_(TILT) | E | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82361 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89871 | 0.22771 | 0.82361 | 0.15822 | 0.11729
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-09-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.39333 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.3 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39333 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.39333 |  | 0.39333 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-06-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.71667 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.12 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71667 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71667 |  | 0.71667 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-12-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.94702 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.14466 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94702 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89327 | 0.12154 | 0.87363 | 0.19989 | 0.14817
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-05-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0394 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.074082 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0394 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89327 | 0.12154 | 0.87363 | 0.19989 | 0.14817
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-07-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.80025 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.14995 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80025 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89327 | 0.12154 | 0.87363 | 0.19989 | 0.14817
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.7864 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.072482 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7864 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89327 | 0.12154 | 0.87363 | 0.19989 | 0.14817
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.98347 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98347 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.8975 | 0.13834 | 0.97112 | 0.24556 | 0.18203
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.73791 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73791 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.8975 | 0.13834 | 0.97112 | 0.24556 | 0.18203
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.97112 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97112 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.8975 | 0.13834 | 0.97112 | 0.24556 | 0.18203
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.89224 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89224 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-06-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.76549 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76549 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.84465 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84465 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-03-26 | 2007-10-01 | 2009-09-30 | ug/L | 1.3524 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3524 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.84596 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84596 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.85915 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85915 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-07-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.6618 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6618 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.88881 | 0.21845 | 0.84596 | 0.12675 | 0.093959
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-12-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.2729 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.07306 | PROPICONAZOLE_(TILT) | E | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2729 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 0.95363 | 0.25851 | 1.0536 | 0.31742 | 0.2353
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2008-12-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.0605 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.12353 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0605 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.95363 | 0.25851 | 1.0536 | 0.31742 | 0.2353
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-04-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0536 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.075929 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0536 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.95363 | 0.25851 | 1.0536 | 0.31742 | 0.2353
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-07-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.74308 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.072671 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74308 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.95363 | 0.25851 | 1.0536 | 0.31742 | 0.2353
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.63802 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.11912 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63802 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.95363 | 0.25851 | 1.0536 | 0.31742 | 0.2353
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-01-04 | 2010-10-01 | 2011-09-30 | ug/L | 0.92627 | Restek | A075600 | Restek A075600: 40 µl | 0.08097 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92627 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-03-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.94757 | Restek | A075600 | Restek A075600: 40 µl | 0.081261 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94757 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.86553 | Restek | A075600 | Restek A075600: 100 µl | 0.20565 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86553 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.73962 | Restek | A075600 | Restek A075600: 40 µl | 0.081123 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73962 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-09-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.7241 | Restek | A075600 | Restek A075600: 40 µl | 0.08148 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7241 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.97202 | Restek | A075600 | Restek A075600: 100 µl | 0.2037 | PROPICONAZOLE_(TILT) | . | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97202 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2011-11-29 | 2011-10-01 | 2012-09-30 | ug/L | 0.89593 | Restek | A075600 | Restek A075600: 40 µl | 0.08148 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89593 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-02-13 | 2011-10-01 | 2012-09-30 | ug/L | 0.80511 | Restek | A075600 | Restek A075600: 100 µl | 0.2037 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80511 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-03-26 | 2011-10-01 | 2012-09-30 | ug/L | 0.89593 | Restek | A075600 | Restek A075600: 40 µl | 0.08148 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89593 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-05-02 | 2011-10-01 | 2012-09-30 | ug/L | 0.65047 | Restek | A075600 | Restek A075600: 40 µl | 0.08148 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65047 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-05-22 | 2011-10-01 | 2012-09-30 | ug/L | 0.7462 | Restek | A075600 | Restek A075600: 100 µl | 0.2037 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7462 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83352 | 0.10599 | 0.86553 | 0.18665 | 0.13836
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-08-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.51656 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.302 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51656 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.51656 |  | 0.51656 | 0 | 0
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-09-13 | 2011-10-01 | 2012-09-30 | ug/L | 0.61 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | PROPICONAZOLE_(TILT) | . | 0.038 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.788 | 0.25173 | 0.788 | 0.356 | 0.2639
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-01-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.966 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.5 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.966 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.788 | 0.25173 | 0.788 | 0.356 | 0.2639
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-12-21 | 2012-10-01 | 2050-09-30 | ug/L | 0.848 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.096167 | 0.78 | 0.136 | 0.10082
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2013-04-10 | 2012-10-01 | 2050-09-30 | ug/L | 0.712 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | PROPICONAZOLE_(TILT) | . | 0.06 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.712 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.096167 | 0.78 | 0.136 | 0.10082
PROPICONAZOLE (TILT) | 2060 | 50471LCM29 | 2012-07-18 | 2011-10-01 | 2012-09-30 | ug/L | 0.724 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.25 | PROPICONAZOLE_(TILT) | E | 0.038 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.724 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.724 |  | 0.724 | 0 | 0