## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEBUTHIURON | 2060 | 82670LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 1.2824 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.085 | TEBUTHIURON | . | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2824 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 |  | 1 | 1.2824 |  | 1.2824 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2013-06-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.2612 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.2125 | TEBUTHIURON | . | 0.06 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2612 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2612 |  | 1.2612 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 1.1385 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0852 | TEBUTHIURON | . | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1385 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1385 |  | 1.1385 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.0547 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.2996 | TEBUTHIURON | . | 0.06 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0547 |  | 1.0547 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.1718 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.751 | TEBUTHIURON | . | 0.06 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1718 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0479 | 0.17513 | 1.0479 | 0.24767 | 0.1836
TEBUTHIURON | 2060 | 82670LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.9241 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.751 | TEBUTHIURON | . | 0.06 | 0.694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9241 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0479 | 0.17513 | 1.0479 | 0.24767 | 0.1836
TEBUTHIURON | 2060 | 82670LCM29 | 2011-02-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.6049 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.073524 | TEBUTHIURON | . | 0.06 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6049 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2011-02-25 | 2010-10-01 | 2099-09-30 | ug/L | 1.6181 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.072923 | TEBUTHIURON | . | 0.06 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6181 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2011-04-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.2234 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.072749 | TEBUTHIURON | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2234 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.4156 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.18014 | TEBUTHIURON | . | 0.06 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4156 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 1.3388 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0732 | TEBUTHIURON | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3388 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2011-09-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.3115 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.183 | TEBUTHIURON | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3115 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2011-11-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.5437 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0732 | TEBUTHIURON | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5437 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.3333 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.183 | TEBUTHIURON | . | 0.06 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3333 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2012-04-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.4071 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0732 | TEBUTHIURON | . | 0.06 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4071 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2012-05-03 | 2010-10-01 | 2099-09-30 | ug/L | 1.4754 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0732 | TEBUTHIURON | . | 0.06 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4754 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.4272 | 0.13168 | 1.4114 | 0.21038 | 0.15595
TEBUTHIURON | 2060 | 82670LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 1.0446 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.0852 | TEBUTHIURON | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0446 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0446 |  | 1.0446 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2013-11-27 | 2010-10-01 | 2099-09-30 | ug/L | 1.1549 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.213 | TEBUTHIURON | . | 0.06 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1549 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1549 |  | 1.1549 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.3005 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.070745 | TEBUTHIURON | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3005 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2011-03-07 | 2010-10-01 | 2099-09-30 | ug/L | 1.5478 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.070421 | TEBUTHIURON | . | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5478 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2011-05-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.2895 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.072119 | TEBUTHIURON | . | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2895 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2011-06-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.3741 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.17903 | TEBUTHIURON | . | 0.06 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3741 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2011-08-11 | 2010-10-01 | 2099-09-30 | ug/L | 1.3978 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.181 | TEBUTHIURON | . | 0.06 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3978 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2011-10-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.2983 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.0724 | TEBUTHIURON | . | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2983 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.7514 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.181 | TEBUTHIURON | . | 0.06 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7514 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2012-02-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.2155 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.0724 | TEBUTHIURON | . | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2155 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.2707 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.0724 | TEBUTHIURON | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2707 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.3828 | 0.16829 | 1.3005 | 0.10825 | 0.080244
TEBUTHIURON | 2060 | 82670LCM29 | 2008-02-12 | 2007-01-01 | 2008-09-30 | ug/L | 0.79797 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.20427 | TEBUTHIURON | . | 0.04 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79797 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1514 | 0.23136 | 1.1524 | 0.22988 | 0.17041
TEBUTHIURON | 2060 | 82670LCM29 | 2008-04-04 | 2007-01-01 | 2008-09-30 | ug/L | 1.0942 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.20107 | TEBUTHIURON | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0942 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1514 | 0.23136 | 1.1524 | 0.22988 | 0.17041
TEBUTHIURON | 2060 | 82670LCM29 | 2008-05-16 | 2007-01-01 | 2008-09-30 | ug/L | 1.3883 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19881 | TEBUTHIURON | . | 0.04 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3883 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1514 | 0.23136 | 1.1524 | 0.22988 | 0.17041
TEBUTHIURON | 2060 | 82670LCM29 | 2008-07-08 | 2007-01-01 | 2008-09-30 | ug/L | 1.1524 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19871 | TEBUTHIURON | . | 0.04 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1524 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1514 | 0.23136 | 1.1524 | 0.22988 | 0.17041
TEBUTHIURON | 2060 | 82670LCM29 | 2008-08-27 | 2007-01-01 | 2008-09-30 | ug/L | 1.3241 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19712 | TEBUTHIURON | . | 0.04 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3241 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1514 | 0.23136 | 1.1524 | 0.22988 | 0.17041
TEBUTHIURON | 2060 | 82670LCM29 | 2008-12-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.3459 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.17386 | TEBUTHIURON | . | 0.06 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3459 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3498 | 0.11814 | 1.3459 | 0.06724 | 0.049844
TEBUTHIURON | 2060 | 82670LCM29 | 2008-12-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.2066 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.10111 | TEBUTHIURON | . | 0.06 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2066 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3498 | 0.11814 | 1.3459 | 0.06724 | 0.049844
TEBUTHIURON | 2060 | 82670LCM29 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.3669 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.10242 | TEBUTHIURON | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3669 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3498 | 0.11814 | 1.3459 | 0.06724 | 0.049844
TEBUTHIURON | 2060 | 82670LCM29 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.2997 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.10156 | TEBUTHIURON | . | 0.06 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2997 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3498 | 0.11814 | 1.3459 | 0.06724 | 0.049844
TEBUTHIURON | 2060 | 82670LCM29 | 2009-09-22 | 2008-10-01 | 2009-09-30 | ug/L | 1.5301 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.16927 | TEBUTHIURON | . | 0.06 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5301 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3498 | 0.11814 | 1.3459 | 0.06724 | 0.049844
TEBUTHIURON | 2060 | 82670LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 1.0165 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.2125 | TEBUTHIURON | . | 0.06 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0165 |  | 1.0165 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.1412 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.085 | TEBUTHIURON | . | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1412 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1412 |  | 1.1412 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2012-08-07 | 2010-10-01 | 2099-09-30 | ug/L | 1.2216 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.2996 | TEBUTHIURON | . | 0.06 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2216 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2216 |  | 1.2216 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2012-09-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.2583 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.2996 | TEBUTHIURON | . | 0.06 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2583 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2583 |  | 1.2583 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.5307 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | TEBUTHIURON | . | 0.06 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5307 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.5275 | 0.066166 | 1.5307 | 0.13221 | 0.098009
TEBUTHIURON | 2060 | 82670LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.4598 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | TEBUTHIURON | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4598 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.5275 | 0.066166 | 1.5307 | 0.13221 | 0.098009
TEBUTHIURON | 2060 | 82670LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.592 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | TEBUTHIURON | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.592 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.5275 | 0.066166 | 1.5307 | 0.13221 | 0.098009
TEBUTHIURON | 2060 | 82670LCM29 | 2008-04-30 | 2007-01-01 | 2008-09-30 | ug/L | 1.1717 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | TEBUTHIURON | . | 0.04 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1717 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2008-06-19 | 2007-01-01 | 2008-09-30 | ug/L | 1.4025 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | TEBUTHIURON | . | 0.04 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4025 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2008-07-30 | 2007-01-01 | 2008-09-30 | ug/L | 1.0666 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | TEBUTHIURON | . | 0.04 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0666 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 1.5195 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | TEBUTHIURON | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5195 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.5642 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | TEBUTHIURON | . | 0.06 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5642 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.6373 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | TEBUTHIURON | . | 0.06 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6373 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.2756 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | TEBUTHIURON | . | 0.06 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2756 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.3768 | 0.21311 | 1.4025 | 0.3925 | 0.29096
TEBUTHIURON | 2060 | 82670LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2769 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.10338 | TEBUTHIURON | . | 0.06 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2769 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.4076 | 0.18113 | 1.3172 | 0.1772 | 0.13136
TEBUTHIURON | 2060 | 82670LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.2816 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.17478 | TEBUTHIURON | . | 0.06 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2816 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.4076 | 0.18113 | 1.3172 | 0.1772 | 0.13136
TEBUTHIURON | 2060 | 82670LCM29 | 2009-04-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.7033 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.10744 | TEBUTHIURON | . | 0.06 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7033 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.4076 | 0.18113 | 1.3172 | 0.1772 | 0.13136
TEBUTHIURON | 2060 | 82670LCM29 | 2009-07-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.4588 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.10282 | TEBUTHIURON | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4588 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.4076 | 0.18113 | 1.3172 | 0.1772 | 0.13136
TEBUTHIURON | 2060 | 82670LCM29 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.3172 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.16854 | TEBUTHIURON | . | 0.06 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3172 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.4076 | 0.18113 | 1.3172 | 0.1772 | 0.13136
TEBUTHIURON | 2060 | 82670LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.4419 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.749 | TEBUTHIURON | E | 0.06 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4419 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 1 | 1.4419 |  | 1.4419 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2009-11-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.3572 | Restek | A069890 | Restek A069890: 40 µl | 0.11641 | TEBUTHIURON | . | 0.06 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3572 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3971 | 0.15528 | 1.3602 | 0.18587 | 0.13779
TEBUTHIURON | 2060 | 82670LCM29 | 2010-04-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.3632 | Restek | A069890 | Restek A069890: 40 µl | 0.11884 | TEBUTHIURON | . | 0.06 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3632 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3971 | 0.15528 | 1.3602 | 0.18587 | 0.13779
TEBUTHIURON | 2060 | 82670LCM29 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.2511 | Restek | A069890 | Restek A069890: 80 µl | 0.24299 | TEBUTHIURON | . | 0.06 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2511 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3971 | 0.15528 | 1.3602 | 0.18587 | 0.13779
TEBUTHIURON | 2060 | 82670LCM29 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.6168 | Restek | A069890 | Restek A069890: 40 µl | 0.11875 | TEBUTHIURON | . | 0.06 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6168 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3971 | 0.15528 | 1.3602 | 0.18587 | 0.13779
TEBUTHIURON | 2060 | 82670LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 1.1268 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.213 | TEBUTHIURON | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1268 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1268 |  | 1.1268 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.265 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.2996 | TEBUTHIURON | . | 0.06 | 0.379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.265 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1599 | 0.14869 | 1.1599 | 0.21028 | 0.15588
TEBUTHIURON | 2060 | 82670LCM29 | 2013-01-19 | 2010-10-01 | 2099-09-30 | ug/L | 1.0547 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 1.498 | TEBUTHIURON | E | 0.06 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 2 | 1.1599 | 0.14869 | 1.1599 | 0.21028 | 0.15588
TEBUTHIURON | 2060 | 82670LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.4647 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.751 | TEBUTHIURON | E | 0.06 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4647 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.4647 |  | 1.4647 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.9376 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.11871 | TEBUTHIURON | E | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9376 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.6015 | 0.20718 | 1.5195 | 0.15226 | 0.11287
TEBUTHIURON | 2060 | 82670LCM29 | 2010-05-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.4045 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.12175 | TEBUTHIURON | . | 0.06 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4045 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.6015 | 0.20718 | 1.5195 | 0.15226 | 0.11287
TEBUTHIURON | 2060 | 82670LCM29 | 2010-06-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.5195 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.2389 | TEBUTHIURON | . | 0.06 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5195 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.6015 | 0.20718 | 1.5195 | 0.15226 | 0.11287
TEBUTHIURON | 2060 | 82670LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 1.6492 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.24618 | TEBUTHIURON | . | 0.06 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6492 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.6015 | 0.20718 | 1.5195 | 0.15226 | 0.11287
TEBUTHIURON | 2060 | 82670LCM29 | 2010-09-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.4969 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.12158 | TEBUTHIURON | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.497 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.6015 | 0.20718 | 1.5195 | 0.15226 | 0.11287
TEBUTHIURON | 2060 | 82670LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.2184 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.3004 | TEBUTHIURON | . | 0.06 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2184 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1069 | 0.15771 | 1.1069 | 0.22304 | 0.16533
TEBUTHIURON | 2060 | 82670LCM29 | 2013-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.99534 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.3004 | TEBUTHIURON | . | 0.06 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99534 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1069 | 0.15771 | 1.1069 | 0.22304 | 0.16533
TEBUTHIURON | 2060 | 82670LCM29 | 2012-07-09 | 2010-10-01 | 2099-09-30 | ug/L | 0.93875 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.3004 | TEBUTHIURON | . | 0.06 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93875 | Supelco LB92941 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93875 |  | 0.93875 | 0 | 0
TEBUTHIURON | 2060 | 82670LCM29 | 2008-01-22 | 2007-01-01 | 2008-09-30 | ug/L | 0.98475 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.21325 | TEBUTHIURON | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98475 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1727 | 0.10182 | 1.188 | 0.076583 | 0.05677
TEBUTHIURON | 2060 | 82670LCM29 | 2008-04-04 | 2007-01-01 | 2008-09-30 | ug/L | 1.176 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20749 | TEBUTHIURON | . | 0.04 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.176 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1727 | 0.10182 | 1.188 | 0.076583 | 0.05677
TEBUTHIURON | 2060 | 82670LCM29 | 2008-04-30 | 2007-01-01 | 2008-09-30 | ug/L | 1.2356 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.2088 | TEBUTHIURON | . | 0.04 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2356 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1727 | 0.10182 | 1.188 | 0.076583 | 0.05677
TEBUTHIURON | 2060 | 82670LCM29 | 2008-06-18 | 2007-01-01 | 2008-09-30 | ug/L | 1.2001 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.21165 | TEBUTHIURON | . | 0.04 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2001 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1727 | 0.10182 | 1.188 | 0.076583 | 0.05677
TEBUTHIURON | 2060 | 82670LCM29 | 2008-07-24 | 2007-01-01 | 2008-09-30 | ug/L | 1.159 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20362 | TEBUTHIURON | . | 0.04 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.159 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1727 | 0.10182 | 1.188 | 0.076583 | 0.05677
TEBUTHIURON | 2060 | 82670LCM29 | 2008-09-09 | 2007-01-01 | 2008-09-30 | ug/L | 1.2804 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20697 | TEBUTHIURON | . | 0.04 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2804 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1727 | 0.10182 | 1.188 | 0.076583 | 0.05677