## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.78603 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.0025 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78603 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.78603 |  | 0.78603 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.765 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.765 |  | 0.765 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.75198 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.008 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75198 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75198 |  | 0.75198 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.75595 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.504 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75595 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75595 |  | 0.75595 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.65966 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.33502 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65966 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.70469 | 0.05825 | 0.68393 | 0.11081 | 0.082144
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.68393 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.67405 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68393 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.70469 | 0.05825 | 0.68393 | 0.11081 | 0.082144
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.77047 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.17262 | 1,4-DICHLOROBENZENE | E | 0.2 | 0.133 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77047 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.70469 | 0.05825 | 0.68393 | 0.11081 | 0.082144
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.83582 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.201 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83582 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.83582 |  | 0.83582 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.648 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.648 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.722 | 0.10465 | 0.722 | 0.148 | 0.10971
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.796 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.722 | 0.10465 | 0.722 | 0.148 | 0.10971
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.80597 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.201 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80597 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.80597 |  | 0.80597 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.768 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.768 |  | 0.768 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.76587 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.504 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76587 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76587 |  | 0.76587 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.77 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77 |  | 0.77 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.72769 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.17178 | 1,4-DICHLOROBENZENE | E | 0.2 | 0.125 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72769 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.68029 | 0.090836 | 0.67812 | 0.14912 | 0.11054
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.62854 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.33729 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62854 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.68029 | 0.090836 | 0.67812 | 0.14912 | 0.11054
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.78201 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.69181 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78201 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.68029 | 0.090836 | 0.67812 | 0.14912 | 0.11054
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.58292 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.34825 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58292 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.68029 | 0.090836 | 0.67812 | 0.14912 | 0.11054
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.64475 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64475 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.7099 | 0.092144 | 0.7099 | 0.13031 | 0.096598
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.77506 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | 1,4-DICHLOROBENZENE | . | 0.2 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77506 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.7099 | 0.092144 | 0.7099 | 0.13031 | 0.096598
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.88856 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88856 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.89506 | 0.009197 | 0.89506 | 0.013007 | 0.0096416
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.90156 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90156 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.89506 | 0.009197 | 0.89506 | 0.013007 | 0.0096416
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.94444 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.252 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81548 | 0.18239 | 0.81548 | 0.25794 | 0.19121
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.68651 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.252 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68651 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81548 | 0.18239 | 0.81548 | 0.25794 | 0.19121
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.81692 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.005 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81692 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.81692 |  | 0.81692 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.835 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.835 |  | 0.835 | 0 | 0
1,4-DICHLOROBENZENE | 4433 | 34571GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.723 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.08 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.723 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.723 |  | 0.723 | 0 | 0