## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.93 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93 |  | 0.93 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.70657 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.82653 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70657 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.0033 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.3329 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.72892 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.332 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72892 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.96386 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.328 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96386 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.91265 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.332 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91265 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.9488 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.328 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9488 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.92289 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.83 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92289 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.85843 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.332 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85843 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.90361 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.83 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90361 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0316 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.328 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.89807 | 0.10725 | 0.91777 | 0.10542 | 0.078148
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.90541 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90541 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.90541 |  | 0.90541 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.93514 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.185 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93514 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93514 |  | 0.93514 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.83784 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83784 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83784 |  | 0.83784 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0216 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.185 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0216 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0216 |  | 1.0216 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82 |  | 0.82 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.87333 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87333 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87333 |  | 0.87333 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.83 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83 |  | 0.83 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.65731 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65731 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71618 | 0.083262 | 0.71618 | 0.11775 | 0.087287
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.77506 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77506 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71618 | 0.083262 | 0.71618 | 0.11775 | 0.087287
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0722 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0908 | 0.02627 | 1.0908 | 0.037151 | 0.02754
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1094 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1094 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0908 | 0.02627 | 1.0908 | 0.037151 | 0.02754
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.74118 | Restek | A070024 | Restek A070024: 20 µl | 0.13762 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.102 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74118 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.69908 | 0.079083 | 0.73506 | 0.10835 | 0.080316
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.63283 | Restek | A070024 | Restek A070024: 40 µl | 0.28286 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63283 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.69908 | 0.079083 | 0.73506 | 0.10835 | 0.080316
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.59964 | Restek | A070024 | Restek A070024: 80 µl | 0.552 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59964 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.69908 | 0.079083 | 0.73506 | 0.10835 | 0.080316
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.78667 | Restek | A070024 | Restek A070024: 20 µl | 0.1411 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.111 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78667 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.69908 | 0.079083 | 0.73506 | 0.10835 | 0.080316
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.73506 | Restek | A070024 | Restek A070024: 40 µl | 0.27481 | 1-METHYLNAPHTHALENE | . | 0.2 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73506 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69908 | 0.079083 | 0.73506 | 0.10835 | 0.080316
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.06 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92 | 0.19799 | 0.92 | 0.28 | 0.20756
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92 | 0.19799 | 0.92 | 0.28 | 0.20756
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.83167 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.6 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83167 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8075 | 0.034177 | 0.8075 | 0.048333 | 0.035829
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.78333 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78333 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8075 | 0.034177 | 0.8075 | 0.048333 | 0.035829
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.85676 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.37 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85676 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.85676 |  | 0.85676 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0405 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.074 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0405 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0405 |  | 1.0405 | 0 | 0
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.62816 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.34068 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62816 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.97512 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3415 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97512 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.95164 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.3556 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95164 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.84895 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.3664 | 1-METHYLNAPHTHALENE | . | 0.04 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84895 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.88993 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3416 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88993 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.94145 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.854 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94145 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.90164 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3416 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90164 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.99824 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3416 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99824 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89189 | 0.11696 | 0.92155 | 0.09394 | 0.069637
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.82675 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.28062 | 1-METHYLNAPHTHALENE | . | 0.2 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82675 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71212 | 0.081421 | 0.6912 | 0.11067 | 0.082041
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.67423 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.13645 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.092 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.67423 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.71212 | 0.081421 | 0.6912 | 0.11067 | 0.082041
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.63934 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.28467 | 1-METHYLNAPHTHALENE | E | 0.2 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63934 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.71212 | 0.081421 | 0.6912 | 0.11067 | 0.082041
1-METHYLNAPHTHALENE | 4433 | 81696GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.70817 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.58743 | 1-METHYLNAPHTHALENE | . | 0.2 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70817 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71212 | 0.081421 | 0.6912 | 0.11067 | 0.082041