## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.753 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24303 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.753 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.0825 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.59676 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0825 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.85694 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.23455 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85694 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.91101 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.59934 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91101 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.8459 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2388 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8459 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0155 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9552 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0155 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.77052 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2388 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77052 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0318 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.597 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0318 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0595 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2388 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0595 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.89782 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.597 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89782 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92245 | 0.11912 | 0.90441 | 0.18593 | 0.13783
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.89 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89 |  | 0.89 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.71851 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.23382 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71851 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.83659 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.23189 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83659 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.83231 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.94076 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83231 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.67456 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5915 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67456 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.86221 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2366 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86221 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54776 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5915 | 2-METHYLNAPHTHALENE | E | 0.04 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54776 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.87384 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9464 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87384 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8115 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2366 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8115 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84869 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.5915 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84869 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.80938 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9464 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80938 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78154 | 0.10376 | 0.8219 | 0.13018 | 0.096502
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.56463 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.36307 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56463 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.6587 | 0.084193 | 0.68448 | 0.16236 | 0.12035
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.68448 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.73048 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68448 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.6587 | 0.084193 | 0.68448 | 0.16236 | 0.12035
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.72699 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18707 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.136 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72699 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.6587 | 0.084193 | 0.68448 | 0.16236 | 0.12035
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.15 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.97333 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.15 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97333 |  | 0.97333 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.771 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.771 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.771 |  | 0.771 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.83 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83 |  | 0.83 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.759 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.759 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.759 |  | 0.759 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.872 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.872 |  | 0.872 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.7106 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.18576 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.132 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7106 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.64672 | 0.083666 | 0.64474 | 0.14431 | 0.10698
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.57027 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.36474 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57027 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64672 | 0.083666 | 0.64474 | 0.14431 | 0.10698
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72716 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.74811 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72716 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64672 | 0.083666 | 0.64474 | 0.14431 | 0.10698
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.57887 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.37659 | 2-METHYLNAPHTHALENE | . | 0.2 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57887 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64672 | 0.083666 | 0.64474 | 0.14431 | 0.10698
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.68243 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68243 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.74515 | 0.088698 | 0.74515 | 0.12544 | 0.092985
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.80786 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 2-METHYLNAPHTHALENE | E | 0.2 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80786 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.74515 | 0.088698 | 0.74515 | 0.12544 | 0.092985
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0474 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.069 | 0.030562 | 1.069 | 0.043221 | 0.03204
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0906 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0906 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.069 | 0.030562 | 1.069 | 0.043221 | 0.03204
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.022 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.889 | 0.18809 | 0.889 | 0.266 | 0.19718
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.756 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.756 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.889 | 0.18809 | 0.889 | 0.266 | 0.19718
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 2-METHYLNAPHTHALENE | . | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7765 | 0.019092 | 0.7765 | 0.027 | 0.020015
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.763 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.763 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7765 | 0.019092 | 0.7765 | 0.027 | 0.020015
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.3 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
2-METHYLNAPHTHALENE | 4433 | 30194GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0333 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.06 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0333 |  | 1.0333 | 0 | 0