## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.292 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.292 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.292 |  | 0.292 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.17806 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 3.92 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17806 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.17806 |  | 0.17806 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.27664 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.488 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27664 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.27664 |  | 0.27664 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.080972 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 4.94 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.080972 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.080972 |  | 0.080972 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.11633 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.98 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11633 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.18316 | 0.094521 | 0.18316 | 0.13367 | 0.099091
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.25 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.98 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.18316 | 0.094521 | 0.18316 | 0.13367 | 0.099091
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.23827 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 1.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23827 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.23827 |  | 0.23827 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.1841 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.1699 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1841 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.07826 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.8878 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.07826 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.20069 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.88 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20069 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.14323 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.52 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14323 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.10451 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.88 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10451 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.079254 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.52 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.913 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.079253 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.11111 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.2 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11111 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.1191 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.88 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1191 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.087083 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.2 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.087083 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.10851 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.52 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10851 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.12159 | 0.04226 | 0.10981 | 0.056146 | 0.04162
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.48078 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 2.2255 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48078 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.27531 | 0.18765 | 0.23212 | 0.36776 | 0.27262
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.23212 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.54714 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 0.127 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.23212 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.27531 | 0.18765 | 0.23212 | 0.36776 | 0.27262
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.11302 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.1237 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 0.127 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.11302 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.27531 | 0.18765 | 0.23212 | 0.36776 | 0.27262
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.20082 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.488 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20082 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.20082 |  | 0.20082 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.216 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.25 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.216 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.216 |  | 0.216 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.25306 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.98 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25306 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.25306 |  | 0.25306 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.148 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.148 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.148 |  | 0.148 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.20619 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8217 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20619 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.29789 | 0.12967 | 0.29789 | 0.18339 | 0.13594
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.38958 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.9016 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 1.6 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38958 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.29789 | 0.12967 | 0.29789 | 0.18339 | 0.13594
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.40643 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2232 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40643 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.48153 | 0.10622 | 0.48153 | 0.15021 | 0.11135
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.55664 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 5.12 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55664 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.48153 | 0.10622 | 0.48153 | 0.15021 | 0.11135
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.2065 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2065 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.19575 | 0.015203 | 0.19575 | 0.0215 | 0.015938
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.185 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.185 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.19575 | 0.015203 | 0.19575 | 0.0215 | 0.015938
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.1435 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1435 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.1435 |  | 0.1435 | 0 | 0
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.084349 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.952 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.084349 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.11287 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.9591 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11287 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.29627 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.746 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 3.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29627 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.062331 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.84 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.062331 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.089865 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.089865 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.069459 | Supelco | LB77171 | Supelco LB77171: 50 µl | 7.4 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.069459 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.18074 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18074 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.16014 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.96 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16014 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.132 | 0.078676 | 0.10137 | 0.093535 | 0.069337
3,4-DICHLOROPHENYL ISOCYANATE | 4433 | 63145GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.242 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1 | 3,4-DICHLOROPHENYL_ISOCYANATE | E | 0.32 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.242 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.242 |  | 0.242 | 0 | 0