## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.23274 | Accu | 209081217 | Accu 209081217: 40 µl | 4.2752 | 3-BETA-COPROSTANOL | E | 1.6 | 0.995 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23274 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.30623 | 0.10393 | 0.30623 | 0.14698 | 0.10895
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.37972 | Accu | 209081217 | Accu 209081217: 80 µl | 7.9533 | 3-BETA-COPROSTANOL | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37972 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.30623 | 0.10393 | 0.30623 | 0.14698 | 0.10895
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.48121 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 3.512 | 3-BETA-COPROSTANOL | E | 1.6 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48121 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.48121 |  | 0.48121 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.61237 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 7.92 | 3-BETA-COPROSTANOL | E | 1.6 | 4.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61237 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.61237 |  | 0.61237 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.50578 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3.46 | 3-BETA-COPROSTANOL | E | 1.6 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50578 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.50578 |  | 0.50578 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.27998 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 34.86 | 3-BETA-COPROSTANOL | E | 1.6 | 9.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27998 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.27998 |  | 0.27998 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.57576 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.98 | 3-BETA-COPROSTANOL | E | 1.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57576 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.66414 | 0.12499 | 0.66414 | 0.17677 | 0.13104
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.75253 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.98 | 3-BETA-COPROSTANOL | E | 1.6 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75253 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.66414 | 0.12499 | 0.66414 | 0.17677 | 0.13104
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.82828 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 3.96 | 3-BETA-COPROSTANOL | E | 1.6 | 3.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82828 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.82828 |  | 0.82828 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.46771 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.2695 | 3-BETA-COPROSTANOL | E | 1.6 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46771 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.9085 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.9279 | 3-BETA-COPROSTANOL | E | 1.6 | 2.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9085 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.63014 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.92 | 3-BETA-COPROSTANOL | E | 1.6 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63014 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.65668 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.68 | 3-BETA-COPROSTANOL | E | 1.6 | 7.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65668 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.50685 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.92 | 3-BETA-COPROSTANOL | E | 1.6 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50685 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.3399 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.68 | 3-BETA-COPROSTANOL | E | 1.6 | 3.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3399 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7274 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.3 | 3-BETA-COPROSTANOL | E | 1.6 | 5.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7274 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.41438 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.92 | 3-BETA-COPROSTANOL | E | 1.6 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41438 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.70959 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.3 | 3-BETA-COPROSTANOL | E | 1.6 | 5.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70959 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.54966 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 11.68 | 3-BETA-COPROSTANOL | E | 1.6 | 6.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54966 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.59108 | 0.16917 | 0.5899 | 0.24188 | 0.1793
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.30262 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 7.7655 | 3-BETA-COPROSTANOL | E | 1.6 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30262 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43647 | 0.10004 | 0.44925 | 0.12654 | 0.093802
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.54475 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.9091 | 3-BETA-COPROSTANOL | E | 1.6 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54475 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43647 | 0.10004 | 0.44925 | 0.12654 | 0.093802
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.44377 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9209 | 3-BETA-COPROSTANOL | E | 1.6 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44377 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43647 | 0.10004 | 0.44925 | 0.12654 | 0.093802
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.45472 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0025 | 3-BETA-COPROSTANOL | E | 1.6 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45472 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43647 | 0.10004 | 0.44925 | 0.12654 | 0.093802
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.50867 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3.46 | 3-BETA-COPROSTANOL | E | 1.6 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50867 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.50867 |  | 0.50867 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.93622 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 8.78 | 3-BETA-COPROSTANOL | E | 1.6 | 8.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93622 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93622 |  | 0.93622 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.36414 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1.98 | 3-BETA-COPROSTANOL | E | 1.6 | 0.721 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36414 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.36414 |  | 0.36414 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2 | 3-BETA-COPROSTANOL | E | 1.6 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.17218 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | 3-BETA-COPROSTANOL | E | 1.6 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17218 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.3042 | 0.18671 | 0.3042 | 0.26405 | 0.19574
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.43623 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | 3-BETA-COPROSTANOL | E | 1.6 | 0.851 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43623 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.3042 | 0.18671 | 0.3042 | 0.26405 | 0.19574
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.44118 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | 3-BETA-COPROSTANOL | E | 1.6 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44118 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.43153 | 0.013647 | 0.43153 | 0.0193 | 0.014307
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.42188 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | 3-BETA-COPROSTANOL | E | 1.6 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42188 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.43153 | 0.013647 | 0.43153 | 0.0193 | 0.014307
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.415 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 8 | 3-BETA-COPROSTANOL | E | 1.6 | 3.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.415 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.4925 | 0.1096 | 0.4925 | 0.155 | 0.1149
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.57 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 4 | 3-BETA-COPROSTANOL | E | 1.6 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.4925 | 0.1096 | 0.4925 | 0.155 | 0.1149
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.3475 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 8 | 3-BETA-COPROSTANOL | E | 1.6 | 2.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3475 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.3475 |  | 0.3475 | 0 | 0
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.54656 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.964 | 3-BETA-COPROSTANOL | E | 1.6 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54656 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.52842 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.9711 | 3-BETA-COPROSTANOL | E | 1.6 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52842 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.79026 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.7936 | 3-BETA-COPROSTANOL | E | 1.6 | 9.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79026 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.5148 | Supelco | LB77171 | Supelco LB77171: 80 µl | 11.888 | 3-BETA-COPROSTANOL | E | 1.6 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5148 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.37012 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.972 | 3-BETA-COPROSTANOL | E | 1.6 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37012 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.25976 | Supelco | LB77171 | Supelco LB77171: 50 µl | 7.43 | 3-BETA-COPROSTANOL | E | 1.6 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25976 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.60565 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.972 | 3-BETA-COPROSTANOL | E | 1.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60565 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.51817 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.972 | 3-BETA-COPROSTANOL | E | 1.6 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51817 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51672 | 0.15643 | 0.5233 | 0.13364 | 0.099068
3-BETA-COPROSTANOL | 4433 | 62806GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.555 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2 | 3-BETA-COPROSTANOL | E | 1.6 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.555 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.555 |  | 0.555 | 0 | 0