## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.79449 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.39019 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79449 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.0437 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.95812 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.88692 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.37658 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88692 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.91244 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.96225 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91244 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.86333 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3834 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86333 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.95201 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.5336 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95201 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.6025 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3834 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6025 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.6771 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9585 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6771 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.99896 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3834 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99896 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84194 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9585 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84194 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85734 | 0.13716 | 0.87512 | 0.15752 | 0.11677
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.8125 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.24 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8125 |  | 0.8125 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.79692 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.37771 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79692 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.87828 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3746 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.04 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87828 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.84886 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.5197 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84886 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.73993 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9555 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.707 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73993 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.91313 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3822 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91313 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.55573 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9555 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.04 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55573 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.83726 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.5288 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83726 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.80324 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3822 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80324 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.854 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9555 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.854 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.88305 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.5288 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88305 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81104 | 0.10252 | 0.84306 | 0.081363 | 0.060313
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.5625 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5625 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.5625 |  | 0.5625 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.38136 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.236 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38136 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.38136 |  | 0.38136 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.95763 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.118 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95763 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95763 |  | 0.95763 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.86017 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.236 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86017 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86017 |  | 0.86017 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94915 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.118 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94915 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94915 |  | 0.94915 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.628 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.628 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.68718 | 0.083687 | 0.68718 | 0.11835 | 0.087733
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.74635 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74635 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.68718 | 0.083687 | 0.68718 | 0.11835 | 0.087733
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.91338 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91338 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.89575 | 0.024926 | 0.89575 | 0.035251 | 0.026131
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87813 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87813 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.89575 | 0.024926 | 0.89575 | 0.035251 | 0.026131
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.76297 | Restek | A070024 | Restek A070024: 20 µl | 0.31063 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76297 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.60131 | 0.26997 | 0.72531 | 0.082101 | 0.060861
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.65628 | Restek | A070024 | Restek A070024: 40 µl | 0.63845 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.419 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65628 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.60131 | 0.26997 | 0.72531 | 0.082101 | 0.060861
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.1236 | Restek | A070024 | Restek A070024: 80 µl | 1.2459 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1236 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.60131 | 0.26997 | 0.72531 | 0.082101 | 0.060861
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.72531 | Restek | A070024 | Restek A070024: 20 µl | 0.31848 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72531 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.60131 | 0.26997 | 0.72531 | 0.082101 | 0.060861
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.73838 | Restek | A070024 | Restek A070024: 40 µl | 0.62028 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73838 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.60131 | 0.26997 | 0.72531 | 0.082101 | 0.060861
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0667 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.12 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90417 | 0.22981 | 0.90417 | 0.325 | 0.24092
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.74167 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.12 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74167 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90417 | 0.22981 | 0.90417 | 0.325 | 0.24092
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.81875 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.48 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81875 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84271 | 0.033882 | 0.84271 | 0.047917 | 0.03552
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.24 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84271 | 0.033882 | 0.84271 | 0.047917 | 0.03552
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.7175 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.4 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7175 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.7175 |  | 0.7175 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.9625 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.08 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9625 |  | 0.9625 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.75782 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.63339 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75782 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64149 | 0.11801 | 0.66361 | 0.16569 | 0.12282
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.63638 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.30799 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.2 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63638 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.64149 | 0.11801 | 0.66361 | 0.16569 | 0.12282
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.48091 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.64254 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48091 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64149 | 0.11801 | 0.66361 | 0.16569 | 0.12282
3-METHYL-1(H)-INDOLE (SKATOLE) | 4433 | 62807GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.69084 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.3259 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.2 | 0.916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69084 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64149 | 0.11801 | 0.66361 | 0.16569 | 0.12282