## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.73734 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25361 | 4-CUMYLPHENOL | . | 0.04 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73734 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.99879 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62275 | 4-CUMYLPHENOL | . | 0.04 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99879 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.89472 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24477 | 4-CUMYLPHENOL | . | 0.04 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89472 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.87459 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62544 | 4-CUMYLPHENOL | . | 0.04 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87459 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.89888 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2492 | 4-CUMYLPHENOL | . | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89888 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.94101 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9968 | 4-CUMYLPHENOL | . | 0.04 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94101 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.80257 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2492 | 4-CUMYLPHENOL | E | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80257 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0465 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.623 | 4-CUMYLPHENOL | . | 0.04 | 0.652 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0465 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.96308 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2492 | 4-CUMYLPHENOL | . | 0.04 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96308 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96148 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.623 | 4-CUMYLPHENOL | . | 0.04 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96148 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.9119 | 0.091825 | 0.91994 | 0.088496 | 0.065602
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.724 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.724 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.724 |  | 0.724 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.7765 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24469 | 4-CUMYLPHENOL | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7765 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.93953 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24267 | 4-CUMYLPHENOL | . | 0.04 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93953 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.77299 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.98449 | 4-CUMYLPHENOL | . | 0.04 | 0.761 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77299 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.71082 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.619 | 4-CUMYLPHENOL | . | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71082 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.84814 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2476 | 4-CUMYLPHENOL | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84814 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.47819 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.619 | 4-CUMYLPHENOL | E | 0.04 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47819 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81583 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9904 | 4-CUMYLPHENOL | . | 0.04 | 0.808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81583 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8441 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2476 | 4-CUMYLPHENOL | . | 0.04 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8441 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.93861 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.619 | 4-CUMYLPHENOL | . | 0.04 | 0.581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93861 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.73809 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9904 | 4-CUMYLPHENOL | . | 0.04 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73809 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78628 | 0.13247 | 0.79617 | 0.11006 | 0.081584
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0135 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0135 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0135 |  | 1.0135 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.95135 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.185 | 4-CUMYLPHENOL | . | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95135 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95135 |  | 0.95135 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.93243 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93243 |  | 0.93243 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.1135 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.185 | 4-CUMYLPHENOL | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1135 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1135 |  | 1.1135 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.802 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.802 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.802 |  | 0.802 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71 |  | 0.71 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.986 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.986 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.986 |  | 0.986 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.84152 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | 4-CUMYLPHENOL | . | 0.2 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84152 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.86365 | 0.031296 | 0.86365 | 0.04426 | 0.032809
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.88578 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | 4-CUMYLPHENOL | E | 0.2 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88578 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.86365 | 0.031296 | 0.86365 | 0.04426 | 0.032809
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.2708 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | 4-CUMYLPHENOL | . | 0.04 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2708 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1885 | 0.11634 | 1.1885 | 0.16453 | 0.12197
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1062 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 4-CUMYLPHENOL | . | 0.04 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1885 | 0.11634 | 1.1885 | 0.16453 | 0.12197
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.64144 | Restek | A070024 | Restek A070024: 20 µl | 0.20423 | 4-CUMYLPHENOL | E | 0.2 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64144 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63306 | 0.1447 | 0.6877 | 0.054955 | 0.040738
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.75519 | Restek | A070024 | Restek A070024: 40 µl | 0.41976 | 4-CUMYLPHENOL | . | 0.2 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75519 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63306 | 0.1447 | 0.6877 | 0.054955 | 0.040738
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.38454 | Restek | A070024 | Restek A070024: 80 µl | 0.81916 | 4-CUMYLPHENOL | E | 0.2 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38454 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63306 | 0.1447 | 0.6877 | 0.054955 | 0.040738
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.6877 | Restek | A070024 | Restek A070024: 20 µl | 0.20939 | 4-CUMYLPHENOL | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6877 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63306 | 0.1447 | 0.6877 | 0.054955 | 0.040738
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.6964 | Restek | A070024 | Restek A070024: 40 µl | 0.40781 | 4-CUMYLPHENOL | . | 0.2 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6964 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63306 | 0.1447 | 0.6877 | 0.054955 | 0.040738
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.916 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.818 | 0.13859 | 0.818 | 0.196 | 0.14529
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | 4-CUMYLPHENOL | . | 0.04 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.818 | 0.13859 | 0.818 | 0.196 | 0.14529
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.755 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 4-CUMYLPHENOL | . | 0.04 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7065 | 0.068589 | 0.7065 | 0.097 | 0.071905
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.658 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 4-CUMYLPHENOL | . | 0.04 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.658 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7065 | 0.068589 | 0.7065 | 0.097 | 0.071905
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.52162 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.37 | 4-CUMYLPHENOL | . | 0.04 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52162 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.52162 |  | 0.52162 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.94595 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.074 | 4-CUMYLPHENOL | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94595 |  | 0.94595 | 0 | 0
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.74115 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.41692 | 4-CUMYLPHENOL | . | 0.2 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74115 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54249 | 0.17462 | 0.55125 | 0.25797 | 0.19123
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.60179 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20273 | 4-CUMYLPHENOL | E | 0.2 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60179 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.54249 | 0.17462 | 0.55125 | 0.25797 | 0.19123
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.32629 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.42294 | 4-CUMYLPHENOL | E | 0.2 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32629 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.54249 | 0.17462 | 0.55125 | 0.25797 | 0.19123
4-CUMYLPHENOL | 4433 | 62808GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.50071 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87276 | 4-CUMYLPHENOL | . | 0.2 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50071 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54249 | 0.17462 | 0.55125 | 0.25797 | 0.19123