## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.64553 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5174 | 4-N-OCTYLPHENOL | E | 0.02 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64553 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.77372 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.2705 | 4-N-OCTYLPHENOL | E | 0.02 | 0.983 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77372 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.66485 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.49936 | 4-N-OCTYLPHENOL | E | 0.02 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66485 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.64656 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.276 | 4-N-OCTYLPHENOL | E | 0.02 | 0.825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64656 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.55468 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5084 | 4-N-OCTYLPHENOL | E | 0.02 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55468 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.67368 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.0336 | 4-N-OCTYLPHENOL | E | 0.02 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67368 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.62943 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5084 | 4-N-OCTYLPHENOL | E | 0.02 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62943 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.83399 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.271 | 4-N-OCTYLPHENOL | E | 0.02 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83399 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.9048 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5084 | 4-N-OCTYLPHENOL | E | 0.02 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9048 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.68607 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.271 | 4-N-OCTYLPHENOL | E | 0.02 | 0.872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68607 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.70133 | 0.10507 | 0.66927 | 0.12818 | 0.095022
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.88427 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3992 | 4-N-OCTYLPHENOL | E | 0.02 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88427 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 |  | 1 | 0.88427 |  | 0.88427 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.64165 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.50183 | 4-N-OCTYLPHENOL | E | 0.02 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64165 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.651 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4977 | 4-N-OCTYLPHENOL | E | 0.02 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.651 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.52004 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.0191 | 4-N-OCTYLPHENOL | E | 0.02 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52004 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.60969 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2695 | 4-N-OCTYLPHENOL | E | 0.02 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60969 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.57897 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5078 | 4-N-OCTYLPHENOL | E | 0.02 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57897 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.38755 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2695 | 4-N-OCTYLPHENOL | E | 0.02 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38755 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.6794 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.0312 | 4-N-OCTYLPHENOL | E | 0.02 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6794 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.68137 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5078 | 4-N-OCTYLPHENOL | E | 0.02 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68137 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.72154 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.2695 | 4-N-OCTYLPHENOL | E | 0.02 | 0.916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72154 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.64002 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.0312 | 4-N-OCTYLPHENOL | E | 0.02 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64002 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61112 | 0.096875 | 0.64083 | 0.10043 | 0.07445
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.72222 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.72222 |  | 0.72222 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.09 | 4-N-OCTYLPHENOL | E | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.88889 |  | 0.88889 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.5222 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.09 | 4-N-OCTYLPHENOL | E | 0.02 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5222 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.5222 |  | 1.5222 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.57323 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57323 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.57323 |  | 0.57323 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0051 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.198 | 4-N-OCTYLPHENOL | E | 0.02 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0051 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0051 |  | 1.0051 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.57071 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.396 | 4-N-OCTYLPHENOL | E | 0.02 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57071 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.57071 |  | 0.57071 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.198 | 4-N-OCTYLPHENOL | E | 0.02 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.88889 |  | 0.88889 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.68661 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | 4-N-OCTYLPHENOL | E | 0.2 | 0.082 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68661 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.75749 | 0.10024 | 0.75749 | 0.14175 | 0.10508
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.82837 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | 4-N-OCTYLPHENOL | E | 0.2 | 0.101 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82837 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.75749 | 0.10024 | 0.75749 | 0.14175 | 0.10508
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1318 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | 4-N-OCTYLPHENOL | E | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1318 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.019 | 0.15948 | 1.019 | 0.22554 | 0.16719
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.90625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | 4-N-OCTYLPHENOL | E | 0.02 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.019 | 0.15948 | 1.019 | 0.22554 | 0.16719
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.60228 | Restek | A070024 | Restek A070024: 20 µl | 0.39516 | 4-N-OCTYLPHENOL | E | 0.2 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60228 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.50558 | 0.1317 | 0.5639 | 0.044429 | 0.032935
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.5639 | Restek | A070024 | Restek A070024: 40 µl | 0.8122 | 4-N-OCTYLPHENOL | E | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5639 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.50558 | 0.1317 | 0.5639 | 0.044429 | 0.032935
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.27571 | Restek | A070024 | Restek A070024: 80 µl | 1.585 | 4-N-OCTYLPHENOL | E | 0.2 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27571 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.50558 | 0.1317 | 0.5639 | 0.044429 | 0.032935
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.52078 | Restek | A070024 | Restek A070024: 20 µl | 0.40516 | 4-N-OCTYLPHENOL | E | 0.2 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52078 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.50558 | 0.1317 | 0.5639 | 0.044429 | 0.032935
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.56521 | Restek | A070024 | Restek A070024: 40 µl | 0.78909 | 4-N-OCTYLPHENOL | E | 0.2 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56521 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.50558 | 0.1317 | 0.5639 | 0.044429 | 0.032935
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.77154 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1996 | 4-N-OCTYLPHENOL | E | 0.02 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77154 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.66132 | 0.15588 | 0.66132 | 0.22044 | 0.16341
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.5511 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1996 | 4-N-OCTYLPHENOL | E | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5511 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.66132 | 0.15588 | 0.66132 | 0.22044 | 0.16341
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.67761 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.7984 | 4-N-OCTYLPHENOL | E | 0.02 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67761 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.69702 | 0.027455 | 0.69702 | 0.038828 | 0.028782
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.71643 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3992 | 4-N-OCTYLPHENOL | E | 0.02 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71643 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.69702 | 0.027455 | 0.69702 | 0.038828 | 0.028782
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.41111 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.18 | 4-N-OCTYLPHENOL | E | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41111 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.41111 |  | 0.41111 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.036 | 4-N-OCTYLPHENOL | E | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.75 |  | 0.75 | 0 | 0
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.63169 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.80577 | 4-N-OCTYLPHENOL | E | 0.2 | 0.509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63169 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42531 | 0.16282 | 0.41733 | 0.21503 | 0.1594
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.4007 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.39181 | 4-N-OCTYLPHENOL | E | 0.2 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4007 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42531 | 0.16282 | 0.41733 | 0.21503 | 0.1594
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.23489 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.81741 | 4-N-OCTYLPHENOL | E | 0.2 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23489 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42531 | 0.16282 | 0.41733 | 0.21503 | 0.1594
4-N-OCTYLPHENOL | 4433 | 62809GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.43396 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.6868 | 4-N-OCTYLPHENOL | E | 0.2 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43396 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42531 | 0.16282 | 0.41733 | 0.21503 | 0.1594