## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.55464 | Accu | 209081217 | Accu 209081217: 20 µl | 1.4027 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55464 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.63717 | 0.089114 | 0.62521 | 0.17702 | 0.13122
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.62521 | Accu | 209081217 | Accu 209081217: 40 µl | 3.071 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62521 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.63717 | 0.089114 | 0.62521 | 0.17702 | 0.13122
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.73166 | Accu | 209081217 | Accu 209081217: 80 µl | 5.713 | 4-TERT-OCTYLPHENOL | E | 0.4 | 4.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73166 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.63717 | 0.089114 | 0.62521 | 0.17702 | 0.13122
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.63854 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.7016 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63854 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63854 |  | 0.63854 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.79167 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.92 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.79167 |  | 0.79167 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.86364 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.682 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86364 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.86364 |  | 0.86364 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.63313 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 6.918 | 4-TERT-OCTYLPHENOL | E | 0.4 | 4.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63313 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63313 |  | 0.63313 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.72708 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.48 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72708 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.78542 | 0.082496 | 0.78542 | 0.11667 | 0.086484
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.84375 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.48 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84375 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.78542 | 0.082496 | 0.78542 | 0.11667 | 0.086484
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.98958 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.96 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98958 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.98958 |  | 0.98958 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.85966 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.3145 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85966 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.0483 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.52943 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0483 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.72917 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.528 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72917 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.91856 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.112 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91856 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.84091 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.528 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84091 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.98958 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.112 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98958 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.87121 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.32 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87121 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.92614 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.528 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92614 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.93939 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.32 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93939 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.9517 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.112 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9517 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.90746 | 0.088094 | 0.92235 | 0.092048 | 0.068235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.68837 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 5.5638 | 4-TERT-OCTYLPHENOL | E | 0.4 | 3.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68837 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72216 | 0.03016 | 0.72004 | 0.044021 | 0.032632
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.72815 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.3679 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.996 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72815 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72216 | 0.03016 | 0.72004 | 0.044021 | 0.032632
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.71193 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.8093 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71193 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72216 | 0.03016 | 0.72004 | 0.044021 | 0.032632
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.7602 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.8677 | 4-TERT-OCTYLPHENOL | E | 0.4 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7602 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72216 | 0.03016 | 0.72004 | 0.044021 | 0.032632
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.6129 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.682 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6129 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.6129 |  | 0.6129 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.9122 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.754 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9122 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.9122 |  | 0.9122 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.76458 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.48 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76458 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.76458 |  | 0.76458 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.858 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.858 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.858 |  | 0.858 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.78709 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78709 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.81593 | 0.040785 | 0.81593 | 0.057678 | 0.042756
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84477 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.103 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84477 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.81593 | 0.040785 | 0.81593 | 0.057678 | 0.042756
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.241 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.125 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.241 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 1.1611 | 0.11296 | 1.1611 | 0.15975 | 0.11842
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0813 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.173 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0812 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 1.1611 | 0.11296 | 1.1611 | 0.15975 | 0.11842
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7335 | 0.0049497 | 0.7335 | 0.007 | 0.005189
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.737 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.737 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.737 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7335 | 0.0049497 | 0.7335 | 0.007 | 0.005189
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.73 |  | 0.73 | 0 | 0
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.65923 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.54154 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65923 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.79766 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.54284 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79766 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.83072 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.1548 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83072 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.88398 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.172 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88398 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.80847 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.543 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80847 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.75138 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.3575 | 4-TERT-OCTYLPHENOL | E | 0.4 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75138 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.73481 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.543 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.86925 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.543 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86924 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.79194 | 0.074428 | 0.80307 | 0.10689 | 0.079235
4-TERT-OCTYLPHENOL | 4433 | 62810GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.844 | Supelco | LB92782 | Supelco LB92782: 20 µl | 0.5 | 4-TERT-OCTYLPHENOL | E | 0.4 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.844 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.844 |  | 0.844 | 0 | 0