## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.18333 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.2 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18333 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.18333 |  | 0.18333 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.225 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.225 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.225 |  | 0.225 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.15 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 2 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.15 |  | 0.15 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.16667 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16667 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.23333 | 0.094281 | 0.23333 | 0.13333 | 0.098839
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.3 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.23333 | 0.094281 | 0.23333 | 0.13333 | 0.098839
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.33333 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.6 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33333 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.33333 |  | 0.33333 | 0 | 0
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.50717 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.9717 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50717 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.33999 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.79414 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33999 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.21465 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.792 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21465 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.28093 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.168 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28093 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.20202 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.792 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20202 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.30303 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.168 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30303 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.17172 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.98 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17172 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.16414 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.792 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16414 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.22096 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.168 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22096 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.26718 | 0.10796 | 0.22096 | 0.10101 | 0.074878
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.28164 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 4.3318 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.5 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28164 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.35543 | 0.14014 | 0.34552 | 0.22257 | 0.16499
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.4094 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.065 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.5 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4094 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.35543 | 0.14014 | 0.34552 | 0.22257 | 0.16499
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.20666 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1872 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.5 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20666 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.35543 | 0.14014 | 0.34552 | 0.22257 | 0.16499
4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 4433 | 62486GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.52403 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.2327 | 4-TERT-OCTYLPHENOL_DIETHOXYLATES,_TOTAL_(OPEO2) | E | 0.5 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52403 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.35543 | 0.14014 | 0.34552 | 0.22257 | 0.16499