## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | HeaderID | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | Spike Level | Percent Recovery | SPIKE | STATUS | PLOT | RANK | e'd per NWQL on 7/13/07 | ? End Date | Added to list | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout | rank1 | rank2
4-Tert-Octylphenol monoethoxylates, total | 4433 | 62485GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L |  | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.07 | MICROGRAMS PER LITER |  | False positives |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L |  | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L |  | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L |  | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L |  | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093100005 | Accu | 209081217 | Accu 209081217: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L |  | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-12-14 | 2010-10-01 | 2011-01-31 | ug/L |  | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L |  | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L |  | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L |  | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L |  | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093170005 | ChemService | 480-95B | ChemService 480-95B: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093520063 | ChemService | 480-95B | ChemService 480-95B: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L |  | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.45 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L |  | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 2.25 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L |  | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.66 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.45 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L |  | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 2.33 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L |  | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.51 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L |  | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 2.21 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 1.42 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.62 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L |  | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 1.56 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L |  | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 2.19 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L |  | 20092960005 | Crescent | 08LL076 | Crescent 08LL076: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 1 | 3.98 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093380010 | Crescent | 08LL076 | Crescent 08LL076: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 1 | 1.21 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 1 | 1.59 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L |  | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 1 | 2.94 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L |  | 20092820005 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093340131 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L |  | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 1 | 0.64 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 1 | 0.67 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.4 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L |  | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.51 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093060175 | Restek | A070024 | Restek A070024: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093450031 | Restek | A070024 | Restek A070024: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101270037 | Restek | A070024 | Restek A070024: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L |  | 20102250100 | Restek | A070024 | Restek A070024: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L |  | 20102250097 | Restek | A070024 | Restek A070024: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L |  | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L |  | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L |  | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L |  | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L |  | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L |  | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L |  | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L |  | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L |  | 20092890006 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L |  | 20093240041 | Ultra | CF-3634 | Ultra CF-3634: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L |  | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L |  | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 1 | 1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L |  | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L |  | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.33 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L |  | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L |  | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L |  | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L |  | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L |  | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L |  | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L |  | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L |  | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.23 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L |  | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.69 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L |  | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.19 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L |  | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.18 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L |  | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.16 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L |  | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L |  | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L |  | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L |  | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L |  | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L |  | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L |  | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L |  | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | E | 0.6 | 0.97 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L |  | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | < | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N | [5 empty] | 0
4-TERT-OCTYLPHENOL MONOETHOXYLATES, TOTAL (OPEO1) | 4433 | 62485GCM99 | 2013-08-08 08:00 | 2011-10-01 | 2050-09-30 | ug/L |  | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | 4-TERT-OCTYLPHENOL_MONOETHOXYLATES,_TOTAL_(OPEO1) | R | 0.6 |  | MICROGRAMS PER LITER |  |  |  |  | N | Deleted Values | N | [5 empty] | 0