## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.40067 | Accu | 209081217 | Accu 209081217: 20 µl | 1.9093 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 0.765 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40067 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.3521 | 0.24297 | 0.40067 | 0.4786 | 0.35478
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.088517 | Accu | 209081217 | Accu 209081217: 40 µl | 4.18 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.088517 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.3521 | 0.24297 | 0.40067 | 0.4786 | 0.35478
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.56711 | Accu | 209081217 | Accu 209081217: 80 µl | 7.7762 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 4.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56711 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.3521 | 0.24297 | 0.40067 | 0.4786 | 0.35478
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.59835 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5816 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59835 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.59835 |  | 0.59835 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.4675 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4675 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.4675 |  | 0.4675 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.31643 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.572 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31643 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.31643 |  | 0.31643 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.24445 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 5.768 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24445 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.24445 |  | 0.24445 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.736 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.736 |  | 0.736 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.83 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 2 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.83 |  | 0.83 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.5722 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 5.2778 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5722 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.89851 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.1257 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89851 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.46132 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.12 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46132 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.76651 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 8.48 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 6.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76651 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.49057 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.12 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49057 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.86085 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 8.48 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 7.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86085 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.71698 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 5.3 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71698 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.40849 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.12 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40849 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.81509 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 5.3 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 4.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81509 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.84788 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 8.48 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 7.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84788 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.68384 | 0.18398 | 0.74175 | 0.35731 | 0.26487
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.37704 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 7.5589 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37704 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.547 | 0.13114 | 0.57564 | 0.20603 | 0.15273
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.64036 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.8583 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64036 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.547 | 0.13114 | 0.57564 | 0.20603 | 0.15273
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.51093 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.8166 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 1.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51093 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.547 | 0.13114 | 0.57564 | 0.20603 | 0.15273
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.65966 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.8959 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 2.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65966 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.547 | 0.13114 | 0.57564 | 0.20603 | 0.15273
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.65559 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.572 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65559 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.65559 |  | 0.65559 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.45805 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.454 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45805 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.45805 |  | 0.45805 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.644 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.644 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.644 |  | 0.644 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.685 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.685 |  | 0.685 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.09734 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.09734 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.39724 | 0.42412 | 0.39724 | 0.5998 | 0.44463
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69714 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.6 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69714 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.39724 | 0.42412 | 0.39724 | 0.5998 | 0.44463
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.51626 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51626 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.51594 | 0.00044608 | 0.51594 | 0.00063085 | 0.00046765
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.51563 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51562 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.51594 | 0.00044608 | 0.51594 | 0.00063085 | 0.00046765
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.09825 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.09825 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.28412 | 0.26287 | 0.28412 | 0.37175 | 0.27557
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.47 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.28412 | 0.26287 | 0.28412 | 0.37175 | 0.27557
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.37 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.37 |  | 0.37 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.53434 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.1522 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53434 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.73238 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.1574 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73238 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.64226 | Supelco | LB77171 | Supelco LB77171: 80 µl | 8.5635 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 5.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64226 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.9905 | Supelco | LB77171 | Supelco LB77171: 80 µl | 8.632 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 8.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9905 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.5607 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.158 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5607 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.443 | Supelco | LB77171 | Supelco LB77171: 50 µl | 5.395 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 2.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.443 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.50973 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.158 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50973 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.80167 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.158 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80167 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65182 | 0.18112 | 0.60148 | 0.24499 | 0.18161
5-METHYL-1H-BENZOTRIAZOLE | 4433 | 61944GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.493 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.32 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.493 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.493 |  | 0.493 | 0 | 0