## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETOPHENONE | 4433 | 62811GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.7483 | Accu | 209081217 | Accu 209081217: 20 µl | 0.41427 | ACETOPHENONE | E | 0.4 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7483 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.79252 | 0.050484 | 0.78173 | 0.099223 | 0.073553
ACETOPHENONE | 4433 | 62811GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.78173 | Accu | 209081217 | Accu 209081217: 40 µl | 0.90697 | ACETOPHENONE | . | 0.4 | 0.709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78173 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79252 | 0.050484 | 0.78173 | 0.099223 | 0.073553
ACETOPHENONE | 4433 | 62811GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.84753 | Accu | 209081217 | Accu 209081217: 80 µl | 1.6873 | ACETOPHENONE | . | 0.4 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84753 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79252 | 0.050484 | 0.78173 | 0.099223 | 0.073553
ACETOPHENONE | 4433 | 62811GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.83152 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.552 | ACETOPHENONE | . | 0.4 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83152 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83152 |  | 0.83152 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4 | ACETOPHENONE | . | 0.4 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.99088 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.548 | ACETOPHENONE | . | 0.4 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99088 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.99088 |  | 0.99088 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.63818 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 5.5 | ACETOPHENONE | E | 0.4 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63818 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63818 |  | 0.63818 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.769 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | ACETOPHENONE | . | 0.4 | 0.769 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.769 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8185 | 0.070004 | 0.8185 | 0.099 | 0.073388
ACETOPHENONE | 4433 | 62811GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.868 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | ACETOPHENONE | . | 0.4 | 0.868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.868 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8185 | 0.070004 | 0.8185 | 0.099 | 0.073388
ACETOPHENONE | 4433 | 62811GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.89 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 2 | ACETOPHENONE | . | 0.4 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89 |  | 0.89 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.88398 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.4141 | ACETOPHENONE | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88398 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.136 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.56954 | ACETOPHENONE | . | 0.4 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.136 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.75352 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.568 | ACETOPHENONE | . | 0.4 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75352 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.9463 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.272 | ACETOPHENONE | . | 0.4 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9463 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.97887 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.568 | ACETOPHENONE | . | 0.4 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97887 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0211 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.272 | ACETOPHENONE | . | 0.4 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0211 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95775 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.42 | ACETOPHENONE | . | 0.4 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95775 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0634 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.568 | ACETOPHENONE | . | 0.4 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0634 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.92254 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.42 | ACETOPHENONE | . | 0.4 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92254 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.9507 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.272 | ACETOPHENONE | . | 0.4 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9507 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96142 | 0.10319 | 0.95423 | 0.098592 | 0.073085
ACETOPHENONE | 4433 | 62811GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.71033 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.6612 | ACETOPHENONE | . | 0.4 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71033 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79943 | 0.060675 | 0.82225 | 0.075613 | 0.056051
ACETOPHENONE | 4433 | 62811GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.81292 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.4084 | ACETOPHENONE | E | 0.4 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81292 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.79943 | 0.060675 | 0.82225 | 0.075613 | 0.056051
ACETOPHENONE | 4433 | 62811GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.8429 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.83877 | ACETOPHENONE | . | 0.4 | 0.707 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8429 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79943 | 0.060675 | 0.82225 | 0.075613 | 0.056051
ACETOPHENONE | 4433 | 62811GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.83158 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.85621 | ACETOPHENONE | . | 0.4 | 0.712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83158 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79943 | 0.060675 | 0.82225 | 0.075613 | 0.056051
ACETOPHENONE | 4433 | 62811GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.82664 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.548 | ACETOPHENONE | . | 0.4 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82664 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82664 |  | 0.82664 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88406 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.38 | ACETOPHENONE | . | 0.4 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88406 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88406 |  | 0.88406 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.839 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1 | ACETOPHENONE | . | 0.4 | 0.839 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.839 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.839 |  | 0.839 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.944 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1 | ACETOPHENONE | . | 0.4 | 0.944 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.944 |  | 0.944 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.71383 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | ACETOPHENONE | E | 0.4 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71383 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.80595 | 0.13029 | 0.80595 | 0.18426 | 0.13659
ACETOPHENONE | 4433 | 62811GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.89808 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | ACETOPHENONE | . | 0.4 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89808 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.80595 | 0.13029 | 0.80595 | 0.18426 | 0.13659
ACETOPHENONE | 4433 | 62811GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.2211 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | ACETOPHENONE | . | 0.4 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2211 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1317 | 0.12654 | 1.1317 | 0.17896 | 0.13266
ACETOPHENONE | 4433 | 62811GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0422 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | ACETOPHENONE | . | 0.4 | 0.667 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0422 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1317 | 0.12654 | 1.1317 | 0.17896 | 0.13266
ACETOPHENONE | 4433 | 62811GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4 | ACETOPHENONE | . | 0.4 | 3.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79 | 0 | 0.79 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2 | ACETOPHENONE | . | 0.4 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79 | 0 | 0.79 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.7475 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | ACETOPHENONE | . | 0.4 | 2.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7475 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7475 |  | 0.7475 | 0 | 0
ACETOPHENONE | 4433 | 62811GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.69564 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.56926 | ACETOPHENONE | . | 0.4 | 0.396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69564 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.99364 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.57063 | ACETOPHENONE | . | 0.4 | 0.567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99364 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.91829 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.2651 | ACETOPHENONE | . | 0.4 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91829 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.8672 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.2832 | ACETOPHENONE | . | 0.4 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8672 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.92677 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5708 | ACETOPHENONE | . | 0.4 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92677 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.92502 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.427 | ACETOPHENONE | . | 0.4 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92502 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 1.0039 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5708 | ACETOPHENONE | . | 0.4 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0039 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0827 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5708 | ACETOPHENONE | . | 0.4 | 0.618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0827 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.92664 | 0.1145 | 0.92589 | 0.106 | 0.078577
ACETOPHENONE | 4433 | 62811GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.941 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1 | ACETOPHENONE | . | 0.4 | 0.941 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.941 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.941 |  | 0.941 | 0 | 0