## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.72407 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4309 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72407 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.86667 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0581 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.75263 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.41587 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75263 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.84883 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0626 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84883 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.84317 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4234 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84317 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.84436 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.6936 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84436 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.68966 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4234 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68966 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8786 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0585 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8786 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.8786 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4234 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8786 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.78129 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0585 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78129 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81079 | 0.068627 | 0.84376 | 0.11403 | 0.084531
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.77375 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.8 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77375 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77375 |  | 0.77375 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.82831 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3984 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82831 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82831 |  | 0.82831 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.695 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.695 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7875 | 0.13081 | 0.7875 | 0.185 | 0.13714
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7875 | 0.13081 | 0.7875 | 0.185 | 0.13714
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.9775 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.4 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9775 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9775 |  | 0.9775 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.61622 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.9473 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61622 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69848 | 0.055223 | 0.72227 | 0.063382 | 0.046985
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.73316 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.47875 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73316 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69848 | 0.055223 | 0.72227 | 0.063382 | 0.046985
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.72718 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.98324 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72718 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69848 | 0.055223 | 0.72227 | 0.063382 | 0.046985
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.71736 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.0037 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71736 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69848 | 0.055223 | 0.72227 | 0.063382 | 0.046985
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.84571 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.2 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84571 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84524 | 0.00066121 | 0.84524 | 0.0009351 | 0.00069318
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84477 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.2 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84477 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.84524 | 0.00066121 | 0.84524 | 0.0009351 | 0.00069318
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.2211 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2211 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1793 | 0.059145 | 1.1793 | 0.083644 | 0.062004
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1793 | 0.059145 | 1.1793 | 0.083644 | 0.062004
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0894 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1992 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0894 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91365 | 0.24848 | 0.91365 | 0.35141 | 0.26049
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.73795 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1992 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73795 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91365 | 0.24848 | 0.91365 | 0.35141 | 0.26049
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.70658 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.7968 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70658 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71348 | 0.0097618 | 0.71348 | 0.013805 | 0.010234
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.72038 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3984 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72038 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71348 | 0.0097618 | 0.71348 | 0.013805 | 0.010234
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54667 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.3 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54667 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.54667 |  | 0.54667 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 4433 | 62812GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.96667 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.06 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96667 |  | 0.96667 | 0 | 0