## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTHRACENE | 4433 | 34220GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.72032 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.41787 | ANTHRACENE | . | 0.02 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72032 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.95703 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0261 | ANTHRACENE | . | 0.02 | 0.982 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95703 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.82073 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4033 | ANTHRACENE | . | 0.02 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82073 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.85782 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0305 | ANTHRACENE | . | 0.02 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85782 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.7964 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4106 | ANTHRACENE | . | 0.02 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7964 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.90721 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.6424 | ANTHRACENE | . | 0.02 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90721 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.64783 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4106 | ANTHRACENE | . | 0.02 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64783 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0229 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0265 | ANTHRACENE | . | 0.02 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0229 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.9888 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4106 | ANTHRACENE | . | 0.02 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9888 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.80565 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.0265 | ANTHRACENE | . | 0.02 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80565 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85247 | 0.11892 | 0.83927 | 0.16064 | 0.11908
ANTHRACENE | 4433 | 34220GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.955 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.2 | ANTHRACENE | . | 0.02 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.955 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.955 |  | 0.955 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.7537 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.40202 | ANTHRACENE | . | 0.02 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7537 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.84523 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.39871 | ANTHRACENE | . | 0.02 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84523 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.79135 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.6175 | ANTHRACENE | . | 0.02 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79135 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.68535 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.017 | ANTHRACENE | . | 0.02 | 0.697 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68535 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.87021 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4068 | ANTHRACENE | . | 0.02 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87021 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.53196 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.017 | ANTHRACENE | E | 0.02 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53196 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.90954 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.6272 | ANTHRACENE | . | 0.02 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90954 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.82842 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4068 | ANTHRACENE | . | 0.02 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82842 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.83776 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.017 | ANTHRACENE | . | 0.02 | 0.852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83776 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.71903 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.6272 | ANTHRACENE | . | 0.02 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71903 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77725 | 0.11045 | 0.80988 | 0.12621 | 0.093556
ANTHRACENE | 4433 | 34220GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.64298 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.40748 | ANTHRACENE | . | 0.2 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64298 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.71873 | 0.067293 | 0.74162 | 0.12861 | 0.09534
ANTHRACENE | 4433 | 34220GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.74162 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.81983 | ANTHRACENE | . | 0.2 | 0.608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74162 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.71873 | 0.067293 | 0.74162 | 0.12861 | 0.09534
ANTHRACENE | 4433 | 34220GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.77159 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.20996 | ANTHRACENE | E | 0.2 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77159 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.71873 | 0.067293 | 0.74162 | 0.12861 | 0.09534
ANTHRACENE | 4433 | 34220GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.9375 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.032 | ANTHRACENE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.9375 |  | 0.9375 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.925 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.08 | ANTHRACENE | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.925 |  | 0.925 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.8125 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.032 | ANTHRACENE | . | 0.02 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8125 |  | 0.8125 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.9625 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.08 | ANTHRACENE | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9625 |  | 0.9625 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.825 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.2 | ANTHRACENE | . | 0.02 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.825 |  | 0.825 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.89 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.1 | ANTHRACENE | . | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89 |  | 0.89 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.765 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.2 | ANTHRACENE | . | 0.02 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.765 |  | 0.765 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.89 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.1 | ANTHRACENE | . | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89 |  | 0.89 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.78197 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.20973 | ANTHRACENE | E | 0.2 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78197 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.65151 | 0.089264 | 0.62184 | 0.10644 | 0.078902
ANTHRACENE | 4433 | 34220GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.58037 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.41181 | ANTHRACENE | . | 0.2 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58037 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65151 | 0.089264 | 0.62184 | 0.10644 | 0.078902
ANTHRACENE | 4433 | 34220GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.62748 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.84465 | ANTHRACENE | . | 0.2 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62748 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65151 | 0.089264 | 0.62184 | 0.10644 | 0.078902
ANTHRACENE | 4433 | 34220GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.6162 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.42519 | ANTHRACENE | . | 0.2 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6162 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65151 | 0.089264 | 0.62184 | 0.10644 | 0.078902
ANTHRACENE | 4433 | 34220GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.72011 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | ANTHRACENE | E | 0.2 | 0.086 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72011 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.74143 | 0.030157 | 0.74143 | 0.042648 | 0.031615
ANTHRACENE | 4433 | 34220GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.76275 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | ANTHRACENE | E | 0.2 | 0.093 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.76276 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.74143 | 0.030157 | 0.74143 | 0.042648 | 0.031615
ANTHRACENE | 4433 | 34220GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0424 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | ANTHRACENE | . | 0.02 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0424 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.015 | 0.038849 | 1.015 | 0.05494 | 0.040727
ANTHRACENE | 4433 | 34220GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.9875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | ANTHRACENE | . | 0.02 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.015 | 0.038849 | 1.015 | 0.05494 | 0.040727
ANTHRACENE | 4433 | 34220GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.94 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1 | ANTHRACENE | . | 0.02 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82 | 0.16971 | 0.82 | 0.24 | 0.17791
ANTHRACENE | 4433 | 34220GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1 | ANTHRACENE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82 | 0.16971 | 0.82 | 0.24 | 0.17791
ANTHRACENE | 4433 | 34220GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.785 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.4 | ANTHRACENE | . | 0.02 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77 | 0.021213 | 0.77 | 0.03 | 0.022239
ANTHRACENE | 4433 | 34220GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.755 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.2 | ANTHRACENE | . | 0.02 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77 | 0.021213 | 0.77 | 0.03 | 0.022239
ANTHRACENE | 4433 | 34220GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.7125 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.16 | ANTHRACENE | . | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7125 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.7125 |  | 0.7125 | 0 | 0
ANTHRACENE | 4433 | 34220GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.9375 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.032 | ANTHRACENE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9375 |  | 0.9375 | 0 | 0