## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 4433 | 39630GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.93695 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.58701 | ATRAZINE | . | 0.16 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93695 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.0337 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4414 | ATRAZINE | . | 0.16 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0337 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.9655 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.56655 | ATRAZINE | . | 0.16 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9655 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.90492 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4476 | ATRAZINE | . | 0.16 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90492 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.92233 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5768 | ATRAZINE | . | 0.16 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92233 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.98821 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3072 | ATRAZINE | . | 0.16 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98821 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76456 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5768 | ATRAZINE | . | 0.16 | 0.441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76456 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.165 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.442 | ATRAZINE | . | 0.16 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.165 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.087 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5768 | ATRAZINE | . | 0.16 | 0.627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96394 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.442 | ATRAZINE | . | 0.16 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96394 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97322 | 0.10847 | 0.96472 | 0.11137 | 0.082558
ATRAZINE | 4433 | 39630GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81351 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 2.102 | ATRAZINE | . | 0.16 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81351 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.81351 |  | 0.81351 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.76667 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.42 | ATRAZINE | . | 0.16 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76667 |  | 0.76667 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95431 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4.0448 | ATRAZINE | . | 0.16 | 3.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95431 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95431 |  | 0.95431 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.89992 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2.0224 | ATRAZINE | . | 0.16 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89992 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89992 |  | 0.89992 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 1.0168 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.56942 | ATRAZINE | . | 0.16 | 0.579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0168 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.83225 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.56474 | ATRAZINE | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83225 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.88169 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.2911 | ATRAZINE | . | 0.16 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88169 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.8261 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4405 | ATRAZINE | . | 0.16 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8261 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.95453 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5762 | ATRAZINE | . | 0.16 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95453 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.563 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4405 | ATRAZINE | E | 0.16 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.563 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 1.0153 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3048 | ATRAZINE | . | 0.16 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0153 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.85734 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5762 | ATRAZINE | . | 0.16 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85734 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.98577 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.4405 | ATRAZINE | . | 0.16 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98577 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.73759 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3048 | ATRAZINE | . | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73759 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86704 | 0.14085 | 0.86952 | 0.15967 | 0.11836
ATRAZINE | 4433 | 39630GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.84757 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.45306 | ATRAZINE | . | 0.2 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84757 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.012 | 0.16523 | 1.0104 | 0.33046 | 0.24496
ATRAZINE | 4433 | 39630GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0104 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.91153 | ATRAZINE | . | 0.2 | 0.921 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0104 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.012 | 0.16523 | 1.0104 | 0.33046 | 0.24496
ATRAZINE | 4433 | 39630GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.178 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.23344 | ATRAZINE | . | 0.2 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.178 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.012 | 0.16523 | 1.0104 | 0.33046 | 0.24496
ATRAZINE | 4433 | 39630GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.86264 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4208 | ATRAZINE | . | 0.16 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86264 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.86264 |  | 0.86264 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.846 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | ATRAZINE | . | 0.16 | 0.846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.846 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.885 | 0.055154 | 0.885 | 0.078 | 0.057821
ATRAZINE | 4433 | 39630GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.924 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | ATRAZINE | . | 0.16 | 0.924 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.924 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.885 | 0.055154 | 0.885 | 0.078 | 0.057821
ATRAZINE | 4433 | 39630GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.86502 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.4208 | ATRAZINE | . | 0.16 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86502 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.86502 |  | 0.86502 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.88286 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 1.05 | ATRAZINE | . | 0.16 | 0.927 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88286 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88286 |  | 0.88286 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86531 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2.0224 | ATRAZINE | . | 0.16 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86531 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86531 |  | 0.86531 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | ATRAZINE | . | 0.16 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79 |  | 0.79 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0617 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.2317 | ATRAZINE | . | 0.2 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0617 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86614 | 0.18953 | 0.88207 | 0.30447 | 0.2257
ATRAZINE | 4433 | 39630GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.7891 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.45495 | ATRAZINE | . | 0.2 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7891 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86614 | 0.18953 | 0.88207 | 0.30447 | 0.2257
ATRAZINE | 4433 | 39630GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.63871 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.93313 | ATRAZINE | . | 0.2 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63871 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86614 | 0.18953 | 0.88207 | 0.30447 | 0.2257
ATRAZINE | 4433 | 39630GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.97503 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.46973 | ATRAZINE | . | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97503 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86614 | 0.18953 | 0.88207 | 0.30447 | 0.2257
ATRAZINE | 4433 | 39630GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.61021 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | ATRAZINE | . | 0.2 | 0.583 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61021 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.66905 | 0.08322 | 0.66905 | 0.11769 | 0.087243
ATRAZINE | 4433 | 39630GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.7279 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | ATRAZINE | . | 0.2 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7279 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.66905 | 0.08322 | 0.66905 | 0.11769 | 0.087243
ATRAZINE | 4433 | 39630GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0581 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0112 | ATRAZINE | . | 0.16 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0581 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89794 | 0.22657 | 0.89794 | 0.32041 | 0.23752
ATRAZINE | 4433 | 39630GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.73774 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0112 | ATRAZINE | . | 0.16 | 0.746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73774 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89794 | 0.22657 | 0.89794 | 0.32041 | 0.23752
ATRAZINE | 4433 | 39630GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.78422 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 2.104 | ATRAZINE | E | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78422 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.78422 |  | 0.78422 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.87381 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.42 | ATRAZINE | . | 0.16 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87381 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87381 |  | 0.87381 | 0 | 0
ATRAZINE | 4433 | 39630GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.8025 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | ATRAZINE | . | 0.16 | 3.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8025 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8025 |  | 0.8025 | 0 | 0