## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZOPHENONE | 4433 | 62814GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.8459 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.29554 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8459 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.061 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.72571 | BENZOPHENONE | . | 0.08 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.061 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.91152 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.28524 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91152 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.91927 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.72884 | BENZOPHENONE | . | 0.08 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91927 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.86088 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2904 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86088 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.9814 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.1616 | BENZOPHENONE | . | 0.08 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9814 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.82645 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2904 | BENZOPHENONE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82645 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0055 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.726 | BENZOPHENONE | . | 0.08 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0055 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0675 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2904 | BENZOPHENONE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84022 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.726 | BENZOPHENONE | . | 0.08 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84022 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93197 | 0.091572 | 0.91539 | 0.15961 | 0.11832
BENZOPHENONE | 4433 | 62814GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.71746 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.352 | BENZOPHENONE | . | 0.08 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71746 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.71746 |  | 0.71746 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.85185 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.27 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85185 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85185 |  | 0.85185 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.80287 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.8096 | BENZOPHENONE | . | 0.08 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80287 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80287 |  | 0.80287 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.86462 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.4048 | BENZOPHENONE | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86462 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86462 |  | 0.86462 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.8456 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.28382 | BENZOPHENONE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8456 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.99472 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.28149 | BENZOPHENONE | E | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99472 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.90197 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1419 | BENZOPHENONE | . | 0.08 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90197 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.79387 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.718 | BENZOPHENONE | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79387 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.90529 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2872 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90529 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.5571 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.718 | BENZOPHENONE | E | 0.08 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5571 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.84436 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1488 | BENZOPHENONE | . | 0.08 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84436 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.94011 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2872 | BENZOPHENONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94011 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.91922 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.718 | BENZOPHENONE | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91922 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.9227 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.1488 | BENZOPHENONE | . | 0.08 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9227 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86249 | 0.12126 | 0.90363 | 0.078343 | 0.058075
BENZOPHENONE | 4433 | 62814GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.99705 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2708 | BENZOPHENONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99705 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.99705 |  | 0.99705 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0 | 0.85 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0 | 0.85 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.84934 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2708 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84934 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.84934 |  | 0.84934 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.81481 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.675 | BENZOPHENONE | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81481 |  | 0.81481 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86462 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.4048 | BENZOPHENONE | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86462 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86462 |  | 0.86462 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.4 | BENZOPHENONE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75 |  | 0.75 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.71173 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | BENZOPHENONE | . | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71173 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.81721 | 0.14917 | 0.81721 | 0.21095 | 0.15638
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.92269 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | BENZOPHENONE | E | 0.2 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92269 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81721 | 0.14917 | 0.81721 | 0.21095 | 0.15638
BENZOPHENONE | 4433 | 62814GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0673 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | BENZOPHENONE | . | 0.08 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0673 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0883 | 0.02978 | 1.0883 | 0.042115 | 0.031219
BENZOPHENONE | 4433 | 62814GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1094 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | BENZOPHENONE | . | 0.08 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1094 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0883 | 0.02978 | 1.0883 | 0.042115 | 0.031219
BENZOPHENONE | 4433 | 62814GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.84775 | Restek | A070024 | Restek A070024: 20 µl | 0.14155 | BENZOPHENONE | E | 0.2 | 0.12 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84775 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.75101 | 0.13831 | 0.81371 | 0.066986 | 0.049656
BENZOPHENONE | 4433 | 62814GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.82492 | Restek | A070024 | Restek A070024: 40 µl | 0.29094 | BENZOPHENONE | . | 0.2 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82492 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75101 | 0.13831 | 0.81371 | 0.066986 | 0.049656
BENZOPHENONE | 4433 | 62814GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.51077 | Restek | A070024 | Restek A070024: 80 µl | 0.56777 | BENZOPHENONE | E | 0.2 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51077 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75101 | 0.13831 | 0.81371 | 0.066986 | 0.049656
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.75793 | Restek | A070024 | Restek A070024: 20 µl | 0.14513 | BENZOPHENONE | E | 0.2 | 0.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75793 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.75101 | 0.13831 | 0.81371 | 0.066986 | 0.049656
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.81371 | Restek | A070024 | Restek A070024: 40 µl | 0.28266 | BENZOPHENONE | . | 0.2 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81371 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75101 | 0.13831 | 0.81371 | 0.066986 | 0.049656
BENZOPHENONE | 4433 | 62814GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.087 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2024 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96344 | 0.17468 | 0.96344 | 0.24704 | 0.18312
BENZOPHENONE | 4433 | 62814GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.83992 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2024 | BENZOPHENONE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83992 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96344 | 0.17468 | 0.96344 | 0.24704 | 0.18312
BENZOPHENONE | 4433 | 62814GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.74594 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.354 | BENZOPHENONE | . | 0.08 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74594 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.74594 |  | 0.74594 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.96296 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.27 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96296 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96296 |  | 0.96296 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.825 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 0.8 | BENZOPHENONE | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.825 |  | 0.825 | 0 | 0
BENZOPHENONE | 4433 | 62814GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.90079 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.28863 | BENZOPHENONE | . | 0.2 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90079 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82073 | 0.095014 | 0.84953 | 0.11433 | 0.084755
BENZOPHENONE | 4433 | 62814GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.855 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.14035 | BENZOPHENONE | E | 0.2 | 0.12 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.855 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.82073 | 0.095014 | 0.84953 | 0.11433 | 0.084755
BENZOPHENONE | 4433 | 62814GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.68306 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.2928 | BENZOPHENONE | E | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68306 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82073 | 0.095014 | 0.84953 | 0.11433 | 0.084755
BENZOPHENONE | 4433 | 62814GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.84407 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.60422 | BENZOPHENONE | E | 0.2 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84407 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82073 | 0.095014 | 0.84953 | 0.11433 | 0.084755