## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.16018 | Accu | 209081217 | Accu 209081217: 40 µl | 6.4301 | BETA-SITOSTEROL | E | 1.6 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16018 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.21677 | 0.080029 | 0.21677 | 0.11318 | 0.083898
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.27336 | Accu | 209081217 | Accu 209081217: 80 µl | 11.9622 | BETA-SITOSTEROL | E | 1.6 | 3.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27336 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.21677 | 0.080029 | 0.21677 | 0.11318 | 0.083898
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.46845 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 6.212 | BETA-SITOSTEROL | E | 4.8 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46845 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.46845 |  | 0.46845 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7348 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 23.68 | BETA-SITOSTEROL | E | 4.8 | 17.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7348 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.7348 |  | 0.7348 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.43137 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 6.12 | BETA-SITOSTEROL | E | 4.8 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43137 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.43137 |  | 0.43137 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.38437 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 61.66 | BETA-SITOSTEROL | E | 4.8 | 23.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38437 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.38437 |  | 0.38437 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.52872 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5.92 | BETA-SITOSTEROL | E | 4.8 | 3.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52872 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.76943 | 0.34041 | 0.76943 | 0.48142 | 0.35687
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0101 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5.92 | BETA-SITOSTEROL | E | 4.8 | 5.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.76943 | 0.34041 | 0.76943 | 0.48142 | 0.35687
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.7103 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 11.84 | BETA-SITOSTEROL | E | 4.8 | 8.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7103 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.7103 |  | 0.7103 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.40909 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.149 | BETA-SITOSTEROL | E | 1.6 | 4.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40909 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.99934 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.8932 | BETA-SITOSTEROL | E | 1.6 | 4.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99934 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.75 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.88 | BETA-SITOSTEROL | E | 1.6 | 3.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.68648 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.52 | BETA-SITOSTEROL | E | 1.6 | 13.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68648 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.57992 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.88 | BETA-SITOSTEROL | E | 4.8 | 2.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57992 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.31711 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.52 | BETA-SITOSTEROL | E | 4.8 | 6.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31711 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.74098 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.2 | BETA-SITOSTEROL | E | 4.8 | 9.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74098 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.39344 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.88 | BETA-SITOSTEROL | E | 4.8 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39344 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.82787 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 12.2 | BETA-SITOSTEROL | E | 4.8 | 10.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82787 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.56352 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 19.52 | BETA-SITOSTEROL | E | 4.8 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56352 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.62678 | 0.21472 | 0.6332 | 0.34091 | 0.25271
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.14275 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 11.6284 | BETA-SITOSTEROL | E | 1.6 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14275 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38377 | 0.19144 | 0.40662 | 0.29776 | 0.22073
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.48621 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 2.8588 | BETA-SITOSTEROL | E | 1.6 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48621 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38377 | 0.19144 | 0.40662 | 0.29776 | 0.22073
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.57908 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 5.8714 | BETA-SITOSTEROL | E | 1.6 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57908 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38377 | 0.19144 | 0.40662 | 0.29776 | 0.22073
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.32702 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 5.9934 | BETA-SITOSTEROL | E | 1.6 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32702 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38377 | 0.19144 | 0.40662 | 0.29776 | 0.22073
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.46732 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 6.12 | BETA-SITOSTEROL | E | 4.8 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46732 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.46732 |  | 0.46732 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0238 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 15.53 | BETA-SITOSTEROL | E | 4.8 | 15.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0238 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0238 |  | 1.0238 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.39189 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 5.92 | BETA-SITOSTEROL | E | 4.8 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39189 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.39189 |  | 0.39189 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77437 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 5.992 | BETA-SITOSTEROL | E | 4.8 | 4.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77437 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.77437 |  | 0.77437 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.14072 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 4.5979 | BETA-SITOSTEROL | E | 1.6 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14072 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.27167 | 0.1852 | 0.27167 | 0.26191 | 0.19415
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.40263 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 4.6942 | BETA-SITOSTEROL | E | 1.6 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40263 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.27167 | 0.1852 | 0.27167 | 0.26191 | 0.19415
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.50674 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.8678 | BETA-SITOSTEROL | E | 1.6 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50674 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.5618 | 0.077867 | 0.5618 | 0.11012 | 0.081631
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.61686 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 6.144 | BETA-SITOSTEROL | E | 4.8 | 3.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61686 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.5618 | 0.077867 | 0.5618 | 0.11012 | 0.081631
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.56742 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 23.968 | BETA-SITOSTEROL | E | 4.8 | 13.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56742 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.54197 | 0.035993 | 0.54197 | 0.050901 | 0.037733
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.51652 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 11.984 | BETA-SITOSTEROL | E | 4.8 | 6.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51652 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.54197 | 0.035993 | 0.54197 | 0.050901 | 0.037733
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.34045 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 23.968 | BETA-SITOSTEROL | E | 4.8 | 8.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34045 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.34045 |  | 0.34045 | 0 | 0
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.46388 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.9367 | BETA-SITOSTEROL | E | 1.6 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46388 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.61028 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.9485 | BETA-SITOSTEROL | E | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61028 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.81964 | Supelco | LB77171 | Supelco LB77171: 80 µl | 19.6429 | BETA-SITOSTEROL | E | 1.6 | 16.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81964 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.5404 | Supelco | LB77171 | Supelco LB77171: 80 µl | 19.8 | BETA-SITOSTEROL | E | 1.6 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5404 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.3596 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.95 | BETA-SITOSTEROL | E | 4.8 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3596 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.26182 | Supelco | LB77171 | Supelco LB77171: 50 µl | 12.375 | BETA-SITOSTEROL | E | 4.8 | 3.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26182 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.5697 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.95 | BETA-SITOSTEROL | E | 4.8 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5697 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.56566 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.95 | BETA-SITOSTEROL | E | 4.8 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56566 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52387 | 0.16832 | 0.55303 | 0.17825 | 0.13214
BETA-SITOSTEROL | 4433 | 62815GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.51235 | Supelco | LB92782 | Supelco LB92782: 20 µl | 5.992 | BETA-SITOSTEROL | E | 4.8 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51235 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.51235 |  | 0.51235 | 0 | 0