## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.20474 | Accu | 209081217 | Accu 209081217: 40 µl | 4.5521 | BETA-STIGMASTANOL | E | 1.7 | 0.932 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20474 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.28658 | 0.11574 | 0.28658 | 0.16369 | 0.12134
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.36842 | Accu | 209081217 | Accu 209081217: 80 µl | 8.4685 | BETA-STIGMASTANOL | E | 1.7 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36842 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.28658 | 0.11574 | 0.28658 | 0.16369 | 0.12134
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.36598 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 5.984 | BETA-STIGMASTANOL | E | 3.4 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36598 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.36598 |  | 0.36598 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.685 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 20 | BETA-STIGMASTANOL | E | 3.4 | 13.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.685 |  | 0.685 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.33333 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 5.82 | BETA-STIGMASTANOL | E | 3.4 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33333 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.33333 |  | 0.33333 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.26601 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 59.02 | BETA-STIGMASTANOL | E | 3.4 | 15.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26601 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.26601 |  | 0.26601 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.438 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.438 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.534 | 0.13576 | 0.534 | 0.192 | 0.14233
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.63 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 3.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.534 | 0.13576 | 0.534 | 0.192 | 0.14233
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.609 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 10 | BETA-STIGMASTANOL | E | 3.4 | 6.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.609 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.609 |  | 0.609 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.54716 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.7674 | BETA-STIGMASTANOL | E | 1.6 | 4.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54716 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.0165 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.1284 | BETA-STIGMASTANOL | E | 1.6 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.52564 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.12 | BETA-STIGMASTANOL | E | 1.6 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52564 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.66186 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 12.48 | BETA-STIGMASTANOL | E | 1.6 | 8.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66186 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.51282 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.12 | BETA-STIGMASTANOL | E | 3.4 | 1.6 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51282 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.26763 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 12.48 | BETA-STIGMASTANOL | E | 3.4 | 3.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26763 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.68462 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.8 | BETA-STIGMASTANOL | E | 3.4 | 5.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68462 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.36859 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 3.12 | BETA-STIGMASTANOL | E | 3.4 | 1.15 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.36859 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.76154 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 7.8 | BETA-STIGMASTANOL | E | 3.4 | 5.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76154 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.50561 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 12.48 | BETA-STIGMASTANOL | E | 3.4 | 6.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50561 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58519 | 0.21008 | 0.5364 | 0.17901 | 0.1327
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.12438 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 8.3616 | BETA-STIGMASTANOL | E | 1.7 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12438 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42063 | 0.21315 | 0.48963 | 0.31082 | 0.23041
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.57888 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 2.0557 | BETA-STIGMASTANOL | E | 1.7 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57888 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42063 | 0.21315 | 0.48963 | 0.31082 | 0.23041
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.5732 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.2219 | BETA-STIGMASTANOL | E | 1.7 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5732 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42063 | 0.21315 | 0.48963 | 0.31082 | 0.23041
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.40606 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.3097 | BETA-STIGMASTANOL | E | 1.7 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40606 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.42063 | 0.21315 | 0.48963 | 0.31082 | 0.23041
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.47938 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 5.82 | BETA-STIGMASTANOL | E | 3.4 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47938 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.47938 |  | 0.47938 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.74198 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 14.96 | BETA-STIGMASTANOL | E | 3.4 | 11.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74198 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.74198 |  | 0.74198 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.328 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 5 | BETA-STIGMASTANOL | E | 3.4 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.328 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.328 |  | 0.328 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.70032 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 5.012 | BETA-STIGMASTANOL | E | 3.4 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70032 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.70032 |  | 0.70032 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.15574 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.1943 | BETA-STIGMASTANOL | E | 1.7 | 0.186 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.15574 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.30547 | 0.21174 | 0.30547 | 0.29945 | 0.22198
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.45519 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.2193 | BETA-STIGMASTANOL | E | 1.7 | 0.555 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.45519 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.30547 | 0.21174 | 0.30547 | 0.29945 | 0.22198
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.22834 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.0073 | BETA-STIGMASTANOL | E | 1.6 | 0.23 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.22834 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.31417 | 0.12138 | 0.31417 | 0.17166 | 0.12725
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.4 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.6 | BETA-STIGMASTANOL | E | 3.4 | 0.64 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.31417 | 0.12138 | 0.31417 | 0.17166 | 0.12725
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.39755 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 20.048 | BETA-STIGMASTANOL | E | 3.4 | 7.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.41076 | 0.018693 | 0.41076 | 0.026437 | 0.019597
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.42398 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 10.024 | BETA-STIGMASTANOL | E | 3.4 | 4.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42398 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.41076 | 0.018693 | 0.41076 | 0.026437 | 0.019597
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.30527 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 20.048 | BETA-STIGMASTANOL | E | 3.4 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30527 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.30527 |  | 0.30527 | 0 | 0
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.64455 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.4287 | BETA-STIGMASTANOL | E | 1.6 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64455 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.59646 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.437 | BETA-STIGMASTANOL | E | 1.6 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59646 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.79162 | Supelco | LB77171 | Supelco LB77171: 80 µl | 13.6429 | BETA-STIGMASTANOL | E | 1.6 | 10.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79162 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.67481 | Supelco | LB77171 | Supelco LB77171: 80 µl | 13.752 | BETA-STIGMASTANOL | E | 1.6 | 9.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.2356 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.438 | BETA-STIGMASTANOL | E | 3.4 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2356 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.24084 | Supelco | LB77171 | Supelco LB77171: 50 µl | 8.595 | BETA-STIGMASTANOL | E | 3.4 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24084 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.50029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.438 | BETA-STIGMASTANOL | E | 3.4 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50029 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.44793 | Supelco | LB77171 | Supelco LB77171: 20 µl | 3.438 | BETA-STIGMASTANOL | E | 3.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44793 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51651 | 0.20121 | 0.54837 | 0.31529 | 0.23372
BETA-STIGMASTANOL | 4433 | 61948GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.43496 | Supelco | LB92782 | Supelco LB92782: 20 µl | 5.012 | BETA-STIGMASTANOL | E | 3.4 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43496 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.43496 |  | 0.43496 | 0 | 0