## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 2.9954 | Accu | 209081217 | Accu 209081217: 20 µl | 0.85463 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.56 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 1 | 2 |  | 2 | 0 | 0 | 2
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.49552 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 4.016 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49552 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.49552 |  | 0.49552 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.74121 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 15.92 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 11.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74121 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74121 |  | 0.74121 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.47236 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47236 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.47236 |  | 0.47236 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.27264 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 39.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 10.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27264 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.27264 |  | 0.27264 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.46985 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46985 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.53141 | 0.087056 | 0.53141 | 0.12312 | 0.091264
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.59296 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 2.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59296 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.53141 | 0.087056 | 0.53141 | 0.12312 | 0.091264
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.57286 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 7.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57286 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.57286 |  | 0.57286 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.46231 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 10.5557 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46231 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.67976 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.2515 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67976 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.56132 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.24 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56132 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.6309 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 16.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6309 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.59434 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.24 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59434 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.39387 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 16.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39387 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.59057 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 10.6 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59057 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.4717 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 4.24 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4717 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.61132 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 10.6 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 6.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61132 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.55778 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 16.96 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 9.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55778 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.55539 | 0.087465 | 0.57594 | 0.13962 | 0.1035
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.36197 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 3.4257 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36197 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92558 | 0.73309 | 0.67017 | 0.88885 | 0.6589
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 2.2678 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.84221 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.91 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92558 | 0.73309 | 0.67017 | 0.88885 | 0.6589 | 2
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.74001 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.7297 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74001 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92558 | 0.73309 | 0.67017 | 0.88885 | 0.6589
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.60034 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.7657 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.06 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.60034 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92558 | 0.73309 | 0.67017 | 0.88885 | 0.6589
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.56281 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56281 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.56281 |  | 0.56281 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75797 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 10.04 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 7.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75797 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.75797 |  | 0.75797 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.48241 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 3.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48241 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.48241 |  | 0.48241 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.61876 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 4.008 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61876 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.61876 |  | 0.61876 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.56939 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 0.136 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.56939 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 1 | 0.56939 |  | 0.56939 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.44973 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 16.032 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 7.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44973 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.52052 | 0.10012 | 0.52052 | 0.14159 | 0.10496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.59132 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 8.016 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59132 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.52052 | 0.10012 | 0.52052 | 0.14159 | 0.10496
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.34868 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 16.032 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 5.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34868 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.34868 |  | 0.34868 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.5136 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.2445 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5136 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.54592 | Supelco | LB77171 | Supelco LB77171: 80 µl | 16.8889 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 9.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54592 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.62852 | Supelco | LB77171 | Supelco LB77171: 80 µl | 17.024 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62852 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0902 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.256 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0902 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.31673 | Supelco | LB77171 | Supelco LB77171: 50 µl | 10.64 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31673 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.67669 | Supelco | LB77171 | Supelco LB77171: 20 µl | 4.256 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67669 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.62862 | 0.25797 | 0.58722 | 0.16309 | 0.1209
BIS(2-ETHYLHEXYL) PHTHALATE | 4433 | 39100GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.55888 | Supelco | LB92782 | Supelco LB92782: 20 µl | 4.008 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55888 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.55888 |  | 0.55888 | 0 | 0