## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BISPHENOL A | 4433 | 62816GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.35689 | Accu | 209081217 | Accu 209081217: 20 µl | 0.45953 | BISPHENOL_A | E | 0.4 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35689 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.59601 | 0.23321 | 0.60831 | 0.46594 | 0.3454
BISPHENOL A | 4433 | 62816GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.60831 | Accu | 209081217 | Accu 209081217: 40 µl | 1.0061 | BISPHENOL_A | . | 0.4 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60831 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.59601 | 0.23321 | 0.60831 | 0.46594 | 0.3454
BISPHENOL A | 4433 | 62816GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.82282 | Accu | 209081217 | Accu 209081217: 80 µl | 1.8716 | BISPHENOL_A | E | 0.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82282 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.59601 | 0.23321 | 0.60831 | 0.46594 | 0.3454
BISPHENOL A | 4433 | 62816GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.80086 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.5983 | BISPHENOL_A | . | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80086 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.28 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.64374 | BISPHENOL_A | . | 0.04 | 0.824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.71495 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.642 | BISPHENOL_A | . | 0.04 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71495 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.88006 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.568 | BISPHENOL_A | . | 0.04 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88006 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.97508 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.642 | BISPHENOL_A | . | 0.04 | 0.626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97508 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.90343 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.568 | BISPHENOL_A | . | 0.04 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90343 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.99688 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.605 | BISPHENOL_A | . | 0.04 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99688 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.014 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.642 | BISPHENOL_A | . | 0.04 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.014 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.98442 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.605 | BISPHENOL_A | . | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98442 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.92679 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.568 | BISPHENOL_A | . | 0.04 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92679 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94765 | 0.14984 | 0.95093 | 0.11682 | 0.086599
BISPHENOL A | 4433 | 62816GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.49349 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.844 | BISPHENOL_A | . | 0.4 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49349 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78804 | 0.24844 | 0.79774 | 0.39092 | 0.28979
BISPHENOL A | 4433 | 62816GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0632 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.45335 | BISPHENOL_A | E | 0.4 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0632 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.78804 | 0.24844 | 0.79774 | 0.39092 | 0.28979
BISPHENOL A | 4433 | 62816GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.69168 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.93107 | BISPHENOL_A | . | 0.4 | 0.644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69168 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78804 | 0.24844 | 0.79774 | 0.39092 | 0.28979
BISPHENOL A | 4433 | 62816GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.9038 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.95043 | BISPHENOL_A | . | 0.4 | 0.859 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9038 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78804 | 0.24844 | 0.79774 | 0.39092 | 0.28979
BISPHENOL A | 4433 | 62816GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.88235 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.88235 |  | 0.88235 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.90118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.425 | BISPHENOL_A | . | 0.04 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90118 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90118 |  | 0.90118 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.62941 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62941 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.62941 |  | 0.62941 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.82588 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.425 | BISPHENOL_A | . | 0.04 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82588 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82588 |  | 0.82588 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.574 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.574 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.574 |  | 0.574 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.936 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | BISPHENOL_A | . | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.936 |  | 0.936 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.584 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.584 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.584 |  | 0.584 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.144 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | BISPHENOL_A | E | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.144 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.144 |  | 1.144 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.73685 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | BISPHENOL_A | E | 0.4 | 0.176 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73685 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.80722 | 0.099508 | 0.80722 | 0.14072 | 0.10432
BISPHENOL A | 4433 | 62816GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.87758 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | BISPHENOL_A | E | 0.4 | 0.214 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87758 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.80722 | 0.099508 | 0.80722 | 0.14072 | 0.10432
BISPHENOL A | 4433 | 62816GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.3432 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.17123 | BISPHENOL_A | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3432 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2653 | 0.1101 | 1.2653 | 0.1557 | 0.11542
BISPHENOL A | 4433 | 62816GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.272 | BISPHENOL_A | . | 0.04 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2653 | 0.1101 | 1.2653 | 0.1557 | 0.11542
BISPHENOL A | 4433 | 62816GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.076 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | BISPHENOL_A | . | 0.04 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83 | 0.3479 | 0.83 | 0.492 | 0.36471
BISPHENOL A | 4433 | 62816GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.584 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | BISPHENOL_A | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.584 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83 | 0.3479 | 0.83 | 0.492 | 0.36471
BISPHENOL A | 4433 | 62816GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.755 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | BISPHENOL_A | . | 0.04 | 0.755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7585 | 0.0049497 | 0.7585 | 0.007 | 0.005189
BISPHENOL A | 4433 | 62816GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.762 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | BISPHENOL_A | . | 0.04 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.762 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7585 | 0.0049497 | 0.7585 | 0.007 | 0.005189
BISPHENOL A | 4433 | 62816GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.47882 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.85 | BISPHENOL_A | . | 0.04 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47882 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.47882 |  | 0.47882 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.60588 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.17 | BISPHENOL_A | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60588 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.60588 |  | 0.60588 | 0 | 0
BISPHENOL A | 4433 | 62816GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.73285 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64406 | BISPHENOL_A | . | 0.04 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73285 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.90612 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64561 | BISPHENOL_A | E | 0.04 | 0.585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90612 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.71799 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5627 | BISPHENOL_A | E | 0.04 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71799 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.81295 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5832 | BISPHENOL_A | . | 0.04 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81295 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.80211 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6458 | BISPHENOL_A | . | 0.04 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80211 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.72468 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.6145 | BISPHENOL_A | . | 0.04 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72468 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.71075 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6458 | BISPHENOL_A | . | 0.04 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71075 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291
BISPHENOL A | 4433 | 62816GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.87334 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6458 | BISPHENOL_A | . | 0.04 | 0.564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87334 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.075507 | 0.76748 | 0.1218 | 0.090291