## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMACIL | 4433 | 30234GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.59424 | Accu | 209081217 | Accu 209081217: 20 µl | 1.0602 | BROMACIL | E | 0.8 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59424 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.71795 | 0.10749 | 0.7712 | 0.19419 | 0.14395
BROMACIL | 4433 | 30234GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.78843 | Accu | 209081217 | Accu 209081217: 40 µl | 2.3211 | BROMACIL | E | 0.8 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78843 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.71795 | 0.10749 | 0.7712 | 0.19419 | 0.14395
BROMACIL | 4433 | 30234GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.7712 | Accu | 209081217 | Accu 209081217: 80 µl | 4.318 | BROMACIL | E | 0.8 | 3.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7712 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.71795 | 0.10749 | 0.7712 | 0.19419 | 0.14395
BROMACIL | 4433 | 30234GCM99 | 2013-08-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.68923 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 2.452 | BROMACIL | . | 0.16 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68923 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.68923 |  | 0.68923 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-10-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.71633 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.49 | BROMACIL | . | 0.16 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71633 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71633 |  | 0.71633 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-02-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.7713 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0096 | BROMACIL | . | 0.16 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7713 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7713 |  | 0.7713 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-05-30 | 2011-02-01 | 2050-09-30 | ug/L | 0.94646 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0048 | BROMACIL | . | 0.16 | 0.951 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94646 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94646 |  | 0.94646 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-12-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.95355 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4908 | BROMACIL | . | 0.16 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95355 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.95355 |  | 0.95355 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2012-08-24 | 2011-02-01 | 2050-09-30 | ug/L | 0.896 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | BROMACIL | . | 0.16 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.896 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.959 | 0.089095 | 0.959 | 0.126 | 0.093403
BROMACIL | 4433 | 30234GCM99 | 2012-12-18 | 2011-02-01 | 2050-09-30 | ug/L | 1.022 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | BROMACIL | . | 0.16 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.959 | 0.089095 | 0.959 | 0.126 | 0.093403
BROMACIL | 4433 | 30234GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.78196 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 2.4298 | BROMACIL | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78196 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2011-04-14 | 2011-02-01 | 2050-09-30 | ug/L | 1.0831 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.97864 | BROMACIL | . | 0.16 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0831 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2011-07-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.79098 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.976 | BROMACIL | . | 0.16 | 0.772 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79098 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2011-08-17 | 2011-02-01 | 2050-09-30 | ug/L | 0.94262 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.904 | BROMACIL | . | 0.16 | 3.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94262 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2011-11-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.88627 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.976 | BROMACIL | . | 0.16 | 0.865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88627 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2012-01-16 | 2011-02-01 | 2050-09-30 | ug/L | 1.0476 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.904 | BROMACIL | . | 0.16 | 4.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0476 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2012-03-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.87295 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 2.44 | BROMACIL | . | 0.16 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87295 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2012-03-07 | 2011-02-01 | 2050-09-30 | ug/L | 1.0451 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.976 | BROMACIL | . | 0.16 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0451 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2012-04-10 | 2011-02-01 | 2050-09-30 | ug/L | 0.90164 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 2.44 | BROMACIL | . | 0.16 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90164 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2012-07-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.97592 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.904 | BROMACIL | . | 0.16 | 3.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97592 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.93282 | 0.10538 | 0.92213 | 0.17213 | 0.1276
BROMACIL | 4433 | 30234GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.68909 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 4.1649 | BROMACIL | . | 0.8 | 2.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68909 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83087 | 0.1308 | 0.81423 | 0.16209 | 0.12015
BROMACIL | 4433 | 30234GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0059 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.0239 | BROMACIL | . | 0.8 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0059 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83087 | 0.1308 | 0.81423 | 0.16209 | 0.12015
BROMACIL | 4433 | 30234GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.8179 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1029 | BROMACIL | . | 0.8 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8179 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83087 | 0.1308 | 0.81423 | 0.16209 | 0.12015
BROMACIL | 4433 | 30234GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.81056 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1467 | BROMACIL | . | 0.8 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81056 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83087 | 0.1308 | 0.81423 | 0.16209 | 0.12015
BROMACIL | 4433 | 30234GCM99 | 2013-09-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.89242 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.4908 | BROMACIL | . | 0.16 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89242 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.89242 |  | 0.89242 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-06-12 | 2011-02-01 | 2050-09-30 | ug/L | 0.84898 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 1.225 | BROMACIL | . | 0.16 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84898 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84898 |  | 0.84898 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2012-12-12 | 2011-02-01 | 2050-09-30 | ug/L | 0.79021 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0048 | BROMACIL | . | 0.16 | 0.794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79021 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79021 |  | 0.79021 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2012-12-20 | 2011-02-01 | 2050-09-30 | ug/L | 0.655 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | BROMACIL | . | 0.16 | 0.655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.655 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.655 |  | 0.655 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.7222 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | BROMACIL | E | 0.8 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7222 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81219 | 0.12727 | 0.81219 | 0.17998 | 0.13342
BROMACIL | 4433 | 30234GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.90218 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | BROMACIL | E | 0.8 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90218 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81219 | 0.12727 | 0.81219 | 0.17998 | 0.13342
BROMACIL | 4433 | 30234GCM99 | 2011-05-19 | 2011-02-01 | 2050-09-30 | ug/L | 1.1703 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | BROMACIL | . | 0.16 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1703 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0695 | 0.14249 | 1.0695 | 0.20151 | 0.14938
BROMACIL | 4433 | 30234GCM99 | 2011-10-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.96875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | BROMACIL | . | 0.16 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0695 | 0.14249 | 1.0695 | 0.20151 | 0.14938
BROMACIL | 4433 | 30234GCM99 | 2012-07-31 | 2011-02-01 | 2050-09-30 | ug/L | 0.98726 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5024 | BROMACIL | . | 0.16 | 0.496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98726 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82305 | 0.23223 | 0.82305 | 0.32842 | 0.24346
BROMACIL | 4433 | 30234GCM99 | 2013-03-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.65884 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5024 | BROMACIL | . | 0.16 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65884 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82305 | 0.23223 | 0.82305 | 0.32842 | 0.24346
BROMACIL | 4433 | 30234GCM99 | 2013-08-01 | 2011-02-01 | 2050-09-30 | ug/L | 0.49307 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 2.454 | BROMACIL | . | 0.16 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49307 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.49307 |  | 0.49307 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-11-14 | 2011-02-01 | 2050-09-30 | ug/L | 0.82041 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.49 | BROMACIL | . | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82041 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82041 |  | 0.82041 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2013-03-28 | 2011-02-01 | 2050-09-30 | ug/L | 0.715 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | BROMACIL | . | 0.16 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.715 |  | 0.715 | 0 | 0
BROMACIL | 4433 | 30234GCM99 | 2011-02-03 | 2011-02-01 | 2050-09-30 | ug/L | 0.86799 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.98733 | BROMACIL | . | 0.16 | 0.857 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86799 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2011-04-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.75982 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.9897 | BROMACIL | . | 0.16 | 0.752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75982 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2011-06-29 | 2011-02-01 | 2050-09-30 | ug/L | 0.74582 | Supelco | LB77171 | Supelco LB77171: 80 µl | 3.9286 | BROMACIL | . | 0.16 | 2.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74582 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2011-08-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.80051 | Supelco | LB77171 | Supelco LB77171: 80 µl | 3.96 | BROMACIL | . | 0.16 | 3.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80051 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2011-10-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.98384 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.99 | BROMACIL | . | 0.16 | 0.974 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98384 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2011-11-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.73131 | Supelco | LB77171 | Supelco LB77171: 50 µl | 2.475 | BROMACIL | . | 0.16 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73131 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2012-03-01 | 2011-02-01 | 2050-09-30 | ug/L | 0.81313 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.99 | BROMACIL | . | 0.16 | 0.805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81313 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042
BROMACIL | 4433 | 30234GCM99 | 2012-07-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.77172 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.99 | BROMACIL | . | 0.16 | 0.764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77172 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80927 | 0.082784 | 0.78611 | 0.087742 | 0.065042