## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOFORM | 4433 | 32104GCM99 | 2011-02-17 | 2011-02-01 | 2050-09-30 | ug/L | 0.79101 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25158 | BROMOFORM | . | 0.16 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79101 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-04-15 | 2011-02-01 | 2050-09-30 | ug/L | 0.98421 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.61775 | BROMOFORM | . | 0.16 | 0.608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98421 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-05-03 | 2011-02-01 | 2050-09-30 | ug/L | 0.8896 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24281 | BROMOFORM | . | 0.16 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8896 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-07-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.8188 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62042 | BROMOFORM | . | 0.16 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8188 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-08-16 | 2011-02-01 | 2050-09-30 | ug/L | 0.82524 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2472 | BROMOFORM | . | 0.16 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82524 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-11-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.90918 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9888 | BROMOFORM | . | 0.16 | 0.899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90918 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2011-12-08 | 2011-02-01 | 2050-09-30 | ug/L | 0.80097 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2472 | BROMOFORM | . | 0.16 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80097 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2012-03-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.98706 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.618 | BROMOFORM | . | 0.16 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98706 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2012-04-10 | 2011-02-01 | 2050-09-30 | ug/L | 0.96683 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2472 | BROMOFORM | . | 0.16 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96683 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2012-05-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.77994 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.618 | BROMOFORM | . | 0.16 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77994 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87528 | 0.082666 | 0.85742 | 0.16586 | 0.12295
BROMOFORM | 4433 | 32104GCM99 | 2013-10-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.82212 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.4014 | BROMOFORM | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82212 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82212 |  | 0.82212 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-02-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.80745 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.6224 | BROMOFORM | . | 0.16 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80745 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80745 |  | 0.80745 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-05-30 | 2011-02-01 | 2050-09-30 | ug/L | 0.85922 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.8112 | BROMOFORM | . | 0.16 | 0.697 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85922 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85922 |  | 0.85922 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.75293 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24172 | BROMOFORM | . | 0.16 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75293 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-02-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.85095 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.23973 | BROMOFORM | . | 0.16 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85095 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-06-28 | 2011-02-01 | 2050-09-30 | ug/L | 0.87192 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.97256 | BROMOFORM | . | 0.16 | 0.848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87192 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-08-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.65904 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6115 | BROMOFORM | . | 0.16 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65904 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2011-08-17 | 2011-02-01 | 2050-09-30 | ug/L | 0.85446 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2446 | BROMOFORM | . | 0.16 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85446 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-02-01 | 2011-02-01 | 2050-09-30 | ug/L | 0.5789 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6115 | BROMOFORM | E | 0.16 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5789 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-03-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.89738 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9784 | BROMOFORM | . | 0.16 | 0.878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89738 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-03-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.85854 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2446 | BROMOFORM | . | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85854 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-05-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.852 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6115 | BROMOFORM | . | 0.16 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2012-05-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.7686 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9784 | BROMOFORM | . | 0.16 | 0.752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7686 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79447 | 0.10435 | 0.85147 | 0.10562 | 0.078294
BROMOFORM | 4433 | 32104GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.65803 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.29178 | BROMOFORM | E | 0.2 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65803 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.72248 | 0.094889 | 0.67797 | 0.17341 | 0.12855
BROMOFORM | 4433 | 32104GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.67797 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.58705 | BROMOFORM | . | 0.2 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67797 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.72248 | 0.094889 | 0.67797 | 0.17341 | 0.12855
BROMOFORM | 4433 | 32104GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.83144 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.15034 | BROMOFORM | E | 0.2 | 0.125 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83144 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.72248 | 0.094889 | 0.67797 | 0.17341 | 0.12855
BROMOFORM | 4433 | 32104GCM99 | 2013-12-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.91162 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.396 | BROMOFORM | . | 0.16 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91162 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.91162 |  | 0.91162 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-08-15 | 2011-02-01 | 2050-09-30 | ug/L | 0.78505 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 3.987 | BROMOFORM | E | 0.16 | 3.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78505 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.78505 |  | 0.78505 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-08-24 | 2011-02-01 | 2050-09-30 | ug/L | 0.845 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.4 | BROMOFORM | . | 0.16 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.845 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8425 | 0.0035355 | 0.8425 | 0.005 | 0.0037064
BROMOFORM | 4433 | 32104GCM99 | 2012-12-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.84 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.4 | BROMOFORM | . | 0.16 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8425 | 0.0035355 | 0.8425 | 0.005 | 0.0037064
BROMOFORM | 4433 | 32104GCM99 | 2013-11-14 | 2011-02-01 | 2050-09-30 | ug/L | 0.7904 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.396 | BROMOFORM | . | 0.16 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7904 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7904 |  | 0.7904 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2013-06-14 | 2011-02-01 | 2050-09-30 | ug/L | 0.9427 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.0035 | BROMOFORM | . | 0.16 | 0.946 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9427 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9427 |  | 0.9427 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-12-12 | 2011-02-01 | 2050-09-30 | ug/L | 0.80621 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.8112 | BROMOFORM | . | 0.16 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80621 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80621 |  | 0.80621 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2012-12-20 | 2011-02-01 | 2050-09-30 | ug/L | 0.8175 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.8 | BROMOFORM | . | 0.16 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8175 |  | 0.8175 | 0 | 0
BROMOFORM | 4433 | 32104GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.514 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.14981 | BROMOFORM | E | 0.2 | 0.077 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.514 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.5878 | 0.093269 | 0.55727 | 0.12161 | 0.090147
BROMOFORM | 4433 | 32104GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.57454 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.29415 | BROMOFORM | E | 0.2 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57454 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5878 | 0.093269 | 0.55727 | 0.12161 | 0.090147
BROMOFORM | 4433 | 32104GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72267 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.60332 | BROMOFORM | . | 0.2 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72267 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5878 | 0.093269 | 0.55727 | 0.12161 | 0.090147
BROMOFORM | 4433 | 32104GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.54 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.30371 | BROMOFORM | E | 0.2 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5878 | 0.093269 | 0.55727 | 0.12161 | 0.090147
BROMOFORM | 4433 | 32104GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66777 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | BROMOFORM | . | 0.2 | 0.638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66777 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.71014 | 0.059913 | 0.71014 | 0.08473 | 0.062809
BROMOFORM | 4433 | 32104GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.7525 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | BROMOFORM | . | 0.2 | 0.734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7525 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.71014 | 0.059913 | 0.71014 | 0.08473 | 0.062809
BROMOFORM | 4433 | 32104GCM99 | 2011-05-19 | 2011-02-01 | 2050-09-30 | ug/L | 1.0325 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | BROMOFORM | . | 0.16 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0514 | 0.026729 | 1.0514 | 0.037801 | 0.028021
BROMOFORM | 4433 | 32104GCM99 | 2011-10-18 | 2011-02-01 | 2050-09-30 | ug/L | 1.0703 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | BROMOFORM | . | 0.16 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0703 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0514 | 0.026729 | 1.0514 | 0.037801 | 0.028021
BROMOFORM | 4433 | 32104GCM99 | 2012-07-31 | 2011-02-01 | 2050-09-30 | ug/L | 0.95661 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.4056 | BROMOFORM | . | 0.16 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95661 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85922 | 0.13773 | 0.85922 | 0.19477 | 0.14438
BROMOFORM | 4433 | 32104GCM99 | 2013-03-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.76183 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.4056 | BROMOFORM | . | 0.16 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76183 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85922 | 0.13773 | 0.85922 | 0.19477 | 0.14438
BROMOFORM | 4433 | 32104GCM99 | 2013-03-28 | 2011-02-01 | 2050-09-30 | ug/L | 0.76875 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1.6 | BROMOFORM | . | 0.16 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76875 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76875 |  | 0.76875 | 0 | 0