## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CAFFEINE | 4433 | 81436GCM99 | 2013-08-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.66958 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.8005 | CAFFEINE | . | 0.08 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66958 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.66958 |  | 0.66958 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-10-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.8 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.16 | CAFFEINE | . | 0.08 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-02-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.82928 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.8224 | CAFFEINE | . | 0.08 | 0.682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82928 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82928 |  | 0.82928 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-05-30 | 2011-02-01 | 2050-09-30 | ug/L | 0.93872 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.4112 | CAFFEINE | . | 0.08 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93872 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93872 |  | 0.93872 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-12-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.88015 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1602 | CAFFEINE | . | 0.08 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88015 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.88015 |  | 0.88015 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2012-08-24 | 2011-02-01 | 2050-09-30 | ug/L | 0.73 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | CAFFEINE | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.805 | 0.10607 | 0.805 | 0.15 | 0.11119
CAFFEINE | 4433 | 81436GCM99 | 2012-12-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.88 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.2 | CAFFEINE | . | 0.08 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.805 | 0.10607 | 0.805 | 0.15 | 0.11119
CAFFEINE | 4433 | 81436GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.69113 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.6929 | CAFFEINE | . | 0.08 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69113 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-04-14 | 2011-02-01 | 2050-09-30 | ug/L | 1.009 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68184 | CAFFEINE | . | 0.08 | 0.688 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.009 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-07-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.725 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68 | CAFFEINE | . | 0.08 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-08-17 | 2011-02-01 | 2050-09-30 | ug/L | 0.90441 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.72 | CAFFEINE | . | 0.08 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90441 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2011-11-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.8 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68 | CAFFEINE | . | 0.08 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-01-16 | 2011-02-01 | 2050-09-30 | ug/L | 0.76103 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.72 | CAFFEINE | . | 0.08 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76103 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-03-06 | 2011-02-01 | 2050-09-30 | ug/L | 0.85882 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.7 | CAFFEINE | . | 0.08 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85882 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-03-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.84853 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.68 | CAFFEINE | . | 0.08 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84853 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-04-10 | 2011-02-01 | 2050-09-30 | ug/L | 0.92941 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.7 | CAFFEINE | . | 0.08 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92941 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2012-07-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.875 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.72 | CAFFEINE | . | 0.08 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84024 | 0.09752 | 0.85368 | 0.14338 | 0.10629
CAFFEINE | 4433 | 81436GCM99 | 2013-09-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.89263 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1602 | CAFFEINE | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89263 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.89263 |  | 0.89263 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-06-12 | 2011-02-01 | 2050-09-30 | ug/L | 0.82 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.4 | CAFFEINE | . | 0.08 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82 |  | 0.82 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2012-12-12 | 2011-02-01 | 2050-09-30 | ug/L | 0.74903 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.4112 | CAFFEINE | . | 0.08 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74903 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74903 |  | 0.74903 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2012-12-20 | 2011-02-01 | 2050-09-30 | ug/L | 0.66 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.4 | CAFFEINE | . | 0.08 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.66 |  | 0.66 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.43541 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | CAFFEINE | . | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43541 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.65445 | 0.30976 | 0.65445 | 0.43806 | 0.32473
CAFFEINE | 4433 | 81436GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.87348 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | CAFFEINE | . | 0.2 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87348 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.65445 | 0.30976 | 0.65445 | 0.43806 | 0.32473
CAFFEINE | 4433 | 81436GCM99 | 2011-05-19 | 2011-02-01 | 2050-09-30 | ug/L | 0.95061 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | CAFFEINE | . | 0.08 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95061 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91515 | 0.050147 | 0.91515 | 0.070918 | 0.052571
CAFFEINE | 4433 | 81436GCM99 | 2011-10-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.87969 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAFFEINE | . | 0.08 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87969 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91515 | 0.050147 | 0.91515 | 0.070918 | 0.052571
CAFFEINE | 4433 | 81436GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.73169 | Restek | A070024 | Restek A070024: 20 µl | 0.36764 | CAFFEINE | . | 0.2 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73169 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.70166 | 0.1734 | 0.73169 | 0.097191 | 0.072047
CAFFEINE | 4433 | 81436GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72522 | Restek | A070024 | Restek A070024: 40 µl | 0.75563 | CAFFEINE | . | 0.2 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72522 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.70166 | 0.1734 | 0.73169 | 0.097191 | 0.072047
CAFFEINE | 4433 | 81436GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.40349 | Restek | A070024 | Restek A070024: 80 µl | 1.4746 | CAFFEINE | E | 0.2 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40349 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.70166 | 0.1734 | 0.73169 | 0.097191 | 0.072047
CAFFEINE | 4433 | 81436GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.82241 | Restek | A070024 | Restek A070024: 20 µl | 0.37694 | CAFFEINE | . | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82241 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.70166 | 0.1734 | 0.73169 | 0.097191 | 0.072047
CAFFEINE | 4433 | 81436GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.82547 | Restek | A070024 | Restek A070024: 40 µl | 0.73413 | CAFFEINE | . | 0.2 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82547 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.70166 | 0.1734 | 0.73169 | 0.097191 | 0.072047
CAFFEINE | 4433 | 81436GCM99 | 2012-07-31 | 2011-02-01 | 2050-09-30 | ug/L | 0.98249 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2056 | CAFFEINE | . | 0.08 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98249 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7928 | 0.26826 | 0.7928 | 0.37938 | 0.28123
CAFFEINE | 4433 | 81436GCM99 | 2013-03-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.60311 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2056 | CAFFEINE | . | 0.08 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60311 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7928 | 0.26826 | 0.7928 | 0.37938 | 0.28123
CAFFEINE | 4433 | 81436GCM99 | 2013-08-01 | 2011-02-01 | 2050-09-30 | ug/L | 0.38702 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.801 | CAFFEINE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38702 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.38702 |  | 0.38702 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-11-14 | 2011-02-01 | 2050-09-30 | ug/L | 0.95625 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.16 | CAFFEINE | . | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95625 |  | 0.95625 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2013-03-28 | 2011-02-01 | 2050-09-30 | ug/L | 0.64375 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 0.8 | CAFFEINE | . | 0.08 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64375 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64375 |  | 0.64375 | 0 | 0
CAFFEINE | 4433 | 81436GCM99 | 2011-02-03 | 2011-02-01 | 2050-09-30 | ug/L | 0.66172 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.68156 | CAFFEINE | . | 0.08 | 0.451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66172 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-04-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.9075 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.68319 | CAFFEINE | . | 0.08 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9075 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-06-29 | 2011-02-01 | 2050-09-30 | ug/L | 0.80018 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.7119 | CAFFEINE | . | 0.08 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80018 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-08-07 | 2011-02-01 | 2050-09-30 | ug/L | 0.76456 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.7336 | CAFFEINE | . | 0.08 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76456 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-10-04 | 2011-02-01 | 2050-09-30 | ug/L | 0.81358 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6834 | CAFFEINE | . | 0.08 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81358 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2011-11-22 | 2011-02-01 | 2050-09-30 | ug/L | 0.65555 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.7085 | CAFFEINE | . | 0.08 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65555 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2012-03-01 | 2011-02-01 | 2050-09-30 | ug/L | 0.87065 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6834 | CAFFEINE | . | 0.08 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2012-07-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.95698 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6834 | CAFFEINE | . | 0.08 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95698 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80384 | 0.10856 | 0.80688 | 0.17594 | 0.13042
CAFFEINE | 4433 | 81436GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.66431 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.74965 | CAFFEINE | . | 0.2 | 0.498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66431 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61401 | 0.07436 | 0.64273 | 0.099018 | 0.073401
CAFFEINE | 4433 | 81436GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.62273 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.36452 | CAFFEINE | . | 0.2 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62273 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61401 | 0.07436 | 0.64273 | 0.099018 | 0.073401
CAFFEINE | 4433 | 81436GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.50626 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.76047 | CAFFEINE | . | 0.2 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50626 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61401 | 0.07436 | 0.64273 | 0.099018 | 0.073401
CAFFEINE | 4433 | 81436GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.66272 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.5693 | CAFFEINE | . | 0.2 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66272 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61401 | 0.07436 | 0.64273 | 0.099018 | 0.073401