## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBAZOLE | 4433 | 77571GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.025 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.24 | CARBAZOLE | . | 0.02 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 1.025 |  | 1.025 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.64764 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.68711 | CARBAZOLE | . | 0.02 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64764 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.97562 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.27675 | CARBAZOLE | . | 0.02 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97562 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.73188 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.276 | CARBAZOLE | . | 0.02 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73188 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.87228 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.104 | CARBAZOLE | . | 0.02 | 0.963 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87228 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.9058 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.276 | CARBAZOLE | . | 0.02 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9058 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94203 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.104 | CARBAZOLE | . | 0.02 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94203 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.8087 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.69 | CARBAZOLE | . | 0.02 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8087 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.88768 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.276 | CARBAZOLE | . | 0.02 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88768 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.91304 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.69 | CARBAZOLE | . | 0.02 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.84873 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.104 | CARBAZOLE | . | 0.02 | 0.937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84873 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85334 | 0.099862 | 0.87998 | 0.10435 | 0.077352
CARBAZOLE | 4433 | 77571GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.94118 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.034 | CARBAZOLE | . | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94118 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.94118 |  | 0.94118 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.97647 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.085 | CARBAZOLE | . | 0.02 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97647 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97647 |  | 0.97647 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.97059 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.034 | CARBAZOLE | . | 0.02 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97059 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97059 |  | 0.97059 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0471 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.085 | CARBAZOLE | . | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0471 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0471 |  | 1.0471 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.85833 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.24 | CARBAZOLE | . | 0.02 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85833 |  | 0.85833 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.975 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.12 | CARBAZOLE | . | 0.02 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.975 |  | 0.975 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.74167 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.24 | CARBAZOLE | . | 0.02 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74167 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74167 |  | 0.74167 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0417 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.12 | CARBAZOLE | . | 0.02 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0417 |  | 1.0417 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.74523 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | CARBAZOLE | E | 0.2 | 0.089 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74523 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.8073 | 0.087787 | 0.8073 | 0.12415 | 0.092031
CARBAZOLE | 4433 | 77571GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.86938 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | CARBAZOLE | E | 0.2 | 0.106 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86938 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.8073 | 0.087787 | 0.8073 | 0.12415 | 0.092031
CARBAZOLE | 4433 | 77571GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1814 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | CARBAZOLE | . | 0.02 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1814 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1251 | 0.079678 | 1.1251 | 0.11268 | 0.08353
CARBAZOLE | 4433 | 77571GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0688 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | CARBAZOLE | . | 0.02 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1251 | 0.079678 | 1.1251 | 0.11268 | 0.08353
CARBAZOLE | 4433 | 77571GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.6856 | Restek | A070024 | Restek A070024: 20 µl | 0.34422 | CARBAZOLE | . | 0.2 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6856 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64433 | 0.14028 | 0.6856 | 0.077157 | 0.057196
CARBAZOLE | 4433 | 77571GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.64734 | Restek | A070024 | Restek A070024: 40 µl | 0.70751 | CARBAZOLE | . | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64734 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64433 | 0.14028 | 0.6856 | 0.077157 | 0.057196
CARBAZOLE | 4433 | 77571GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.40487 | Restek | A070024 | Restek A070024: 80 µl | 1.3807 | CARBAZOLE | E | 0.2 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40487 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.64433 | 0.14028 | 0.6856 | 0.077157 | 0.057196
CARBAZOLE | 4433 | 77571GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.75935 | Restek | A070024 | Restek A070024: 20 µl | 0.35293 | CARBAZOLE | . | 0.2 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75935 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64433 | 0.14028 | 0.6856 | 0.077157 | 0.057196
CARBAZOLE | 4433 | 77571GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.7245 | Restek | A070024 | Restek A070024: 40 µl | 0.68737 | CARBAZOLE | . | 0.2 | 0.498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7245 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64433 | 0.14028 | 0.6856 | 0.077157 | 0.057196
CARBAZOLE | 4433 | 77571GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.1083 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.12 | CARBAZOLE | . | 0.02 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98333 | 0.17678 | 0.98333 | 0.25 | 0.18532
CARBAZOLE | 4433 | 77571GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.85833 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.12 | CARBAZOLE | . | 0.02 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98333 | 0.17678 | 0.98333 | 0.25 | 0.18532
CARBAZOLE | 4433 | 77571GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.88958 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.48 | CARBAZOLE | . | 0.02 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88958 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88229 | 0.010312 | 0.88229 | 0.014583 | 0.01081
CARBAZOLE | 4433 | 77571GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.24 | CARBAZOLE | . | 0.02 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88229 | 0.010312 | 0.88229 | 0.014583 | 0.01081
CARBAZOLE | 4433 | 77571GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.68125 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.16 | CARBAZOLE | . | 0.02 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68125 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.68125 |  | 0.68125 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.96875 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.032 | CARBAZOLE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96875 |  | 0.96875 | 0 | 0
CARBAZOLE | 4433 | 77571GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.64248 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.27705 | CARBAZOLE | . | 0.02 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64248 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.83178 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.27772 | CARBAZOLE | . | 0.02 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83178 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.8019 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.1024 | CARBAZOLE | . | 0.02 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8019 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.72174 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.1112 | CARBAZOLE | . | 0.02 | 0.802 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72174 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.87833 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2778 | CARBAZOLE | . | 0.02 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87833 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.82361 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.6945 | CARBAZOLE | . | 0.02 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82361 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.78834 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2778 | CARBAZOLE | . | 0.02 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78834 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.90353 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2778 | CARBAZOLE | . | 0.02 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90353 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.79896 | 0.084083 | 0.81276 | 0.10002 | 0.074141
CARBAZOLE | 4433 | 77571GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.64857 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.70154 | CARBAZOLE | . | 0.2 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64857 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59988 | 0.068815 | 0.60717 | 0.11408 | 0.08457
CARBAZOLE | 4433 | 77571GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.56577 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.34113 | CARBAZOLE | E | 0.2 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56577 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.59988 | 0.068815 | 0.60717 | 0.11408 | 0.08457
CARBAZOLE | 4433 | 77571GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.5199 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.71167 | CARBAZOLE | . | 0.2 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5199 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59988 | 0.068815 | 0.60717 | 0.11408 | 0.08457
CARBAZOLE | 4433 | 77571GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.66527 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.4686 | CARBAZOLE | . | 0.2 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66527 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59988 | 0.068815 | 0.60717 | 0.11408 | 0.08457