## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHOLESTEROL | 4433 | 62818GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.23864 | Accu | 209081217 | Accu 209081217: 40 µl | 4.2324 | CHOLESTEROL | E | 1.6 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23864 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.30792 | 0.097985 | 0.30792 | 0.13857 | 0.10272
CHOLESTEROL | 4433 | 62818GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.37721 | Accu | 209081217 | Accu 209081217: 80 µl | 7.8736 | CHOLESTEROL | E | 1.6 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37721 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.30792 | 0.097985 | 0.30792 | 0.13857 | 0.10272
CHOLESTEROL | 4433 | 62818GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.47342 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 2.408 | CHOLESTEROL | E | 1.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47342 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.47342 |  | 0.47342 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.61895 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 9.92 | CHOLESTEROL | E | 1.6 | 6.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61895 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.61895 |  | 0.61895 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.5042 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 2.38 | CHOLESTEROL | E | 1.6 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5042 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.5042 |  | 0.5042 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.30576 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 23.94 | CHOLESTEROL | E | 1.6 | 7.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30576 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.30576 |  | 0.30576 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.6129 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.48 | CHOLESTEROL | E | 1.6 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6129 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.66935 | 0.079835 | 0.66935 | 0.1129 | 0.083694
CHOLESTEROL | 4433 | 62818GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72581 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.48 | CHOLESTEROL | E | 1.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72581 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.66935 | 0.079835 | 0.66935 | 0.1129 | 0.083694
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.7379 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 4.96 | CHOLESTEROL | E | 1.6 | 3.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7379 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.7379 |  | 0.7379 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.48322 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 6.6222 | CHOLESTEROL | E | 1.6 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48322 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.001 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.6672 | CHOLESTEROL | E | 1.6 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.001 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.65414 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.66 | CHOLESTEROL | E | 1.6 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65414 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.7265 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 10.64 | CHOLESTEROL | E | 1.6 | 7.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7265 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.55263 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.66 | CHOLESTEROL | E | 1.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55263 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.33177 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 10.64 | CHOLESTEROL | E | 1.6 | 3.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33177 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.68722 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 6.65 | CHOLESTEROL | E | 1.6 | 4.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68722 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.40977 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 2.66 | CHOLESTEROL | E | 1.6 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40977 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.74586 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 6.65 | CHOLESTEROL | E | 1.6 | 4.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74586 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.56297 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 10.64 | CHOLESTEROL | E | 1.6 | 5.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56297 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.61551 | 0.19196 | 0.60855 | 0.24328 | 0.18034
CHOLESTEROL | 4433 | 62818GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.27817 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 7.8371 | CHOLESTEROL | E | 1.6 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27817 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43343 | 0.11136 | 0.45788 | 0.14802 | 0.10973
CHOLESTEROL | 4433 | 62818GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.53978 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.9267 | CHOLESTEROL | E | 1.6 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53978 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43343 | 0.11136 | 0.45788 | 0.14802 | 0.10973
CHOLESTEROL | 4433 | 62818GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.4751 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9571 | CHOLESTEROL | E | 1.6 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4751 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43343 | 0.11136 | 0.45788 | 0.14802 | 0.10973
CHOLESTEROL | 4433 | 62818GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.44067 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0393 | CHOLESTEROL | E | 1.6 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44067 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.43343 | 0.11136 | 0.45788 | 0.14802 | 0.10973
CHOLESTEROL | 4433 | 62818GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.4916 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 2.38 | CHOLESTEROL | E | 1.6 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4916 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.4916 |  | 0.4916 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.99668 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 6.02 | CHOLESTEROL | E | 1.6 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.99668 |  | 0.99668 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.39516 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 2.48 | CHOLESTEROL | E | 1.6 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39516 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.39516 |  | 0.39516 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2.5 | CHOLESTEROL | E | 1.6 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.17793 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | CHOLESTEROL | E | 1.6 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17793 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.29145 | 0.16053 | 0.29145 | 0.22702 | 0.16829
CHOLESTEROL | 4433 | 62818GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.40496 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | CHOLESTEROL | E | 1.6 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40496 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.29145 | 0.16053 | 0.29145 | 0.22702 | 0.16829
CHOLESTEROL | 4433 | 62818GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.47158 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | CHOLESTEROL | E | 1.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47158 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.47993 | 0.01181 | 0.47993 | 0.016701 | 0.012381
CHOLESTEROL | 4433 | 62818GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.48828 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | CHOLESTEROL | E | 1.6 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48828 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.47993 | 0.01181 | 0.47993 | 0.016701 | 0.012381
CHOLESTEROL | 4433 | 62818GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.428 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 10 | CHOLESTEROL | E | 1.6 | 4.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.428 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.532 | 0.14708 | 0.532 | 0.208 | 0.15419
CHOLESTEROL | 4433 | 62818GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.636 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 5 | CHOLESTEROL | E | 1.6 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.532 | 0.14708 | 0.532 | 0.208 | 0.15419
CHOLESTEROL | 4433 | 62818GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.348 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 10 | CHOLESTEROL | E | 1.6 | 3.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.348 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.348 |  | 0.348 | 0 | 0
CHOLESTEROL | 4433 | 62818GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.58279 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.6768 | CHOLESTEROL | E | 1.6 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58279 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.56649 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.6832 | CHOLESTEROL | E | 1.6 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56649 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.84876 | Supelco | LB77171 | Supelco LB77171: 80 µl | 10.6508 | CHOLESTEROL | E | 1.6 | 9.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84876 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.4592 | Supelco | LB77171 | Supelco LB77171: 80 µl | 10.736 | CHOLESTEROL | E | 1.6 | 4.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4592 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.35395 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.684 | CHOLESTEROL | E | 1.6 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35395 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.28912 | Supelco | LB77171 | Supelco LB77171: 50 µl | 6.71 | CHOLESTEROL | E | 1.6 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28912 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.53651 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.684 | CHOLESTEROL | E | 1.6 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53651 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.59985 | Supelco | LB77171 | Supelco LB77171: 20 µl | 2.684 | CHOLESTEROL | E | 1.6 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59985 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.52958 | 0.171 | 0.5515 | 0.18475 | 0.13695
CHOLESTEROL | 4433 | 62818GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.528 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2.5 | CHOLESTEROL | E | 1.6 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.528 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.528 |  | 0.528 | 0 | 0