## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
COTININE | 4433 | 61945GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.25578 | Accu | 209081217 | Accu 209081217: 20 µl | 0.4457 | COTININE | E | 0.8 | 0.114 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.25578 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.17972 | 0.086866 | 0.19832 | 0.17072 | 0.12655
COTININE | 4433 | 61945GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.085061 | Accu | 209081217 | Accu 209081217: 40 µl | 0.97577 | COTININE | E | 0.8 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.085061 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.17972 | 0.086866 | 0.19832 | 0.17072 | 0.12655
COTININE | 4433 | 61945GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.19832 | Accu | 209081217 | Accu 209081217: 80 µl | 1.8153 | COTININE | E | 0.8 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19832 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.17972 | 0.086866 | 0.19832 | 0.17072 | 0.12655
COTININE | 4433 | 61945GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.22047 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.71 | COTININE | E | 0.08 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22047 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.22047 |  | 0.22047 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.34503 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.342 | COTININE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34503 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.34503 |  | 0.34503 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.3117 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.2448 | COTININE | E | 0.08 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3117 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.3117 |  | 0.3117 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.56234 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6224 | COTININE | E | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56234 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 |  | 1 | 0.56234 |  | 0.56234 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.47076 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.342 | COTININE | E | 0.08 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47076 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.47076 |  | 0.47076 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.39333 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | COTININE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39333 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.39333 |  | 0.39333 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.3951 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.6447 | COTININE | E | 0.08 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3951 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.72209 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.468 | COTININE | E | 0.08 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72209 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.43169 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.464 | COTININE | E | 0.08 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43169 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.45594 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.856 | COTININE | E | 0.08 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45594 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.31011 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.464 | COTININE | E | 0.08 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31011 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.35348 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.856 | COTININE | E | 0.08 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35348 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.47814 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.66 | COTININE | E | 0.08 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47814 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.42077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.464 | COTININE | E | 0.08 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42077 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.5929 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.66 | COTININE | E | 0.08 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5929 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.514 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.856 | COTININE | E | 0.08 | 3.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.514 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.46742 | 0.11992 | 0.44382 | 0.11891 | 0.088145
COTININE | 4433 | 61945GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.34173 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.7645 | COTININE | E | 0.8 | 0.603 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34173 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38696 | 0.12962 | 0.36224 | 0.174 | 0.12898
COTININE | 4433 | 61945GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.25818 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.43381 | COTININE | E | 0.8 | 0.112 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.25818 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.38696 | 0.12962 | 0.36224 | 0.174 | 0.12898
COTININE | 4433 | 61945GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.38274 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.89094 | COTININE | E | 0.8 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38274 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38696 | 0.12962 | 0.36224 | 0.174 | 0.12898
COTININE | 4433 | 61945GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.56517 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.90946 | COTININE | E | 0.8 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56517 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.38696 | 0.12962 | 0.36224 | 0.174 | 0.12898
COTININE | 4433 | 61945GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.61404 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.342 | COTININE | E | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61404 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.61404 |  | 0.61404 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.29825 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.855 | COTININE | E | 0.08 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29825 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.29825 |  | 0.29825 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.12371 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6224 | COTININE | E | 0.08 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12371 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.12371 |  | 0.12371 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.23667 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | COTININE | E | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23667 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.23667 |  | 0.23667 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.048147 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | COTININE | E | 0.8 | 0.023 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.048147 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.23937 | 0.27043 | 0.23937 | 0.38244 | 0.2835
COTININE | 4433 | 61945GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.43059 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | COTININE | E | 0.8 | 0.21 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.43059 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.23937 | 0.27043 | 0.23937 | 0.38244 | 0.2835
COTININE | 4433 | 61945GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.47888 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.34247 | COTININE | E | 0.08 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47888 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.50323 | 0.034432 | 0.50323 | 0.048694 | 0.036096
COTININE | 4433 | 61945GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.52757 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.544 | COTININE | E | 0.08 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52757 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.50323 | 0.034432 | 0.50323 | 0.048694 | 0.036096
COTININE | 4433 | 61945GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.56234 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3112 | COTININE | E | 0.08 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56234 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.39364 | 0.23858 | 0.39364 | 0.3374 | 0.25011
COTININE | 4433 | 61945GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.22494 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3112 | COTININE | E | 0.08 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22494 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.39364 | 0.23858 | 0.39364 | 0.3374 | 0.25011
COTININE | 4433 | 61945GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.1152 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.71 | COTININE | E | 0.08 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1152 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.1152 |  | 0.1152 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.50585 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.342 | COTININE | E | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50585 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.50585 |  | 0.50585 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.28917 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1.2 | COTININE | E | 0.08 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28917 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.28917 |  | 0.28917 | 0 | 0
COTININE | 4433 | 61945GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.45712 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.481 | COTININE | E | 0.08 | 0.677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45712 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.5564 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.4846 | COTININE | E | 0.08 | 0.826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5564 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.49721 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.8929 | COTININE | E | 0.08 | 2.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49721 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.55556 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.94 | COTININE | E | 0.08 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55556 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.43973 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.485 | COTININE | E | 0.08 | 0.653 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43973 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.14599 | Supelco | LB77171 | Supelco LB77171: 50 µl | 3.7125 | COTININE | E | 0.08 | 0.542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14599 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54276 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.485 | COTININE | E | 0.08 | 0.806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54276 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725
COTININE | 4433 | 61945GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.58451 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.485 | COTININE | E | 0.08 | 0.868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58451 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.47241 | 0.14139 | 0.51999 | 0.10755 | 0.079725