## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
D-LIMONENE | 4433 | 62819GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.78125 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.37248 | D-LIMONENE | E | 0.16 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.019 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.91463 | D-LIMONENE | E | 0.16 | 0.932 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.019 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.79 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.35949 | D-LIMONENE | E | 0.16 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.75116 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.91858 | D-LIMONENE | E | 0.16 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75116 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.71585 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.366 | D-LIMONENE | E | 0.16 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71585 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.8265 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.464 | D-LIMONENE | E | 0.16 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8265 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76776 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.366 | D-LIMONENE | E | 0.16 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76776 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.92022 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.915 | D-LIMONENE | E | 0.16 | 0.842 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92022 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.98907 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.366 | D-LIMONENE | E | 0.16 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98907 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.7224 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.915 | D-LIMONENE | E | 0.16 | 0.661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7224 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82832 | 0.10945 | 0.78562 | 0.16906 | 0.12532
D-LIMONENE | 4433 | 62819GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.62667 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.3 | D-LIMONENE | E | 0.16 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62667 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.62667 |  | 0.62667 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.78734 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4.1024 | D-LIMONENE | E | 0.16 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78734 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.78734 |  | 0.78734 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.76541 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 2.0512 | D-LIMONENE | E | 0.16 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76541 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 |  | 1 | 0.76541 |  | 0.76541 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.83633 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3611 | D-LIMONENE | E | 0.16 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83633 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.84885 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.35813 | D-LIMONENE | E | 0.16 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84885 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.77776 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4529 | D-LIMONENE | E | 0.16 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77776 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.61522 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9135 | D-LIMONENE | E | 0.16 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61522 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.79365 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3654 | D-LIMONENE | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79365 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.5561 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9135 | D-LIMONENE | E | 0.16 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5561 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.88944 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4616 | D-LIMONENE | E | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88944 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.84839 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3654 | D-LIMONENE | E | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84839 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.81336 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9135 | D-LIMONENE | E | 0.16 | 0.743 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81336 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.69787 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4616 | D-LIMONENE | E | 0.16 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69787 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.7677 | 0.10974 | 0.8035 | 0.15052 | 0.11158
D-LIMONENE | 4433 | 62819GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96918 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.292 | D-LIMONENE | E | 0.16 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96918 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.96918 |  | 0.96918 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.51014 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 2.96 | D-LIMONENE | E | 0.16 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51014 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.51014 |  | 0.51014 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.664 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | D-LIMONENE | E | 0.16 | 0.664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7265 | 0.088388 | 0.7265 | 0.125 | 0.092661
D-LIMONENE | 4433 | 62819GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.789 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | D-LIMONENE | E | 0.16 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.789 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7265 | 0.088388 | 0.7265 | 0.125 | 0.092661
D-LIMONENE | 4433 | 62819GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75685 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.292 | D-LIMONENE | E | 0.16 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75685 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.75685 |  | 0.75685 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.688 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.75 | D-LIMONENE | E | 0.16 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.688 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.688 |  | 0.688 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.80441 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 2.0512 | D-LIMONENE | E | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80441 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.80441 |  | 0.80441 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 2 | D-LIMONENE | E | 0.16 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.79 |  | 0.79 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.59869 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | D-LIMONENE | E | 0.2 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59869 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.64843 | 0.070338 | 0.64843 | 0.099474 | 0.073739
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69817 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | D-LIMONENE | E | 0.2 | 0.681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69817 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.64843 | 0.070338 | 0.64843 | 0.099474 | 0.073739
D-LIMONENE | 4433 | 62819GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.83395 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | D-LIMONENE | E | 0.16 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83395 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.82323 | 0.015169 | 0.82323 | 0.021452 | 0.015902
D-LIMONENE | 4433 | 62819GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | D-LIMONENE | E | 0.16 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.82323 | 0.015169 | 0.82323 | 0.021452 | 0.015902
D-LIMONENE | 4433 | 62819GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.73353 | Restek | A070024 | Restek A070024: 20 µl | 0.37354 | D-LIMONENE | E | 0.2 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73353 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7279 | 0.078708 | 0.73353 | 0.1269 | 0.094073
D-LIMONENE | 4433 | 62819GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.67079 | Restek | A070024 | Restek A070024: 40 µl | 0.76775 | D-LIMONENE | E | 0.2 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67079 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7279 | 0.078708 | 0.73353 | 0.1269 | 0.094073
D-LIMONENE | 4433 | 62819GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.62806 | Restek | A070024 | Restek A070024: 80 µl | 1.4983 | D-LIMONENE | E | 0.2 | 0.941 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62806 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7279 | 0.078708 | 0.73353 | 0.1269 | 0.094073
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.80943 | Restek | A070024 | Restek A070024: 20 µl | 0.38299 | D-LIMONENE | E | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80943 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7279 | 0.078708 | 0.73353 | 0.1269 | 0.094073
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.79769 | Restek | A070024 | Restek A070024: 40 µl | 0.7459 | D-LIMONENE | E | 0.2 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79769 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7279 | 0.078708 | 0.73353 | 0.1269 | 0.094073
D-LIMONENE | 4433 | 62819GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.92531 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0256 | D-LIMONENE | E | 0.16 | 0.949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92531 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.82098 | 0.14754 | 0.82098 | 0.20866 | 0.15468
D-LIMONENE | 4433 | 62819GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.71665 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 1.0256 | D-LIMONENE | E | 0.16 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71665 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.82098 | 0.14754 | 0.82098 | 0.20866 | 0.15468
D-LIMONENE | 4433 | 62819GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.7525 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4 | D-LIMONENE | E | 0.16 | 3.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7525 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.7525 |  | 0.7525 | 0 | 0
D-LIMONENE | 4433 | 62819GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.77723 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.76168 | D-LIMONENE | E | 0.2 | 0.592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77723 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7147 | 0.082175 | 0.74311 | 0.10654 | 0.078976
D-LIMONENE | 4433 | 62819GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.7587 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.37037 | D-LIMONENE | E | 0.2 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7587 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7147 | 0.082175 | 0.74311 | 0.10654 | 0.078976
D-LIMONENE | 4433 | 62819GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.59534 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.77267 | D-LIMONENE | E | 0.2 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59534 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7147 | 0.082175 | 0.74311 | 0.10654 | 0.078976
D-LIMONENE | 4433 | 62819GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.72752 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.5945 | D-LIMONENE | E | 0.2 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72752 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7147 | 0.082175 | 0.74311 | 0.10654 | 0.078976