## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIAZINON | 4433 | 39570GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.97575 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3505 | DIAZINON | . | 0.32 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97575 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.0027 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.86066 | DIAZINON | . | 0.32 | 0.863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0027 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 1.0406 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.33828 | DIAZINON | . | 0.32 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0406 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.92321 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.86437 | DIAZINON | . | 0.32 | 0.798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92321 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.98432 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3444 | DIAZINON | . | 0.32 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98432 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.99448 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.3776 | DIAZINON | . | 0.32 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99448 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.65331 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3444 | DIAZINON | . | 0.32 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65331 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.1614 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.861 | DIAZINON | . | 0.32 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1614 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.4024 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3444 | DIAZINON | . | 0.32 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4024 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.9338 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.861 | DIAZINON | . | 0.32 | 0.804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9338 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0072 | 0.18871 | 0.9894 | 0.10677 | 0.079147
DIAZINON | 4433 | 39570GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.772 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5 | DIAZINON | . | 0.32 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.772 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.772 |  | 0.772 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.9325 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 4 | DIAZINON | . | 0.32 | 3.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9325 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9325 |  | 0.9325 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 1.0369 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33561 | DIAZINON | . | 0.32 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0369 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 1.0185 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33284 | DIAZINON | . | 0.32 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0185 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.94053 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3503 | DIAZINON | . | 0.32 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94053 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.78092 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.849 | DIAZINON | . | 0.32 | 0.663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78092 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.0895 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3396 | DIAZINON | . | 0.32 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0895 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.59717 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.849 | DIAZINON | E | 0.32 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59717 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 1.0012 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3584 | DIAZINON | . | 0.32 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.95701 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3396 | DIAZINON | . | 0.32 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95701 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0483 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.849 | DIAZINON | . | 0.32 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0483 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.79505 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3584 | DIAZINON | . | 0.32 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79505 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92651 | 0.15481 | 0.97909 | 0.24188 | 0.1793
DIAZINON | 4433 | 39570GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.78688 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.67355 | DIAZINON | . | 0.2 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78688 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90886 | 0.10733 | 0.95087 | 0.20195 | 0.1497
DIAZINON | 4433 | 39570GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.98882 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.3551 | DIAZINON | . | 0.2 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98882 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90886 | 0.10733 | 0.95087 | 0.20195 | 0.1497
DIAZINON | 4433 | 39570GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.95087 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.34705 | DIAZINON | . | 0.2 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95087 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90886 | 0.10733 | 0.95087 | 0.20195 | 0.1497
DIAZINON | 4433 | 39570GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96721 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.488 | DIAZINON | . | 0.32 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96721 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.96721 |  | 0.96721 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.58704 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 4.94 | DIAZINON | E | 0.32 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58704 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.58704 |  | 0.58704 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.766 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | DIAZINON | . | 0.32 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.766 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.893 | 0.17961 | 0.893 | 0.254 | 0.18829
DIAZINON | 4433 | 39570GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.02 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1 | DIAZINON | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.893 | 0.17961 | 0.893 | 0.254 | 0.18829
DIAZINON | 4433 | 39570GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.03 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 2 | DIAZINON | . | 0.32 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.03 |  | 1.03 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.77049 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.488 | DIAZINON | . | 0.32 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77049 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77049 |  | 0.77049 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.992 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.25 | DIAZINON | . | 0.32 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.992 |  | 0.992 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.93 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1 | DIAZINON | . | 0.32 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93 |  | 0.93 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0159 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1.004 | DIAZINON | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0159 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0159 |  | 1.0159 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.93474 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.34555 | DIAZINON | . | 0.2 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93474 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74991 | 0.15546 | 0.75293 | 0.21859 | 0.16204
DIAZINON | 4433 | 39570GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.72218 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.6785 | DIAZINON | . | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72218 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74991 | 0.15546 | 0.75293 | 0.21859 | 0.16204
DIAZINON | 4433 | 39570GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.55905 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.3917 | DIAZINON | . | 0.2 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55905 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74991 | 0.15546 | 0.75293 | 0.21859 | 0.16204
DIAZINON | 4433 | 39570GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.78367 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.70055 | DIAZINON | . | 0.2 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78367 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74991 | 0.15546 | 0.75293 | 0.21859 | 0.16204
DIAZINON | 4433 | 39570GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.50292 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | DIAZINON | . | 0.2 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50292 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.55134 | 0.068465 | 0.55134 | 0.096824 | 0.071774
DIAZINON | 4433 | 39570GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.59975 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | DIAZINON | . | 0.2 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59975 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.55134 | 0.068465 | 0.55134 | 0.096824 | 0.071774
DIAZINON | 4433 | 39570GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.32059 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.96696 | DIAZINON | . | 0.32 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32059 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.23614 | 0.11943 | 0.23614 | 0.1689 | 0.1252
DIAZINON | 4433 | 39570GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.15169 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.536 | DIAZINON | . | 0.32 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15169 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.23614 | 0.11943 | 0.23614 | 0.1689 | 0.1252
DIAZINON | 4433 | 39570GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8242 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4.016 | DIAZINON | . | 0.32 | 3.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8242 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80802 | 0.022889 | 0.80802 | 0.032371 | 0.023996
DIAZINON | 4433 | 39570GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.79183 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2.008 | DIAZINON | . | 0.32 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79183 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80802 | 0.022889 | 0.80802 | 0.032371 | 0.023996
DIAZINON | 4433 | 39570GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.76195 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4.016 | DIAZINON | . | 0.32 | 3.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76195 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76195 |  | 0.76195 | 0 | 0
DIAZINON | 4433 | 39570GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.95916 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1.004 | DIAZINON | . | 0.32 | 0.963 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95916 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95916 |  | 0.95916 | 0 | 0