## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUORANTHENE | 4433 | 34376GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.80322 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3735 | FLUORANTHENE | . | 0.02 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80322 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.93007 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.91713 | FLUORANTHENE | . | 0.02 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93007 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.87662 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.36048 | FLUORANTHENE | . | 0.02 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87662 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.82402 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.92109 | FLUORANTHENE | . | 0.02 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82402 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.86648 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.367 | FLUORANTHENE | . | 0.02 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86649 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.86512 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.468 | FLUORANTHENE | . | 0.02 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86512 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.72752 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.367 | FLUORANTHENE | . | 0.02 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72752 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.96567 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9175 | FLUORANTHENE | . | 0.02 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96567 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0109 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.367 | FLUORANTHENE | . | 0.02 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0109 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84905 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9175 | FLUORANTHENE | . | 0.02 | 0.779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84905 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87187 | 0.081631 | 0.8658 | 0.10605 | 0.078614
FLUORANTHENE | 4433 | 34376GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.79814 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.36209 | FLUORANTHENE | . | 0.02 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79814 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.91894 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.35911 | FLUORANTHENE | . | 0.02 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91894 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.78937 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4569 | FLUORANTHENE | . | 0.02 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78937 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.72271 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.916 | FLUORANTHENE | . | 0.02 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72271 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.9143 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3664 | FLUORANTHENE | . | 0.02 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9143 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54039 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.916 | FLUORANTHENE | E | 0.02 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54039 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.83925 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4656 | FLUORANTHENE | . | 0.02 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83925 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8488 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3664 | FLUORANTHENE | . | 0.02 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8488 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.8286 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.916 | FLUORANTHENE | . | 0.02 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8286 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.66662 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4656 | FLUORANTHENE | . | 0.02 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66662 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78671 | 0.11617 | 0.81337 | 0.12609 | 0.09347
FLUORANTHENE | 4433 | 34376GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.62735 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.78107 | FLUORANTHENE | . | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62735 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.7994 | 0.17087 | 0.8018 | 0.34172 | 0.25331
FLUORANTHENE | 4433 | 34376GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.8018 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.5715 | FLUORANTHENE | . | 0.2 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8018 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.7994 | 0.17087 | 0.8018 | 0.34172 | 0.25331
FLUORANTHENE | 4433 | 34376GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.96907 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.40245 | FLUORANTHENE | . | 0.2 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96907 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.7994 | 0.17087 | 0.8018 | 0.34172 | 0.25331
FLUORANTHENE | 4433 | 34376GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.93478 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.046 | FLUORANTHENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93478 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93478 |  | 0.93478 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.94783 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.115 | FLUORANTHENE | . | 0.02 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94783 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94783 |  | 0.94783 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.84783 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.046 | FLUORANTHENE | . | 0.02 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84783 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84783 |  | 0.84783 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.115 | FLUORANTHENE | . | 0.02 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.872 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.872 |  | 0.872 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.738 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.738 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.738 |  | 0.738 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.956 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.956 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.956 |  | 0.956 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.76099 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.39948 | FLUORANTHENE | . | 0.2 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76099 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66194 | 0.095274 | 0.66524 | 0.1582 | 0.11727
FLUORANTHENE | 4433 | 34376GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.60939 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.78439 | FLUORANTHENE | . | 0.2 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60939 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66194 | 0.095274 | 0.66524 | 0.1582 | 0.11727
FLUORANTHENE | 4433 | 34376GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.5563 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.6088 | FLUORANTHENE | . | 0.2 | 0.895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5563 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66194 | 0.095274 | 0.66524 | 0.1582 | 0.11727
FLUORANTHENE | 4433 | 34376GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.72109 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.80988 | FLUORANTHENE | . | 0.2 | 0.584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72109 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66194 | 0.095274 | 0.66524 | 0.1582 | 0.11727
FLUORANTHENE | 4433 | 34376GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.77035 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | FLUORANTHENE | E | 0.2 | 0.092 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77035 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.80756 | 0.052626 | 0.80756 | 0.074425 | 0.05517
FLUORANTHENE | 4433 | 34376GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84477 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | FLUORANTHENE | E | 0.2 | 0.103 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84477 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.80756 | 0.052626 | 0.80756 | 0.074425 | 0.05517
FLUORANTHENE | 4433 | 34376GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0921 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | FLUORANTHENE | . | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0921 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0429 | 0.06953 | 1.0429 | 0.09833 | 0.072891
FLUORANTHENE | 4433 | 34376GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.99375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | FLUORANTHENE | . | 0.02 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0429 | 0.06953 | 1.0429 | 0.09833 | 0.072891
FLUORANTHENE | 4433 | 34376GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.056 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.912 | 0.20365 | 0.912 | 0.288 | 0.21349
FLUORANTHENE | 4433 | 34376GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.768 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | FLUORANTHENE | . | 0.02 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.912 | 0.20365 | 0.912 | 0.288 | 0.21349
FLUORANTHENE | 4433 | 34376GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | FLUORANTHENE | . | 0.02 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.774 | 0.0056569 | 0.774 | 0.008 | 0.0059303
FLUORANTHENE | 4433 | 34376GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.778 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | FLUORANTHENE | . | 0.02 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.778 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.774 | 0.0056569 | 0.774 | 0.008 | 0.0059303
FLUORANTHENE | 4433 | 34376GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.78182 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.22 | FLUORANTHENE | . | 0.02 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78182 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.78182 |  | 0.78182 | 0 | 0
FLUORANTHENE | 4433 | 34376GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.97727 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.044 | FLUORANTHENE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97727 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97727 |  | 0.97727 | 0 | 0