## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.774 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.774 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.774 |  | 0.774 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.97 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.692 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77 | 0.11031 | 0.77 | 0.156 | 0.11564
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.848 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77 | 0.11031 | 0.77 | 0.156 | 0.11564
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.976 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 0.5 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.976 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.976 |  | 0.976 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.68457 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 2.1619 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.2 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68457 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77757 | 0.064898 | 0.79518 | 0.079042 | 0.058593
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.83536 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.53151 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.2 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83536 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77757 | 0.064898 | 0.79518 | 0.079042 | 0.058593
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.79883 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.0916 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.2 | 0.872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79883 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77757 | 0.064898 | 0.79518 | 0.079042 | 0.058593
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.79153 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.1143 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.2 | 0.882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79153 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77757 | 0.064898 | 0.79518 | 0.079042 | 0.058593
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.824 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.824 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.824 |  | 0.824 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.63637 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.2 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63637 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71802 | 0.11546 | 0.71802 | 0.16329 | 0.12104
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.79966 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.2 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79966 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71802 | 0.11546 | 0.71802 | 0.16329 | 0.12104
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0226 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0226 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0144 | 0.01155 | 1.0144 | 0.016334 | 0.012108
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0063 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0144 | 0.01155 | 1.0144 | 0.016334 | 0.012108
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.148 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.148 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.966 | 0.25739 | 0.966 | 0.364 | 0.26983
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.784 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.784 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.966 | 0.25739 | 0.966 | 0.364 | 0.26983
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.717 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.717 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.717 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7495 | 0.045962 | 0.7495 | 0.065 | 0.048184
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.782 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.782 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7495 | 0.045962 | 0.7495 | 0.065 | 0.048184
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.72333 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.3 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72333 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.72333 |  | 0.72333 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 4433 | 62823GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0667 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.06 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0667 |  | 1.0667 | 0 | 0