## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.77714 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.59963 | ISOPHORONE | . | 0.04 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77714 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.9712 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4724 | ISOPHORONE | . | 0.04 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9712 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.87606 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.57873 | ISOPHORONE | . | 0.04 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87606 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.77767 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4788 | ISOPHORONE | . | 0.04 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77767 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.7926 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.04 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7926 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.90377 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3568 | ISOPHORONE | . | 0.05 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90377 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.74168 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.05 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74168 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.93686 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | ISOPHORONE | . | 0.05 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93686 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.9776 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.05 | 0.576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9776 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.81466 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | ISOPHORONE | . | 0.05 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81466 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85693 | 0.087191 | 0.84536 | 0.15919 | 0.118
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7619 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.378 | ISOPHORONE | . | 0.05 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7619 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.7619 |  | 0.7619 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.77632 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77632 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77632 |  | 0.77632 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.83966 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.0016 | ISOPHORONE | . | 0.05 | 0.841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83966 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83966 |  | 0.83966 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.97045 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5008 | ISOPHORONE | . | 0.05 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97045 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97045 |  | 0.97045 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.86234 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.57634 | ISOPHORONE | . | 0.04 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86234 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.87824 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5716 | ISOPHORONE | . | 0.04 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87824 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.89698 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3189 | ISOPHORONE | . | 0.04 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89698 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.76132 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | . | 0.04 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76132 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.87792 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5832 | ISOPHORONE | . | 0.04 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87791 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.5439 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | E | 0.05 | 0.793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5439 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.84019 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3328 | ISOPHORONE | . | 0.05 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84019 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.91049 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5832 | ISOPHORONE | . | 0.05 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91049 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.91907 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | . | 0.05 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91907 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.84448 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3328 | ISOPHORONE | . | 0.05 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84448 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.83349 | 0.11122 | 0.87013 | 0.05679 | 0.042098
ISOPHORONE | 4433 | 34408GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.62719 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.37787 | ISOPHORONE | . | 0.2 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62719 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.77829 | 0.13101 | 0.84745 | 0.23303 | 0.17275
ISOPHORONE | 4433 | 34408GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.86023 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.76026 | ISOPHORONE | . | 0.2 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86023 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.77829 | 0.13101 | 0.84745 | 0.23303 | 0.17275
ISOPHORONE | 4433 | 34408GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.84745 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.1947 | ISOPHORONE | E | 0.2 | 0.165 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84745 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.77829 | 0.13101 | 0.84745 | 0.23303 | 0.17275
ISOPHORONE | 4433 | 34408GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0239 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0239 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0239 |  | 1.0239 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | ISOPHORONE | . | 0.05 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87 | 0.12728 | 0.87 | 0.18 | 0.13343
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | ISOPHORONE | . | 0.05 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87 | 0.12728 | 0.87 | 0.18 | 0.13343
ISOPHORONE | 4433 | 34408GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.98404 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98404 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.98404 |  | 0.98404 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86842 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.19 | ISOPHORONE | . | 0.05 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86842 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86842 |  | 0.86842 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.84065 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5008 | ISOPHORONE | . | 0.05 | 0.421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84065 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84065 |  | 0.84065 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.912 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | ISOPHORONE | . | 0.05 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.912 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.912 |  | 0.912 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.5381 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.19375 | ISOPHORONE | . | 0.2 | 0.298 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5381 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 0.90592 | 0.42422 | 0.71311 | 0.49005 | 0.36327
ISOPHORONE | 4433 | 34408GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.66241 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.38043 | ISOPHORONE | . | 0.2 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66241 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90592 | 0.42422 | 0.71311 | 0.49005 | 0.36327
ISOPHORONE | 4433 | 34408GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.76382 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.78029 | ISOPHORONE | . | 0.2 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76382 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90592 | 0.42422 | 0.71311 | 0.49005 | 0.36327
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.65938 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.39279 | ISOPHORONE | . | 0.2 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65938 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90592 | 0.42422 | 0.71311 | 0.49005 | 0.36327
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66568 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOPHORONE | E | 0.2 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66568 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.75933 | 0.13244 | 0.75933 | 0.18729 | 0.13884
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.85297 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOPHORONE | . | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85297 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.75933 | 0.13244 | 0.75933 | 0.18729 | 0.13884
ISOPHORONE | 4433 | 34408GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1765 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ISOPHORONE | . | 0.04 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1117 | 0.091636 | 1.1117 | 0.12959 | 0.096066
ISOPHORONE | 4433 | 34408GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0469 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPHORONE | . | 0.05 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0469 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1117 | 0.091636 | 1.1117 | 0.12959 | 0.096066
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.97045 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | ISOPHORONE | . | 0.05 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97045 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86861 | 0.14402 | 0.86861 | 0.20367 | 0.15098
ISOPHORONE | 4433 | 34408GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.76677 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | ISOPHORONE | . | 0.05 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76677 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86861 | 0.14402 | 0.86861 | 0.20367 | 0.15098
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.80053 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.376 | ISOPHORONE | . | 0.05 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80053 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.80053 |  | 0.80053 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.97368 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97368 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97368 |  | 0.97368 | 0 | 0
ISOPHORONE | 4433 | 34408GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.764 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | ISOPHORONE | . | 0.05 | 0.764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.764 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.764 |  | 0.764 | 0 | 0