## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.86606 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.2725 | ISOPROPYLBENZENE | E | 0.04 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86606 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.86606 |  | 0.86606 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.72222 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.054 | ISOPROPYLBENZENE | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.72222 |  | 0.72222 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.80333 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6 | ISOPROPYLBENZENE | E | 0.04 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80333 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 |  | 1 | 0.80333 |  | 0.80333 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.80541 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.9759 | ISOPROPYLBENZENE | E | 0.04 | 0.786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80541 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.94896 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.39306 | ISOPROPYLBENZENE | E | 0.04 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94896 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.72959 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE | E | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72959 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.92475 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE | E | 0.04 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92474 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.92347 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE | E | 0.04 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92347 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.86735 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE | E | 0.04 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86735 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.94898 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.98 | ISOPROPYLBENZENE | E | 0.04 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94898 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.90816 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE | E | 0.04 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90816 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.87143 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.98 | ISOPROPYLBENZENE | E | 0.04 | 0.854 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87143 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0077 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE | E | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0077 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.89357 | 0.079632 | 0.91582 | 0.081614 | 0.0605
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.96364 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96364 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.96364 |  | 0.96364 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.81481 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.135 | ISOPROPYLBENZENE | E | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81481 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.81481 |  | 0.81481 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.78833 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6 | ISOPROPYLBENZENE | E | 0.04 | 0.473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78833 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.78833 |  | 0.78833 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.3 | ISOPROPYLBENZENE | E | 0.04 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.81667 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | ISOPROPYLBENZENE | E | 0.04 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.81667 |  | 0.81667 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87333 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.3 | ISOPROPYLBENZENE | E | 0.04 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87333 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.87333 |  | 0.87333 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.60288 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOPROPYLBENZENE | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60288 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.66026 | 0.081152 | 0.66026 | 0.11477 | 0.085075
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.71765 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOPROPYLBENZENE | E | 0.2 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71765 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.66026 | 0.081152 | 0.66026 | 0.11477 | 0.085075
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.90841 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ISOPROPYLBENZENE | E | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90841 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.94327 | 0.049295 | 0.94327 | 0.069713 | 0.051678
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.97813 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPROPYLBENZENE | E | 0.04 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97813 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.94327 | 0.049295 | 0.94327 | 0.069713 | 0.051678
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.8021 | Restek | A070024 | Restek A070024: 20 µl | 0.20446 | ISOPROPYLBENZENE | E | 0.2 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8021 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75848 | 0.078556 | 0.79602 | 0.12155 | 0.0901
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.68056 | Restek | A070024 | Restek A070024: 40 µl | 0.42024 | ISOPROPYLBENZENE | E | 0.2 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68056 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75848 | 0.078556 | 0.79602 | 0.12155 | 0.0901
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.66942 | Restek | A070024 | Restek A070024: 80 µl | 0.82011 | ISOPROPYLBENZENE | E | 0.2 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66942 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75848 | 0.078556 | 0.79602 | 0.12155 | 0.0901
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84432 | Restek | A070024 | Restek A070024: 20 µl | 0.20964 | ISOPROPYLBENZENE | E | 0.2 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84432 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75848 | 0.078556 | 0.79602 | 0.12155 | 0.0901
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.79602 | Restek | A070024 | Restek A070024: 40 µl | 0.40828 | ISOPROPYLBENZENE | E | 0.2 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79602 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.75848 | 0.078556 | 0.79602 | 0.12155 | 0.0901
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | ISOPROPYLBENZENE | E | 0.04 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.86333 | 0.16499 | 0.86333 | 0.23333 | 0.17297
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.74667 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | ISOPROPYLBENZENE | E | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74667 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.86333 | 0.16499 | 0.86333 | 0.23333 | 0.17297
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.78417 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1.2 | ISOPROPYLBENZENE | E | 0.04 | 0.941 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78417 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.75875 | 0.035945 | 0.75875 | 0.050833 | 0.037682
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.73333 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.6 | ISOPROPYLBENZENE | E | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.75875 | 0.035945 | 0.75875 | 0.050833 | 0.037682
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.85091 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.275 | ISOPROPYLBENZENE | E | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85091 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.85091 |  | 0.85091 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.054 | ISOPROPYLBENZENE | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.88889 |  | 0.88889 | 0 | 0
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.61685 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.39394 | ISOPROPYLBENZENE | E | 0.04 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61685 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.9218 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.39488 | ISOPROPYLBENZENE | E | 0.04 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9218 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.82937 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.5675 | ISOPROPYLBENZENE | E | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82937 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.77215 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.58 | ISOPROPYLBENZENE | E | 0.04 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77215 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.76709 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE | E | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76709 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.79089 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.9875 | ISOPROPYLBENZENE | E | 0.04 | 0.781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79089 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.8962 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE | E | 0.04 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8962 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.8481 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE | E | 0.04 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80531 | 0.09451 | 0.81013 | 0.10253 | 0.076006
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.81551 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.41692 | ISOPROPYLBENZENE | E | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81551 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.76455 | 0.065897 | 0.7856 | 0.093042 | 0.068971
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.76457 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20273 | ISOPROPYLBENZENE | E | 0.2 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76457 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.76455 | 0.065897 | 0.7856 | 0.093042 | 0.068971
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.6715 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.42294 | ISOPROPYLBENZENE | E | 0.2 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6715 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.76455 | 0.065897 | 0.7856 | 0.093042 | 0.068971
ISOPROPYLBENZENE | 4433 | 77223GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.80664 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87276 | ISOPROPYLBENZENE | E | 0.2 | 0.704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80664 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.76455 | 0.065897 | 0.7856 | 0.093042 | 0.068971