## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-05-30 | 2011-10-01 | 2013-11-30 | ug/L | 0.916 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.916 |  | 0.916 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.84092 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.2249 | ISOQUINOLINE | . | 0.04 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84092 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.87568 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.49333 | ISOQUINOLINE | . | 0.04 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87568 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.69512 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.492 | ISOQUINOLINE | . | 0.04 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69512 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.95528 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.968 | ISOQUINOLINE | . | 0.04 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95528 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-11-22 | 2011-10-01 | 2013-11-30 | ug/L | 0.80894 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.492 | ISOQUINOLINE | . | 0.04 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80894 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-01-16 | 2011-10-01 | 2013-11-30 | ug/L | 0.63008 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.968 | ISOQUINOLINE | E | 0.04 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63008 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-03-06 | 2011-10-01 | 2013-11-30 | ug/L | 0.82927 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.23 | ISOQUINOLINE | . | 0.04 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82927 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-03-07 | 2011-10-01 | 2013-11-30 | ug/L | 0.85366 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.492 | ISOQUINOLINE | . | 0.04 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85366 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-04-10 | 2011-10-01 | 2013-11-30 | ug/L | 1.0325 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.23 | ISOQUINOLINE | . | 0.04 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-07-27 | 2011-10-01 | 2013-11-30 | ug/L | 0.9248 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.968 | ISOQUINOLINE | . | 0.04 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9248 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.84463 | 0.11782 | 0.84729 | 0.11585 | 0.085881
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-09-26 | 2011-10-01 | 2013-11-30 | ug/L | 1.0806 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.062 | ISOQUINOLINE | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0806 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0806 |  | 1.0806 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-06-12 | 2011-10-01 | 2013-11-30 | ug/L | 0.8 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.155 | ISOQUINOLINE | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-11-14 | 2011-10-01 | 2013-11-30 | ug/L | 1 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.062 | ISOQUINOLINE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-06-14 | 2011-10-01 | 2013-11-30 | ug/L | 0.64516 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.155 | ISOQUINOLINE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64516 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64516 |  | 0.64516 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-12-12 | 2011-10-01 | 2013-11-30 | ug/L | 0.576 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.576 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.576 |  | 0.576 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-05-29 | 2011-10-01 | 2013-11-30 | ug/L | 0.736 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.736 |  | 0.736 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-12-20 | 2011-10-01 | 2013-11-30 | ug/L | 0.646 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.646 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.646 |  | 0.646 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-09-18 | 2011-10-01 | 2013-11-30 | ug/L | 0.824 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.824 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.824 |  | 0.824 | 0 | 0
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.25539 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOQUINOLINE | E | 0.2 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25539 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.46191 | 0.29207 | 0.46191 | 0.41305 | 0.30619
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.66844 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOQUINOLINE | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66844 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.46191 | 0.29207 | 0.46191 | 0.41305 | 0.30619
ISOQUINOLINE | 4433 | 62826GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.71471 | Restek | A070024 | Restek A070024: 20 µl | 0.40716 | ISOQUINOLINE | . | 0.2 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71471 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65568 | 0.24036 | 0.73429 | 0.030938 | 0.022934
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.74565 | Restek | A070024 | Restek A070024: 40 µl | 0.83685 | ISOQUINOLINE | . | 0.2 | 0.624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74565 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65568 | 0.24036 | 0.73429 | 0.030938 | 0.022934
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.23575 | Restek | A070024 | Restek A070024: 80 µl | 1.6331 | ISOQUINOLINE | E | 0.2 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23575 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.65568 | 0.24036 | 0.73429 | 0.030938 | 0.022934
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84799 | Restek | A070024 | Restek A070024: 20 µl | 0.41746 | ISOQUINOLINE | . | 0.2 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84799 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65568 | 0.24036 | 0.73429 | 0.030938 | 0.022934
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.73429 | Restek | A070024 | Restek A070024: 40 µl | 0.81303 | ISOQUINOLINE | . | 0.2 | 0.597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73429 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65568 | 0.24036 | 0.73429 | 0.030938 | 0.022934
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-07-31 | 2011-10-01 | 2013-11-30 | ug/L | 0.908 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.798 | 0.15556 | 0.798 | 0.22 | 0.16308
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-03-27 | 2011-10-01 | 2013-11-30 | ug/L | 0.688 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.25 | ISOQUINOLINE | . | 0.04 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.688 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.798 | 0.15556 | 0.798 | 0.22 | 0.16308
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-12-19 | 2011-10-01 | 2013-11-30 | ug/L | 0.543 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1 | ISOQUINOLINE | . | 0.04 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.543 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6395 | 0.13647 | 0.6395 | 0.193 | 0.14307
ISOQUINOLINE | 4433 | 62826GCM99 | 2013-02-07 | 2011-10-01 | 2013-11-30 | ug/L | 0.736 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.5 | ISOQUINOLINE | . | 0.04 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6395 | 0.13647 | 0.6395 | 0.193 | 0.14307
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.78145 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.50803 | ISOQUINOLINE | . | 0.04 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78145 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.91311 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.50925 | ISOQUINOLINE | . | 0.04 | 0.465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91311 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.90035 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.0214 | ISOQUINOLINE | . | 0.04 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90035 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.8245 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.0376 | ISOQUINOLINE | . | 0.04 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8245 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-10-04 | 2011-10-01 | 2013-11-30 | ug/L | 0.86769 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5094 | ISOQUINOLINE | . | 0.04 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86769 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2011-11-22 | 2011-10-01 | 2013-11-30 | ug/L | 0.60777 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.2735 | ISOQUINOLINE | . | 0.04 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60777 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-03-01 | 2011-10-01 | 2013-11-30 | ug/L | 0.70082 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5094 | ISOQUINOLINE | . | 0.04 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70082 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2012-07-26 | 2011-10-01 | 2013-11-30 | ug/L | 1.1288 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.5094 | ISOQUINOLINE | . | 0.04 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1288 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84056 | 0.15589 | 0.84609 | 0.16559 | 0.12275
ISOQUINOLINE | 4433 | 62826GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.46998 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.82983 | ISOQUINOLINE | . | 0.2 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46998 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54916 | 0.14144 | 0.55345 | 0.23514 | 0.17431
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.63691 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.40351 | ISOQUINOLINE | . | 0.2 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63691 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54916 | 0.14144 | 0.55345 | 0.23514 | 0.17431
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.3932 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.84181 | ISOQUINOLINE | . | 0.2 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3932 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.54916 | 0.14144 | 0.55345 | 0.23514 | 0.17431
ISOQUINOLINE | 4433 | 62826GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.69655 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.7371 | ISOQUINOLINE | E | 0.2 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69655 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.54916 | 0.14144 | 0.55345 | 0.23514 | 0.17431