## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MENTHOL | 4433 | 62827GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.84611 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.7304 | MENTHOL | . | 0.32 | 0.618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84611 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84611 |  | 0.84611 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.4555 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2 | MENTHOL | E | 0.32 | 0.911 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4555 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.4555 |  | 0.4555 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0565 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.726 | MENTHOL | . | 0.32 | 0.767 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0565 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0565 |  | 1.0565 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.61796 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 7.282 | MENTHOL | E | 0.32 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61796 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.61796 |  | 0.61796 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.964 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.964 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.055 | 0.12869 | 1.055 | 0.182 | 0.13491
MENTHOL | 4433 | 62827GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.146 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.146 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.055 | 0.12869 | 1.055 | 0.182 | 0.13491
MENTHOL | 4433 | 62827GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.12 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 1 | MENTHOL | . | 0.32 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.12 |  | 1.12 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 1.0657 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.61741 | MENTHOL | . | 0.32 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0657 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.0616 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.24867 | MENTHOL | . | 0.32 | 0.264 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0616 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.77823 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.248 | MENTHOL | . | 0.32 | 0.193 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77823 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.0282 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.992 | MENTHOL | . | 0.32 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0282 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.004 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.248 | MENTHOL | . | 0.32 | 0.249 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.004 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.61996 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.992 | MENTHOL | . | 0.32 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61996 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.88387 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.62 | MENTHOL | E | 0.32 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88387 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.004 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.248 | MENTHOL | E | 0.32 | 0.249 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.004 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.2887 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.62 | MENTHOL | E | 0.32 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2887 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.002 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.992 | MENTHOL | . | 0.32 | 0.994 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97365 | 0.18027 | 1.004 | 0.17777 | 0.13178
MENTHOL | 4433 | 62827GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75069 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.726 | MENTHOL | . | 0.32 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75069 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75069 |  | 0.75069 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.1446 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.826 | MENTHOL | . | 0.32 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1446 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1446 |  | 1.1446 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.268 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.268 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.268 |  | 1.268 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.09 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.09 |  | 1.09 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.64893 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | MENTHOL | . | 0.2 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64893 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.74993 | 0.14283 | 0.74993 | 0.20199 | 0.14973
MENTHOL | 4433 | 62827GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.85092 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | MENTHOL | . | 0.2 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85092 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.74993 | 0.14283 | 0.74993 | 0.20199 | 0.14973
MENTHOL | 4433 | 62827GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.96798 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | MENTHOL | . | 0.32 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96798 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.87657 | 0.12928 | 0.87657 | 0.18282 | 0.13553
MENTHOL | 4433 | 62827GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.78516 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | MENTHOL | . | 0.32 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78516 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.87657 | 0.12928 | 0.87657 | 0.18282 | 0.13553
MENTHOL | 4433 | 62827GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.58539 | Restek | A070024 | Restek A070024: 20 µl | 0.45611 | MENTHOL | E | 0.2 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58539 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.76524 | 0.12513 | 0.81029 | 0.17637 | 0.13074
MENTHOL | 4433 | 62827GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.8651 | Restek | A070024 | Restek A070024: 40 µl | 0.93747 | MENTHOL | . | 0.2 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8651 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76524 | 0.12513 | 0.81029 | 0.17637 | 0.13074
MENTHOL | 4433 | 62827GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.68872 | Restek | A070024 | Restek A070024: 80 µl | 1.8295 | MENTHOL | E | 0.2 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68872 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.76524 | 0.12513 | 0.81029 | 0.17637 | 0.13074
MENTHOL | 4433 | 62827GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.87673 | Restek | A070024 | Restek A070024: 20 µl | 0.46765 | MENTHOL | . | 0.2 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87673 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76524 | 0.12513 | 0.81029 | 0.17637 | 0.13074
MENTHOL | 4433 | 62827GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.81029 | Restek | A070024 | Restek A070024: 40 µl | 0.91079 | MENTHOL | . | 0.2 | 0.738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81029 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76524 | 0.12513 | 0.81029 | 0.17637 | 0.13074
MENTHOL | 4433 | 62827GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.935 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | MENTHOL | . | 0.32 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9975 | 0.088388 | 0.9975 | 0.125 | 0.092661
MENTHOL | 4433 | 62827GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.06 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | MENTHOL | . | 0.32 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9975 | 0.088388 | 0.9975 | 0.125 | 0.092661
MENTHOL | 4433 | 62827GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.845 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | MENTHOL | . | 0.32 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.845 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.845 |  | 0.845 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.83425 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.25052 | MENTHOL | . | 0.32 | 0.209 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83425 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.77651 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.25112 | MENTHOL | . | 0.32 | 0.195 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77651 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.96105 | Supelco | LB77171 | Supelco LB77171: 80 µl | 0.99683 | MENTHOL | . | 0.32 | 0.958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96105 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.92655 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.0048 | MENTHOL | . | 0.32 | 0.931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92655 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.4013 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2512 | MENTHOL | . | 0.32 | 0.352 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4013 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.91879 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.628 | MENTHOL | . | 0.32 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91879 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 2.5 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2512 | MENTHOL | E | 0.32 | 0.628 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856 | 2
MENTHOL | 4433 | 62827GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.5215 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.2512 | MENTHOL | . | 0.32 | 0.131 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.5215 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 1.0425 | 0.45771 | 0.92267 | 0.37578 | 0.27856
MENTHOL | 4433 | 62827GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.866 | Supelco | LB92782 | Supelco LB92782: 20 µl | 0.5 | MENTHOL | . | 0.32 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.866 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.866 |  | 0.866 | 0 | 0
MENTHOL | 4433 | 62827GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2903 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.93005 | MENTHOL | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2903 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93172 | 0.24376 | 0.83991 | 0.30025 | 0.22257
MENTHOL | 4433 | 62827GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.87343 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.45224 | MENTHOL | . | 0.2 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87343 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93172 | 0.24376 | 0.83991 | 0.30025 | 0.22257
MENTHOL | 4433 | 62827GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.75678 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.94347 | MENTHOL | . | 0.2 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75678 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93172 | 0.24376 | 0.83991 | 0.30025 | 0.22257
MENTHOL | 4433 | 62827GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.8064 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.9469 | MENTHOL | . | 0.2 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8064 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93172 | 0.24376 | 0.83991 | 0.30025 | 0.22257