## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METALAXYL | 4433 | 04254GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.97436 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.48545 | METALAXYL | . | 0.16 | 0.473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97436 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.1241 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.192 | METALAXYL | . | 0.16 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1241 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 1.0373 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.46852 | METALAXYL | . | 0.16 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0373 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.88542 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1972 | METALAXYL | . | 0.16 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 1.0273 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.477 | METALAXYL | . | 0.16 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0273 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.95912 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.908 | METALAXYL | . | 0.16 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95912 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84277 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.477 | METALAXYL | . | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84277 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0985 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1925 | METALAXYL | . | 0.16 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0985 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.1635 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.477 | METALAXYL | . | 0.16 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1635 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.98952 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1925 | METALAXYL | . | 0.16 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98952 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0102 | 0.10179 | 1.0084 | 0.13941 | 0.10335
METALAXYL | 4433 | 04254GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.73513 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.3535 | METALAXYL | . | 0.16 | 0.995 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73513 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.73513 |  | 0.73513 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.70318 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.5404 | METALAXYL | . | 0.16 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70318 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70318 |  | 0.70318 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.91331 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0256 | METALAXYL | . | 0.16 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91331 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91331 |  | 0.91331 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.82642 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0128 | METALAXYL | . | 0.16 | 0.837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82642 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82642 |  | 0.82642 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.88185 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4706 | METALAXYL | . | 0.16 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88185 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.79919 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.46673 | METALAXYL | . | 0.16 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79918 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.91368 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.8934 | METALAXYL | . | 0.16 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91368 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.81394 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.1905 | METALAXYL | . | 0.16 | 0.969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81394 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.0773 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4762 | METALAXYL | . | 0.16 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.44099 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.1905 | METALAXYL | E | 0.16 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44099 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.88723 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.9048 | METALAXYL | . | 0.16 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88723 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.99958 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4762 | METALAXYL | . | 0.16 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99958 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.99118 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.1905 | METALAXYL | . | 0.16 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99118 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.79798 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.9048 | METALAXYL | . | 0.16 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79798 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86029 | 0.17424 | 0.88454 | 0.192 | 0.14232
METALAXYL | 4433 | 04254GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.80626 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.16868 | METALAXYL | E | 0.2 | 0.136 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.80626 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0373 | 0.2297 | 1.0401 | 0.45937 | 0.34053
METALAXYL | 4433 | 04254GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0401 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.33937 | METALAXYL | . | 0.2 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0401 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0373 | 0.2297 | 1.0401 | 0.45937 | 0.34053
METALAXYL | 4433 | 04254GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.2656 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.086913 | METALAXYL | E | 0.2 | 0.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2656 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0373 | 0.2297 | 1.0401 | 0.45937 | 0.34053
METALAXYL | 4433 | 04254GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.88617 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.5394 | METALAXYL | . | 0.16 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88617 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.88617 |  | 0.88617 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.61293 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 2.692 | METALAXYL | E | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61293 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.61293 |  | 0.61293 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.878 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METALAXYL | . | 0.16 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.878 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.927 | 0.069296 | 0.927 | 0.098 | 0.072646
METALAXYL | 4433 | 04254GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.976 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METALAXYL | . | 0.16 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.976 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.927 | 0.069296 | 0.927 | 0.098 | 0.072646
METALAXYL | 4433 | 04254GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0059 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2714 | METALAXYL | . | 0.16 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0059 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0059 |  | 1.0059 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.8237 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.675 | METALAXYL | . | 0.16 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8237 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8237 |  | 0.8237 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.76119 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.268 | METALAXYL | . | 0.16 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76119 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76119 |  | 0.76119 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.82988 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.676 | METALAXYL | . | 0.16 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82988 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82988 |  | 0.82988 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.91133 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0128 | METALAXYL | . | 0.16 | 0.923 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91133 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91133 |  | 0.91133 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.872 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | METALAXYL | . | 0.16 | 0.872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.872 |  | 0.872 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0362 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.085888 | METALAXYL | E | 0.2 | 0.089 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0362 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.85778 | 0.23282 | 0.9154 | 0.36591 | 0.27124
METALAXYL | 4433 | 04254GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.79457 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.16864 | METALAXYL | E | 0.2 | 0.134 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79457 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.85778 | 0.23282 | 0.9154 | 0.36591 | 0.27124
METALAXYL | 4433 | 04254GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.55507 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.3459 | METALAXYL | E | 0.2 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55507 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.85778 | 0.23282 | 0.9154 | 0.36591 | 0.27124
METALAXYL | 4433 | 04254GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0452 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.17412 | METALAXYL | E | 0.2 | 0.182 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0452 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.85778 | 0.23282 | 0.9154 | 0.36591 | 0.27124
METALAXYL | 4433 | 04254GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.75255 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | METALAXYL | . | 0.2 | 0.719 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75255 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.85197 | 0.1406 | 0.85197 | 0.19884 | 0.1474
METALAXYL | 4433 | 04254GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.95139 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | METALAXYL | . | 0.2 | 0.928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95139 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.85197 | 0.1406 | 0.85197 | 0.19884 | 0.1474
METALAXYL | 4433 | 04254GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1417 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | METALAXYL | . | 0.16 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1417 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0513 | 0.12783 | 1.0513 | 0.18078 | 0.13401
METALAXYL | 4433 | 04254GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96094 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | METALAXYL | . | 0.16 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96094 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0513 | 0.12783 | 1.0513 | 0.18078 | 0.13401
METALAXYL | 4433 | 04254GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.013 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5064 | METALAXYL | . | 0.16 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.013 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83926 | 0.24576 | 0.83926 | 0.34755 | 0.25764
METALAXYL | 4433 | 04254GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.66548 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5064 | METALAXYL | . | 0.16 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66548 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83926 | 0.24576 | 0.83926 | 0.34755 | 0.25764
METALAXYL | 4433 | 04254GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.66765 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.357 | METALAXYL | . | 0.16 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66765 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.66765 |  | 0.66765 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.90741 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.27 | METALAXYL | . | 0.16 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90741 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90741 |  | 0.90741 | 0 | 0
METALAXYL | 4433 | 04254GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | METALAXYL | . | 0.16 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71 |  | 0.71 | 0 | 0