## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.75316 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.106 | METHYL_SALICYLATE | . | 0.08 | 0.833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75316 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.75316 |  | 0.75316 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.95045 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.222 | METHYL_SALICYLATE | . | 0.08 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95045 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95045 |  | 0.95045 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81586 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0224 | METHYL_SALICYLATE | . | 0.08 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81586 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81586 |  | 0.81586 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.80004 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0112 | METHYL_SALICYLATE | . | 0.08 | 0.809 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80004 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80004 |  | 0.80004 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.98457 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2204 | METHYL_SALICYLATE | . | 0.08 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98457 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.98457 |  | 0.98457 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.862 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METHYL_SALICYLATE | . | 0.08 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.862 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.907 | 0.06364 | 0.907 | 0.09 | 0.066716
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.952 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | METHYL_SALICYLATE | . | 0.08 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.952 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.907 | 0.06364 | 0.907 | 0.09 | 0.066716
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.73019 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.2846 | METHYL_SALICYLATE | . | 0.08 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73019 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.034 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.5174 | METHYL_SALICYLATE | . | 0.08 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.034 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.70736 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.516 | METHYL_SALICYLATE | . | 0.08 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70736 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.92054 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.064 | METHYL_SALICYLATE | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92054 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.78682 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.516 | METHYL_SALICYLATE | . | 0.08 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78682 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.93508 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.064 | METHYL_SALICYLATE | . | 0.08 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93508 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81395 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.29 | METHYL_SALICYLATE | . | 0.08 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81395 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.91085 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.516 | METHYL_SALICYLATE | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91085 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.83721 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.29 | METHYL_SALICYLATE | . | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83721 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.83818 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.064 | METHYL_SALICYLATE | . | 0.08 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83818 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.85142 | 0.10003 | 0.83769 | 0.13372 | 0.099126
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.83485 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2204 | METHYL_SALICYLATE | . | 0.08 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83485 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.83485 |  | 0.83485 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.7964 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.555 | METHYL_SALICYLATE | . | 0.08 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7964 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7964 |  | 0.7964 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.81092 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0112 | METHYL_SALICYLATE | . | 0.08 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81092 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81092 |  | 0.81092 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.889 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | METHYL_SALICYLATE | . | 0.08 | 0.889 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.889 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.889 |  | 0.889 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.65521 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | METHYL_SALICYLATE | . | 0.2 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65521 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.73769 | 0.11664 | 0.73769 | 0.16495 | 0.12228
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.82017 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | METHYL_SALICYLATE | . | 0.2 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82017 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.73769 | 0.11664 | 0.73769 | 0.16495 | 0.12228
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1268 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | METHYL_SALICYLATE | . | 0.08 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1268 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0415 | 0.12062 | 1.0415 | 0.17058 | 0.12645
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.95625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | METHYL_SALICYLATE | . | 0.08 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0415 | 0.12062 | 1.0415 | 0.17058 | 0.12645
METHYL SALICYLATE | 4433 | 62828GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.61329 | Restek | A070024 | Restek A070024: 20 µl | 0.34405 | METHYL_SALICYLATE | . | 0.2 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61329 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67551 | 0.086744 | 0.71155 | 0.11075 | 0.082101
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72404 | Restek | A070024 | Restek A070024: 40 µl | 0.70714 | METHYL_SALICYLATE | . | 0.2 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72404 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67551 | 0.086744 | 0.71155 | 0.11075 | 0.082101
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.5587 | Restek | A070024 | Restek A070024: 80 µl | 1.38 | METHYL_SALICYLATE | E | 0.2 | 0.771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5587 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.67551 | 0.086744 | 0.71155 | 0.11075 | 0.082101
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.71155 | Restek | A070024 | Restek A070024: 20 µl | 0.35275 | METHYL_SALICYLATE | . | 0.2 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71155 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67551 | 0.086744 | 0.71155 | 0.11075 | 0.082101
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.77 | Restek | A070024 | Restek A070024: 40 µl | 0.68702 | METHYL_SALICYLATE | . | 0.2 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67551 | 0.086744 | 0.71155 | 0.11075 | 0.082101
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.91772 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5056 | METHYL_SALICYLATE | . | 0.08 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91772 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84256 | 0.10629 | 0.84256 | 0.15032 | 0.11143
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.76741 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5056 | METHYL_SALICYLATE | . | 0.08 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76741 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84256 | 0.10629 | 0.84256 | 0.15032 | 0.11143
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.70599 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.102 | METHYL_SALICYLATE | . | 0.08 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70599 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.70599 |  | 0.70599 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.93243 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.222 | METHYL_SALICYLATE | . | 0.08 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93243 |  | 0.93243 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.745 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | METHYL_SALICYLATE | . | 0.08 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.745 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.745 |  | 0.745 | 0 | 0
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.67299 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.51561 | METHYL_SALICYLATE | . | 0.08 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67299 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.84745 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.51684 | METHYL_SALICYLATE | . | 0.08 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84745 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.83838 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.0516 | METHYL_SALICYLATE | . | 0.08 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83838 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.83656 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.068 | METHYL_SALICYLATE | . | 0.08 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83656 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.90329 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.517 | METHYL_SALICYLATE | . | 0.08 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90329 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.88201 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.2925 | METHYL_SALICYLATE | . | 0.08 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88201 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.82592 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.517 | METHYL_SALICYLATE | . | 0.08 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82592 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.98646 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.517 | METHYL_SALICYLATE | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98646 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84913 | 0.08841 | 0.84291 | 0.061412 | 0.045524
METHYL SALICYLATE | 4433 | 62828GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.70986 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.70154 | METHYL_SALICYLATE | . | 0.2 | 0.498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70986 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62904 | 0.10485 | 0.66356 | 0.14361 | 0.10646
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.69182 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.34113 | METHYL_SALICYLATE | . | 0.2 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69182 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62904 | 0.10485 | 0.66356 | 0.14361 | 0.10646
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.47915 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.71167 | METHYL_SALICYLATE | E | 0.2 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47915 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.62904 | 0.10485 | 0.66356 | 0.14361 | 0.10646
METHYL SALICYLATE | 4433 | 62828GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.63531 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.4686 | METHYL_SALICYLATE | . | 0.2 | 0.933 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63531 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62904 | 0.10485 | 0.66356 | 0.14361 | 0.10646