## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
P-CRESOL | 4433 | 77146GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.75496 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.706 | P-CRESOL | . | 0.08 | 0.533 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75496 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.75496 |  | 0.75496 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.96479 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.142 | P-CRESOL | . | 0.08 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96479 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96479 |  | 0.96479 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.83005 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.0144 | P-CRESOL | . | 0.08 | 0.842 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83005 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83005 |  | 0.83005 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.89314 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5072 | P-CRESOL | . | 0.08 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89314 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89314 |  | 0.89314 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0328 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1404 | P-CRESOL | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0328 |  | 1.0328 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.808 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | P-CRESOL | . | 0.08 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.808 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.914 | 0.14991 | 0.914 | 0.212 | 0.15715
P-CRESOL | 4433 | 77146GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.02 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | P-CRESOL | . | 0.08 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.914 | 0.14991 | 0.914 | 0.212 | 0.15715
P-CRESOL | 4433 | 77146GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.78662 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.83649 | P-CRESOL | . | 0.08 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78662 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.0596 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.33691 | P-CRESOL | . | 0.08 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0596 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.6994 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.336 | P-CRESOL | . | 0.08 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6994 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.89286 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.344 | P-CRESOL | . | 0.08 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.84821 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.336 | P-CRESOL | . | 0.08 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84821 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.95982 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.344 | P-CRESOL | . | 0.08 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95982 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.92619 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.84 | P-CRESOL | . | 0.08 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92619 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.84226 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.336 | P-CRESOL | . | 0.08 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84226 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.90238 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.84 | P-CRESOL | . | 0.08 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90238 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.93006 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.344 | P-CRESOL | . | 0.08 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93006 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88474 | 0.098594 | 0.89762 | 0.087798 | 0.065083
P-CRESOL | 4433 | 77146GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.95442 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1404 | P-CRESOL | . | 0.08 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95442 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.95442 |  | 0.95442 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.83662 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.355 | P-CRESOL | . | 0.08 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83662 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83662 |  | 0.83662 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.6802 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5072 | P-CRESOL | . | 0.08 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68021 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.68021 |  | 0.68021 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.796 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | P-CRESOL | . | 0.08 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.796 |  | 0.796 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.55264 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | P-CRESOL | . | 0.2 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55264 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.70998 | 0.22252 | 0.70998 | 0.31469 | 0.23327
P-CRESOL | 4433 | 77146GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.86733 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | P-CRESOL | . | 0.2 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86733 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.70998 | 0.22252 | 0.70998 | 0.31469 | 0.23327
P-CRESOL | 4433 | 77146GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1516 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | P-CRESOL | . | 0.08 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1516 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0485 | 0.1459 | 1.0485 | 0.20634 | 0.15295
P-CRESOL | 4433 | 77146GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94531 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | P-CRESOL | . | 0.08 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94531 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0485 | 0.1459 | 1.0485 | 0.20634 | 0.15295
P-CRESOL | 4433 | 77146GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.58949 | Restek | A070024 | Restek A070024: 20 µl | 0.29686 | P-CRESOL | E | 0.2 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58949 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.61576 | 0.09273 | 0.60312 | 0.077447 | 0.057411
P-CRESOL | 4433 | 77146GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.60312 | Restek | A070024 | Restek A070024: 40 µl | 0.61016 | P-CRESOL | . | 0.2 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60312 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.61576 | 0.09273 | 0.60312 | 0.077447 | 0.057411
P-CRESOL | 4433 | 77146GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.48541 | Restek | A070024 | Restek A070024: 80 µl | 1.1907 | P-CRESOL | E | 0.2 | 0.578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48541 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.61576 | 0.09273 | 0.60312 | 0.077447 | 0.057411
P-CRESOL | 4433 | 77146GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.66694 | Restek | A070024 | Restek A070024: 20 µl | 0.30437 | P-CRESOL | . | 0.2 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66694 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.61576 | 0.09273 | 0.60312 | 0.077447 | 0.057411
P-CRESOL | 4433 | 77146GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.73381 | Restek | A070024 | Restek A070024: 40 µl | 0.5928 | P-CRESOL | . | 0.2 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73381 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.61576 | 0.09273 | 0.60312 | 0.077447 | 0.057411
P-CRESOL | 4433 | 77146GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.95032 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2536 | P-CRESOL | . | 0.08 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95032 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78667 | 0.23143 | 0.78667 | 0.32729 | 0.24261
P-CRESOL | 4433 | 77146GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.62303 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2536 | P-CRESOL | . | 0.08 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62303 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78667 | 0.23143 | 0.78667 | 0.32729 | 0.24261
P-CRESOL | 4433 | 77146GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54558 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.702 | P-CRESOL | . | 0.08 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54558 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.54558 |  | 0.54558 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.80282 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.142 | P-CRESOL | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80282 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80282 |  | 0.80282 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | P-CRESOL | . | 0.08 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73 |  | 0.73 | 0 | 0
P-CRESOL | 4433 | 77146GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.6022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.34208 | P-CRESOL | . | 0.08 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6022 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.89823 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3429 | P-CRESOL | . | 0.08 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89823 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.88163 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.3611 | P-CRESOL | . | 0.08 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88163 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.8965 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.372 | P-CRESOL | E | 0.08 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8965 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.83673 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.343 | P-CRESOL | . | 0.08 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83673 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.7965 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.8575 | P-CRESOL | . | 0.08 | 0.683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7965 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.83382 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.343 | P-CRESOL | . | 0.08 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83382 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0175 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.343 | P-CRESOL | . | 0.08 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0175 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84539 | 0.11837 | 0.85918 | 0.082205 | 0.060938
P-CRESOL | 4433 | 77146GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.70705 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.60533 | P-CRESOL | . | 0.2 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70705 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59056 | 0.091473 | 0.58007 | 0.1391 | 0.10311
P-CRESOL | 4433 | 77146GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.54697 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.29435 | P-CRESOL | E | 0.2 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54697 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.59056 | 0.091473 | 0.58007 | 0.1391 | 0.10311
P-CRESOL | 4433 | 77146GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.49506 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.61407 | P-CRESOL | . | 0.2 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49506 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59056 | 0.091473 | 0.58007 | 0.1391 | 0.10311
P-CRESOL | 4433 | 77146GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.61317 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.2672 | P-CRESOL | . | 0.2 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61317 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59056 | 0.091473 | 0.58007 | 0.1391 | 0.10311