## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.27837 | Accu | 209081217 | Accu 209081217: 20 µl | 1.9686 | PENTACHLOROPHENOL | E | 0.8 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27837 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.4592 | 0.18935 | 0.44317 | 0.37767 | 0.27997
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.44317 | Accu | 209081217 | Accu 209081217: 40 µl | 4.3098 | PENTACHLOROPHENOL | E | 0.8 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44317 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.4592 | 0.18935 | 0.44317 | 0.37767 | 0.27997
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.65605 | Accu | 209081217 | Accu 209081217: 80 µl | 8.0177 | PENTACHLOROPHENOL | E | 0.8 | 5.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65605 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.4592 | 0.18935 | 0.44317 | 0.37767 | 0.27997
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.68114 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 4.008 | PENTACHLOROPHENOL | E | 1.6 | 2.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68114 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.68114 |  | 0.68114 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.871 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 10 | PENTACHLOROPHENOL | E | 1.6 | 8.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.871 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.871 |  | 0.871 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.685 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 4 | PENTACHLOROPHENOL | E | 1.6 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.685 |  | 0.685 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.52448 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 40.04 | PENTACHLOROPHENOL | E | 1.6 | 21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52448 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.52448 |  | 0.52448 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.588 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.5 | PENTACHLOROPHENOL | E | 1.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.588 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.612 | 0.033941 | 0.612 | 0.048 | 0.035582
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.636 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 2.5 | PENTACHLOROPHENOL | E | 1.6 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.612 | 0.033941 | 0.612 | 0.048 | 0.035582
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.882 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 5 | PENTACHLOROPHENOL | E | 1.6 | 4.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.882 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.882 |  | 0.882 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.79163 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.4107 | PENTACHLOROPHENOL | E | 1.6 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79163 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.2812 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.3737 | PENTACHLOROPHENOL | E | 1.6 | 1.76 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2812 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.31387 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.37 | PENTACHLOROPHENOL | E | 1.6 | 0.43 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.31387 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.88686 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.48 | PENTACHLOROPHENOL | E | 1.6 | 4.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88686 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.93431 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.37 | PENTACHLOROPHENOL | E | 1.6 | 1.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93431 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94708 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.48 | PENTACHLOROPHENOL | E | 1.6 | 5.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94708 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.75328 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.425 | PENTACHLOROPHENOL | E | 1.6 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75328 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.72263 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.37 | PENTACHLOROPHENOL | E | 1.6 | 0.99 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72263 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.72993 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.425 | PENTACHLOROPHENOL | E | 1.6 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72993 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.89051 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.48 | PENTACHLOROPHENOL | E | 1.6 | 4.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89051 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.82513 | 0.2427 | 0.83925 | 0.20438 | 0.1515
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.24425 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 7.8609 | PENTACHLOROPHENOL | E | 0.8 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24425 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.45254 | 0.19934 | 0.42772 | 0.29656 | 0.21984
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.36428 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.9326 | PENTACHLOROPHENOL | E | 0.8 | 0.704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36428 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.45254 | 0.19934 | 0.42772 | 0.29656 | 0.21984
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.71049 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9691 | PENTACHLOROPHENOL | E | 0.8 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71049 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.45254 | 0.19934 | 0.42772 | 0.29656 | 0.21984
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.49116 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 4.0516 | PENTACHLOROPHENOL | E | 0.8 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49116 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.45254 | 0.19934 | 0.42772 | 0.29656 | 0.21984
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.2525 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 4 | PENTACHLOROPHENOL | E | 1.6 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2525 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.2525 |  | 0.2525 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.62475 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 10.02 | PENTACHLOROPHENOL | E | 1.6 | 6.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62475 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.62475 |  | 0.62475 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 2.5 | PENTACHLOROPHENOL | E | 1.6 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96645 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2.504 | PENTACHLOROPHENOL | E | 1.6 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96645 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.96645 |  | 0.96645 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.91244 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | PENTACHLOROPHENOL | E | 0.8 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91244 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.91244 |  | 0.91244 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.78183 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | PENTACHLOROPHENOL | E | 1.6 | 0.63 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78183 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.78154 | 0.0004101 | 0.78154 | 0.00057997 | 0.00042993
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.78125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | PENTACHLOROPHENOL | E | 1.6 | 1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78125 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.78154 | 0.0004101 | 0.78154 | 0.00057997 | 0.00042993
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.76078 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 10.016 | PENTACHLOROPHENOL | E | 1.6 | 7.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76078 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7508 | 0.01412 | 0.7508 | 0.019968 | 0.014802
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.74081 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 5.008 | PENTACHLOROPHENOL | E | 1.6 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74081 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7508 | 0.01412 | 0.7508 | 0.019968 | 0.014802
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.70787 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 10.016 | PENTACHLOROPHENOL | E | 1.6 | 7.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70787 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.70787 |  | 0.70787 | 0 | 0
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.6949 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3671 | PENTACHLOROPHENOL | E | 1.6 | 0.95 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6949 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.97053 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3704 | PENTACHLOROPHENOL | E | 1.6 | 1.33 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97053 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.82174 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.4397 | PENTACHLOROPHENOL | E | 1.6 | 4.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82174 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.82434 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.4832 | PENTACHLOROPHENOL | E | 1.6 | 4.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82434 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.41582 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3708 | PENTACHLOROPHENOL | E | 1.6 | 0.57 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41582 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.68281 | Supelco | LB77171 | Supelco LB77171: 50 µl | 3.427 | PENTACHLOROPHENOL | E | 1.6 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68281 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.69303 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3708 | PENTACHLOROPHENOL | E | 1.6 | 0.95 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69303 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.79516 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.3708 | PENTACHLOROPHENOL | E | 1.6 | 1.09 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79516 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 0.73729 | 0.16148 | 0.74503 | 0.13512 | 0.10016
PENTACHLOROPHENOL | 4433 | 39032GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.0304 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2.504 | PENTACHLOROPHENOL | E | 1.6 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0304 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.0304 |  | 1.0304 | 0 | 0