## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHENANTHRENE | 4433 | 34461GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.69667 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.30287 | PHENANTHRENE | . | 0.02 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69667 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.98023 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.7437 | PHENANTHRENE | . | 0.02 | 0.729 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98023 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.8621 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.29231 | PHENANTHRENE | . | 0.02 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8621 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.86891 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.74691 | PHENANTHRENE | . | 0.02 | 0.649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86891 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.82325 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2976 | PHENANTHRENE | . | 0.02 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82325 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.95766 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.1904 | PHENANTHRENE | . | 0.02 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95766 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.71573 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2976 | PHENANTHRENE | . | 0.02 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71573 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.039 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.744 | PHENANTHRENE | . | 0.02 | 0.773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.039 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0282 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2976 | PHENANTHRENE | . | 0.02 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0282 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84812 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.744 | PHENANTHRENE | . | 0.02 | 0.631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84812 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88199 | 0.11952 | 0.86551 | 0.15698 | 0.11637
PHENANTHRENE | 4433 | 34461GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3 | PHENANTHRENE | . | 0.02 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.72623 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.29054 | PHENANTHRENE | . | 0.02 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72623 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.8329 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.28815 | PHENANTHRENE | . | 0.02 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8329 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.87255 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.169 | PHENANTHRENE | . | 0.02 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87255 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.73197 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.735 | PHENANTHRENE | . | 0.02 | 0.538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73197 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.92177 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.294 | PHENANTHRENE | . | 0.02 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92177 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54694 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.735 | PHENANTHRENE | E | 0.02 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54694 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95238 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.176 | PHENANTHRENE | . | 0.02 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.86395 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.294 | PHENANTHRENE | . | 0.02 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86395 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.90612 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.735 | PHENANTHRENE | . | 0.02 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90612 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.73469 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.176 | PHENANTHRENE | . | 0.02 | 0.864 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73469 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.80895 | 0.12352 | 0.84842 | 0.17415 | 0.1291
PHENANTHRENE | 4433 | 34461GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.58738 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.53798 | PHENANTHRENE | . | 0.2 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58738 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.68929 | 0.088261 | 0.73954 | 0.15357 | 0.11384
PHENANTHRENE | 4433 | 34461GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.74095 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.0824 | PHENANTHRENE | . | 0.2 | 0.802 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74095 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.68929 | 0.088261 | 0.73954 | 0.15357 | 0.11384
PHENANTHRENE | 4433 | 34461GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.73954 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.2772 | PHENANTHRENE | . | 0.2 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73954 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.68929 | 0.088261 | 0.73954 | 0.15357 | 0.11384
PHENANTHRENE | 4433 | 34461GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.05 | PHENANTHRENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.816 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.125 | PHENANTHRENE | . | 0.02 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.816 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.816 |  | 0.816 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.05 | PHENANTHRENE | . | 0.02 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.912 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.125 | PHENANTHRENE | . | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.912 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.912 |  | 0.912 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.77333 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.3 | PHENANTHRENE | . | 0.02 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77333 |  | 0.77333 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.81333 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.15 | PHENANTHRENE | . | 0.02 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81333 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81333 |  | 0.81333 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.3 | PHENANTHRENE | . | 0.02 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69 |  | 0.69 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.15 | PHENANTHRENE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86667 |  | 0.86667 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.67842 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.27564 | PHENANTHRENE | E | 0.2 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67842 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.61012 | 0.050334 | 0.60098 | 0.070731 | 0.052432
PHENANTHRENE | 4433 | 34461GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.5894 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.54123 | PHENANTHRENE | . | 0.2 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5894 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61012 | 0.050334 | 0.60098 | 0.070731 | 0.052432
PHENANTHRENE | 4433 | 34461GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.61255 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.1101 | PHENANTHRENE | . | 0.2 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61255 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61012 | 0.050334 | 0.60098 | 0.070731 | 0.052432
PHENANTHRENE | 4433 | 34461GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.56011 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.55882 | PHENANTHRENE | . | 0.2 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56011 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61012 | 0.050334 | 0.60098 | 0.070731 | 0.052432
PHENANTHRENE | 4433 | 34461GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66149 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | PHENANTHRENE | E | 0.2 | 0.079 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66149 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.72033 | 0.083202 | 0.72033 | 0.11766 | 0.087224
PHENANTHRENE | 4433 | 34461GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.77916 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | PHENANTHRENE | E | 0.2 | 0.095 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77916 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.72033 | 0.083202 | 0.72033 | 0.11766 | 0.087224
PHENANTHRENE | 4433 | 34461GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0027 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | PHENANTHRENE | . | 0.02 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0027 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0389 | 0.051104 | 1.0389 | 0.072272 | 0.053574
PHENANTHRENE | 4433 | 34461GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.075 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | PHENANTHRENE | . | 0.02 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0389 | 0.051104 | 1.0389 | 0.072272 | 0.053574
PHENANTHRENE | 4433 | 34461GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.15 | PHENANTHRENE | . | 0.02 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84 | 0.16971 | 0.84 | 0.24 | 0.17791
PHENANTHRENE | 4433 | 34461GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.15 | PHENANTHRENE | . | 0.02 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84 | 0.16971 | 0.84 | 0.24 | 0.17791
PHENANTHRENE | 4433 | 34461GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.6 | PHENANTHRENE | . | 0.02 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74 | 0.014142 | 0.74 | 0.02 | 0.014826
PHENANTHRENE | 4433 | 34461GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3 | PHENANTHRENE | . | 0.02 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74 | 0.014142 | 0.74 | 0.02 | 0.014826
PHENANTHRENE | 4433 | 34461GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.836 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.25 | PHENANTHRENE | . | 0.02 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.836 |  | 0.836 | 0 | 0
PHENANTHRENE | 4433 | 34461GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.05 | PHENANTHRENE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0