## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHENOL | 4433 | 34694GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.74643 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.34297 | PHENOL | . | 0.16 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74643 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.92975 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.84216 | PHENOL | . | 0.16 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92975 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.93351 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.33101 | PHENOL | E | 0.16 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93351 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.76969 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8458 | PHENOL | . | 0.16 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76969 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.68546 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.337 | PHENOL | . | 0.16 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68546 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.55267 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.348 | PHENOL | . | 0.16 | 0.745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55267 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.49852 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.337 | PHENOL | . | 0.16 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49852 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.95074 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8425 | PHENOL | . | 0.16 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95074 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.82196 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.337 | PHENOL | . | 0.16 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82196 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.62671 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.8425 | PHENOL | . | 0.16 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62671 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75154 | 0.16103 | 0.75806 | 0.30304 | 0.22464
PHENOL | 4433 | 34694GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.57676 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.5015 | PHENOL | . | 0.16 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57676 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.57676 |  | 0.57676 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.81333 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81333 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81333 |  | 0.81333 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7373 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.2288 | PHENOL | . | 0.16 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7373 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7373 |  | 0.7373 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.86914 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6144 | PHENOL | . | 0.16 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86914 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86914 |  | 0.86914 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.7742 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.33067 | PHENOL | . | 0.16 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7742 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.80502 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.32794 | PHENOL | . | 0.16 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80502 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.55772 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3304 | PHENOL | . | 0.16 | 0.742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55772 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.65989 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8365 | PHENOL | . | 0.16 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65989 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.75015 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3346 | PHENOL | . | 0.16 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75015 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.1841 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8365 | PHENOL | E | 0.16 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1841 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.70607 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3384 | PHENOL | . | 0.16 | 0.945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70607 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.72923 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3346 | PHENOL | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72923 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.60251 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.8365 | PHENOL | . | 0.16 | 0.504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60251 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.7113 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.3384 | PHENOL | . | 0.16 | 0.952 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7113 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.64802 | 0.17968 | 0.70868 | 0.14764 | 0.10944
PHENOL | 4433 | 34694GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.45191 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 2.6997 | PHENOL | . | 0.2 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45191 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.60501 | 0.13987 | 0.63702 | 0.27418 | 0.20325
PHENOL | 4433 | 34694GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.63702 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 5.4316 | PHENOL | . | 0.2 | 3.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63702 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.60501 | 0.13987 | 0.63702 | 0.27418 | 0.20325
PHENOL | 4433 | 34694GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.72609 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 1.391 | PHENOL | . | 0.2 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72609 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.60501 | 0.13987 | 0.63702 | 0.27418 | 0.20325
PHENOL | 4433 | 34694GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.80838 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.3006 | PHENOL | . | 0.16 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80838 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.80838 |  | 0.80838 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.56333 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56333 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.725 | 0.22863 | 0.725 | 0.32333 | 0.23968
PHENOL | 4433 | 34694GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88667 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.725 | 0.22863 | 0.725 | 0.32333 | 0.23968
PHENOL | 4433 | 34694GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.74518 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.3006 | PHENOL | . | 0.16 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74518 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.74518 |  | 0.74518 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.60667 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.75 | PHENOL | . | 0.16 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60667 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.60667 |  | 0.60667 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.55664 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6144 | PHENOL | . | 0.16 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55664 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.55664 |  | 0.55664 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.56833 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | PHENOL | . | 0.16 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56833 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.56833 |  | 0.56833 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.52446 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 1.3862 | PHENOL | . | 0.2 | 0.727 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52446 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.51111 | 0.027577 | 0.52199 | 0.032437 | 0.024045
PHENOL | 4433 | 34694GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.47027 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 2.7218 | PHENOL | . | 0.2 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47027 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.51111 | 0.027577 | 0.52199 | 0.032437 | 0.024045
PHENOL | 4433 | 34694GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.53021 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 5.5827 | PHENOL | . | 0.2 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53021 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.51111 | 0.027577 | 0.52199 | 0.032437 | 0.024045
PHENOL | 4433 | 34694GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.51952 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 2.8103 | PHENOL | . | 0.2 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51952 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.51111 | 0.027577 | 0.52199 | 0.032437 | 0.024045
PHENOL | 4433 | 34694GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.30144 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | PHENOL | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30144 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.50852 | 0.29285 | 0.50852 | 0.41416 | 0.30701
PHENOL | 4433 | 34694GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.7156 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | PHENOL | . | 0.2 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7156 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.50852 | 0.29285 | 0.50852 | 0.41416 | 0.30701
PHENOL | 4433 | 34694GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.77687 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | PHENOL | . | 0.16 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77687 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88218 | 0.14894 | 0.88218 | 0.21063 | 0.15614
PHENOL | 4433 | 34694GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.9875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | PHENOL | . | 0.16 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88218 | 0.14894 | 0.88218 | 0.21063 | 0.15614
PHENOL | 4433 | 34694GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.81055 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3072 | PHENOL | . | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81055 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.61035 | 0.28312 | 0.61035 | 0.40039 | 0.29681
PHENOL | 4433 | 34694GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.41016 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3072 | PHENOL | . | 0.16 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41016 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.61035 | 0.28312 | 0.61035 | 0.40039 | 0.29681
PHENOL | 4433 | 34694GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.27811 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.503 | PHENOL | . | 0.16 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27811 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.27811 |  | 0.27811 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.87 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.3 | PHENOL | . | 0.16 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87 |  | 0.87 | 0 | 0
PHENOL | 4433 | 34694GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.46333 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1.2 | PHENOL | . | 0.16 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46333 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.46333 |  | 0.46333 | 0 | 0