## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROMETON | 4433 | 39056GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.93258 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2359 | PROMETON | . | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93258 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.1238 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.57927 | PROMETON | . | 0.16 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1238 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 1.0058 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.22768 | PROMETON | . | 0.16 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0058 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.93852 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.58177 | PROMETON | . | 0.16 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93852 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 1.0181 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2318 | PROMETON | . | 0.16 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0181 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.95449 | Abs | 090910WW | Abs 090910WW: 80 µl | 0.9272 | PROMETON | . | 0.16 | 0.885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95449 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.65574 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2318 | PROMETON | . | 0.16 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65574 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.189 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.5795 | PROMETON | . | 0.16 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.189 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.1475 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.2318 | PROMETON | . | 0.16 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1475 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.91803 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.5795 | PROMETON | . | 0.16 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91803 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98836 | 0.15182 | 0.98014 | 0.19125 | 0.14177
PROMETON | 4433 | 39056GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.70197 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.6525 | PROMETON | . | 0.16 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70197 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.70197 |  | 0.70197 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.78788 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.33 | PROMETON | . | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78788 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78788 |  | 0.78788 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.78125 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.048 | PROMETON | . | 0.16 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78125 |  | 0.78125 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.81641 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.024 | PROMETON | . | 0.16 | 0.836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81641 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81641 |  | 0.81641 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.9123 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2269 | PROMETON | . | 0.16 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9123 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 1.0176 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.22503 | PROMETON | . | 0.16 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0176 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.88945 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.91292 | PROMETON | . | 0.16 | 0.812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88945 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.79268 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.574 | PROMETON | . | 0.16 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79268 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.98868 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2296 | PROMETON | . | 0.16 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98868 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.49477 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.574 | PROMETON | E | 0.16 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49477 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.93097 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9184 | PROMETON | . | 0.16 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93097 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0105 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2296 | PROMETON | . | 0.16 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0105 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.95122 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.574 | PROMETON | . | 0.16 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95122 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.83188 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9184 | PROMETON | . | 0.16 | 0.764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83188 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.882 | 0.15451 | 0.92163 | 0.15679 | 0.11623
PROMETON | 4433 | 39056GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.77246 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.21231 | PROMETON | E | 0.2 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77246 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.97537 | 0.1765 | 1.0604 | 0.32082 | 0.23782
PROMETON | 4433 | 39056GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0933 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.42716 | PROMETON | . | 0.2 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97537 | 0.1765 | 1.0604 | 0.32082 | 0.23782
PROMETON | 4433 | 39056GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0604 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.10939 | PROMETON | E | 0.2 | 0.116 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0604 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.97537 | 0.1765 | 1.0604 | 0.32082 | 0.23782
PROMETON | 4433 | 39056GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.91843 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.331 | PROMETON | . | 0.16 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91843 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.91843 |  | 0.91843 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.818 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | PROMETON | . | 0.16 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.818 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.811 | 0.0098995 | 0.811 | 0.014 | 0.010378
PROMETON | 4433 | 39056GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.804 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | PROMETON | . | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.804 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.811 | 0.0098995 | 0.811 | 0.014 | 0.010378
PROMETON | 4433 | 39056GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.8852 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.331 | PROMETON | . | 0.16 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8852 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.8852 |  | 0.8852 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.79394 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.825 | PROMETON | . | 0.16 | 0.655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79394 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79394 |  | 0.79394 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.76367 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.024 | PROMETON | . | 0.16 | 0.782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76367 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76367 |  | 0.76367 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.708 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | PROMETON | . | 0.16 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.708 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.708 |  | 0.708 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0662 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.10786 | PROMETON | E | 0.2 | 0.115 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0662 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.82148 | 0.24158 | 0.86353 | 0.32873 | 0.24368
PROMETON | 4433 | 39056GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.82159 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.21179 | PROMETON | E | 0.2 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82159 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82148 | 0.24158 | 0.86353 | 0.32873 | 0.24368
PROMETON | 4433 | 39056GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.49265 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.43439 | PROMETON | . | 0.2 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49265 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82148 | 0.24158 | 0.86353 | 0.32873 | 0.24368
PROMETON | 4433 | 39056GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.90548 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.21867 | PROMETON | E | 0.2 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90548 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82148 | 0.24158 | 0.86353 | 0.32873 | 0.24368
PROMETON | 4433 | 39056GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.70755 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | PROMETON | . | 0.2 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70755 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.8469 | 0.19707 | 0.8469 | 0.2787 | 0.2066
PROMETON | 4433 | 39056GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.98625 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | PROMETON | E | 0.2 | 0.962 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98625 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.8469 | 0.19707 | 0.8469 | 0.2787 | 0.2066
PROMETON | 4433 | 39056GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.97667 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | PROMETON | . | 0.16 | 0.787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97667 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.92583 | 0.071889 | 0.92583 | 0.10167 | 0.075365
PROMETON | 4433 | 39056GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | PROMETON | . | 0.16 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.92583 | 0.071889 | 0.92583 | 0.10167 | 0.075365
PROMETON | 4433 | 39056GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0156 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.512 | PROMETON | . | 0.16 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82227 | 0.27345 | 0.82227 | 0.38672 | 0.28667
PROMETON | 4433 | 39056GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.62891 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.512 | PROMETON | . | 0.16 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62891 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82227 | 0.27345 | 0.82227 | 0.38672 | 0.28667
PROMETON | 4433 | 39056GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.57885 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.655 | PROMETON | . | 0.16 | 0.958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57885 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.57885 |  | 0.57885 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.84545 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.33 | PROMETON | . | 0.16 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84545 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84545 |  | 0.84545 | 0 | 0
PROMETON | 4433 | 39056GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | PROMETON | . | 0.16 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69 |  | 0.69 | 0 | 0